TITLE 13 CHAPTER 1 INTERNATIONAL PROPERTY MAINTENANCE CODE

AN ORDINANCE TO CREATE AND ADOPT OF TITLE 13, CHAPTER 1 OF THE CODE OF SHEPHERDSTOWN, ADOPTING THE "INTERNATIONAL PROPERTY MAINTENANCE CODE," AS AUTHORIZED BY THE WEST VIRGINIA STATE FIRE COMMISSION, WHICH PROVIDES FOR THE REGULATION OF ALL MATTERS AFFECTING OR RELATING TO THE REPAIR AND MAINTENANCE OF STRUCTURES AND PREMISES WITHIN THE CORPORATION OF SHEPHERDSTOWN.

Title 13 of Chapter 1 of the Code of Shepherdstown is hereby created and adopted, entitled International Property Maintenance Code, and Section 13-101 is hereby created and adopted, entitled “Adoption of International Property Maintenance Code; penalties,” Therefore, Chapter 1 of Title 13, Section 13-101 is to read as follows:

WHEREAS, the Legislative Rule of the State Fire Commission, Title 87, Series 4 (87CSR4) of the West Virginia Code of State Regulations, permits adoption of the International Property Maintenance Code without requiring adoption of the other national codes and standards included under the West Virginia State Building Code; and

WHEREAS, it is deemed necessary to properly regulate all matters relating to the repair and maintenance of all buildings, structures and premises within the Corporation of Shepherdstown; and

WHEREAS, it is the intent of the Corporation of Shepherdstown to establish minimum property maintenance standards by adopting and putting into force and effect the International Property Maintenance Code pursuant to West Virginia Code §7-1-3n and Title 87, Series 4 (87 CSR 4).

NOW,  THEREFORE,  THE  CORPORATION  OF  SHEPHERDSTOWN  ORDAINS

THAT:

Section 1. ADOPTION: The International Property Maintenance Code, as amended or revised

by the WV State Fire Commission prior to or subsequent to adoption of this Ordinance, is hereby adopted, and all model codes and standards adopted thereunder are hereby adopted by reference as if fully set forth verbatim herein.

Section  2.  AMENDMENTS  TO  INTERNATIONAL  PROPERTY  MAINTENANCE

CODE:

Section 101.1. Insert: “Corporation of Shepherdstown”

Section 103.5. Insert: “The fees for activities and services performed by the Corporation of Shepherdstown in carrying out its responsibilities under this code shall be set forth in a fee schedule adopted by the Shepherdstown Town Council by Resolution, which may be amended from time to time.”

Section 112.4. Insert: “a fine of no less than $100 dollars or more than $500.” dollars. Section 302.4. Insert: “eight (8) inches”

Section 304.14. Insert: “from April 1 to October 1”

Section 602.3. Insert: “from November 1 to April 1”

Section 602.4. Insert: “from November 1 to April 1”

SAVINGS: Nothing in this Ordinance shall be construed to affect any suit or proceeding

pending in any court, or rights acquitted or liability incurred, or any cause or causes under any act or ordinance repealed; nor shall any just or legal right or remedy of any character be lost, impaired or affected by this Ordinance.

Section 3. CONFLICTING ORDINANCES: Any existing ordinance that is more stringent or

imposes a higher standard than is required by the International Property Maintenance Code shall govern, provided such ordinance is not inconsistent with the laws of the State of West Virginia and is not contrary to recognized standards and good engineering practices. The following ordinances and/or subsections of ordinances contain more stringent requirements, are deemed not inconsistent with State laws and not contrary to recognized standards and good engineering practices, and therefore shall remain in force and effect:

- 7A-104(a) and (h) “Enumeration of Public Nuisances Affecting Health”

- 9-215 “Erosion control and stream protection”

- 9-803: “Fences and Screening - V. Barriers to Swimming Pools”

- 11-401 “Standards and Specifications for construction, extension, repair, and maintenance [of sidewalks]”

- 11-404 “Repair of sidewalk by abutting owners; failure to repair”

- 11-407 “Prohibited accumulation of snow, ice and debris on sidewalks and removal thereof by town at expense of property owners”

Any existing ordinance that is less stringent or imposes a lesser standard than is required by the above-referenced code, or conflicts with the above-referenced code, will hereby by repealed by separate ordinance. The following ordinances and/or subsections of ordinances are less stringent or conflicting:

- 6-302 “Maintenance of fire hazard; order for repair or demolition; order to contain notice to comply and right to appeal”

- 7A-102(e), (g), and (i) “Enumeration of Public Nuisances Affecting Health”

- 7A-104(c), (d), and (i) “Enumeration of Public Nuisances Affecting Health”

- 7A-105 “Complaints; Notice of Hearing Before Council”

- 7A-106 “Hearing Before Council; Disposition of Complaint”

- 7A-107 “Responsibility of Owner; lessee; tenant; procedure to be cumulative”

- 7A-108 “Penalty for failure to comply with [nuisance] chapter”

- 7-114 “Weeds”

- 7-115 “Nuisances on Private Property”

- 7-116 “Penalties”

Section 4. DUTIES AND POWERS OF THE CODE OFFICIAL: The Code Official shall

enforce the provisions of the International Property Maintenance Code as specified in Section 104 of the International Property Maintenance Code, and may enforce those provisions of the Shepherdstown Code, listed above, which impose more stringent requirements. The Code Official shall issue all necessary notices and orders to ensure compliance. Upon failure of any person to comply with a notice of violation within the stipulated time, the Code Official shall issue a citation requiring that person to appear in Municipal Court alleging said violation.

Section 5. DUTIES OF LAW ENFORCEMENT PERSONNEL. The Shepherdstown Police

Department shall assist the Code Official in the enforcement of the International Property Maintenance Code.

Section 6. VIOLATION; PENALTIES:	The Violation; Penalties section of the International

Property Maintenance Code, as set forth in Section 106.4, is hereby amended and completed as follows:

Any person who shall violate a provision of the International Property Maintenance Code, or fail to comply therewith, or with any of the requirements thereof, shall be guilty of a misdemeanor and fined not less than twenty-five dollars ($25.00), nor more than one hundred dollars ($100.00). Each day that a violation continues after due notice has been served shall be deemed a separate offense. Failure to comply with a demolition order shall be deemed a violation subject to the penalties prescribed herein.

Section 7. SEVERABILITY: If any section, sentence, clause, or phrase of this Ordinance shall

be declared invalid for any reasons whatsoever, such decisions shall not affect the remaining portions of this Ordinance, which shall continue in full force and effect, and to this end the provisions of this Ordinance are hereby declared to be severable.

Section 8. JURISDICTION: Jurisdiction over the enforcement of this Ordinance shall be in the

Municipal Court for the Corporation of Shepherdstown.

Section 9. EFFECTIVE DATE: This Ordinance shall be deemed effective on	the date of

passage.

N	®

0

N CODE AND COMMENTARY

2012 International Property Maintenance Code® Commentary

First Printing: January 2012

ISBN: 978-1-60983-068-7 (soft-cover edition)

COPYRIGHT© 2012

by

INTERNATIONAL CODE COUNCIL, INC.

ALL RIGHTS RESERVED. This 2012 International Property Maintenance Code® Commentary is a copyrighted work owned by the International Code Council, Inc. Without advance written permission from the copyright owner, no part of this book may be reproduced, distributed or transmitted in any form or by any means, including, without limitation, electronic, optical or mechanical means (by way of example and not limitation, photocopying, or recording by or in an information storage retrieval system). For information on permission to copy material exceeding fair use, please contact: Publications, 4051 West Flossmoor Road, Country Club Hills, IL 60478. Phone 1-888-ICC-SAFE (422-7233).

Trademarks: "International Code Council," the "International Code Council" logo and the "International Property Maintenance Code" are trademarks of the International Code Council, Inc.

38334-T015894	PRINTED IN THE U.S.A.

#### PREFACE

The principal purpose of the Commentary is to provide a basic volume of knowledge and facts relating to existing structures as it pertains to the regulations regarding property maintenance set forth in the 2012 International Property Maintenance Code. The person who is serious about effectively regulating property maintenance will find the Commentary to be a reliable data source and reference to almost all aspects of property maintenance.

As a follow-up to the International Property Maintenance Code, we offer a companion document, the International Property Maintenance Code Commentary. The basic appeal of the Commentary is thus: it provides in a small package and at reasonable cost thorough coverage of many issues likely to be dealt with when using the International Property Maintenance Code-and then supplements that coverage with historical and technical background. Reference lists, information sources and bibliogra­ phies are also included.

Throughout all of this, strenuous effort has been made to keep the vast quantity of material accessible and its method of pre­ sentation useful. With a comprehensive yet concise summary of each section, the Commentary provides a convenient reference for property maintenance regulations. In the chapters that follow, discussions focus on the full meaning and implications of the code text. Guidelines suggest the most effective method of application, and the consequences of not adhering to the code text. Illustrations are provided to aid understanding; they do not necessarily illustrate the only methods of achieving code compliance.

The format of the Commentary includes the full text of each section, table and figure in the code, followed immediately by the commentary applicable to that text. As stated in the preface of the 2012 International Property Maintenance Code, the content of sections in the code that begin with a letter designation (i.e., [P]502.1) are maintained by another code development committee. Each section's narrative includes a statement of its objective and intent, and usually includes a discussion about why the require­ ment commands the conditions set forth. Code text and commentary text are easily distinguished from each other. All code text is shown as it appears in the International Property Maintenance Code, and all commentary is indented below the code text and begins with the symbol .

Readers should note that the Commentary is to be used in conjunction with the International Property Maintenance Code and not as a substitute for the code. The Commentary is advisory only; the code official alone possesses the authority and respon­ sibility for interpreting the code.

Comments and recommendations are encouraged, for through your input, we can improve future editions. Please direct your

comments to the Codes and Standards Development Department at the Chicago District Office.

##### TABLE OF CONTENTS

CHAPTER 1	SCOPE AND ADMINISTRATION	1-1-1-16

CHAPTER 2	DEFINITIONS	2-1- 2-6

CHAPTER 3	GENERAL REQUIREMENTS	3-1- 3-16

CHAPTER 4	LIGHT, VENTILATION AND OCCUPANCY LIMITATIONS	4-1-4-14

CHAPTER 5	PLUMBING FACILITIES AND FIXTURE REQUIREMENTS	5-1-5-10

CHAPTER 6	MECHANICAL AND ELECTRICAL REQUIREMENTS	6-1- 6-10

CHAPTER 7	FIRE SAFETY REQUIREMENTS	7-1 - 7-6

CHAPTER 8	REFERENCED STANDARDS	8-1- 8-4

APPENDIX  A   ................................................................................ A-1 -A-2

INDEX	.....................................................................  INDEX-l   -INDEX-12

### Chapter 1:

Scope and Administration

General Comments

The law of building regulation is grounded on the police power of the state. This power is the source of all authority to enact building regulations. In terms of how it is used, police power is the power of the state to legis­ late for the general welfare of its citizens. This power enables the passage of laws such as a property mainte­ nance code. It is from the police power delegated by the state legislature that local governments are able to enact building regulations. If the state legislature has limited this power in any way, the municipality may not exceed these limitations. While the municipality may not further delegate its police power (e.g., by delegating the burden of determining code compliance to the building owner, contractor or architect), it may turn over the administration of building regulations to a municipal offi­ cial, such as a code official, provided that he or she is given sufficient criteria to clearly establish the basis for decisions as to whether or not a proposed building con­ forms to the code.

Chapter 1 is largely concerned with maintaining "due process of law" in enforcing the provisions contained in the body of the code. Only through careful observation

of the administrative provisions can the code official rea­ sonably hope to demonstrate that "equal protection under the law" has been provided. While it is generally assumed that the administrative and enforcement sec­ tions of a code are geared toward the responsibilities of the code official, the provisions also establish the rights and privileges of the design professional, contractor and building owner.

Purpose

Chapter 1 establishes the necessary legal basis for enforcement of the code by the authority having jurisdic­ tion. All of the police powers inherent in enforcing mini­ mum standards for the use and maintenance of buildings must follow the line of authority, from the U.S. Constitution to the state to the actual enforcer. Chapter 1 defines the role and responsibilities of the authority having jurisdiction. To protect all parties from an unfair enforcement action, this chapter also sets forth the due process that requires corrective actions to be accom­ plished in a constitutional manner. Police powers are not unlimited, and this chapter identifies those limita­ tions.

PART 1-SCOPE AND APPLICATION

SECTION 101 GENERAL

This section sets forth the scope and intent of the code as it applies to existing structures.

[A) 101.1 Title. These regulations shall be known as the International Property Maintenance Code of [NAME OF JURISDICTION], hereinafter referred to as "this code."

The purpose of this section is to identify the adopted regulations by inserting the name of the adopting jurisdiction into the code.

[A) 101.2 Scope. The provisions of this code shall apply to all existing residential and nonresidential structures and all existing premises and constitute minimum requirements and standards for premises, structures, equipment and facilities for light, ventilation, space, heating, sanitation, protection from the elements, life safety, safety from fire and other haz­ ards, and for safe and sanitary maintenance; the responsibility of owners, operators and occupants; the occupancy of exist-

ing structures and premises, and for administration, enforce­ ment and penalties.

This section establishes the broad purpose of the code-to protect the public health, safety and welfare in both existing residential and nonresidential struc­ tures and on all existing premises.

Four specific areas are addressed in greater detail in subsequent sections:

- Establishing minimum maintenance standards for such elements as basic equipment, light, ventilation, heating, sanitation and fire safety.

- Fixing responsibility among owners, operators and occupants for following the code.

- Regulating the use of existing structures and premises.

- Providing for administration, enforcement and penalties.

These four categories provide communities with the tools to reduce risks created by deteriorated or unsafe buildings and help communities upgrade and maintain other existing structures.

[Al 101.3 Intent. This ':ode shall be construed to secure its expressed intent, which 1s to ensure pubhc health, safety and welfare insofar as they are affected by the co tmued occu­ pancy and maintenance of structures and pre uses. Ex1stm.g structures and premises that do not comply with these provi­ sions shall be altered or repaired to provide a m1mroum level of health and safety as required herein.

The code is intended to provide requirements addressing the public health, safety and welfare.as they relate to the use and maintenance of existing structures and premises. The code requires existing structures and premises that are not In compliance with the code to be altered or repaired to meet the code. The code requirements are intended to repre­ sent the minimum acceptable level of public.health and safety. As required in Section 102.3, repairs_ and alterations need to comply with several /nternatwnal codes' (I-Codes®), including the tnternat1onal Bui/d­

ing Cod£? {/BC®).

[Al 101.4 Severability. If a section, subsection, sentence, clause or phrase of this code is, for any reason, held to be unconstitutional, such decision shall not affect the val1d1ty of the remaining portions of this code.

Only invalid sections of the code {as est_ablished by the court of jurisdiction) can be set aside. This 1s essential to safeguard the application of the code text to situations whereby a provision of the code_ 1s declared illegal or unconstitutional. This section would preserve the legislative action that put the legal

provisions in place.

SECTION 102 APPLICABILITY

••• This section sets forth the administrative provisions

  - tor applying the code to various conditions related to its application.

[Al 102.1 General. Where there is a conflict betweena g n­

eral requirement and a specific r quirement, the spec1f1c requirement shall govern. Where differences occur between provisions of this code and the referenced standards, the pr_o­ visions of this code shall apply. Where, in a spec fic case, dif­ ferent sections of this code specify different reqmrements, the

most restrictive shall govern.

••• The most restrictive requirement is to apply where

  - there may be different requirements in the code fora specific situation. In cases where the ?ode estab­ lishes a specific requirement for a certain cond1t1on, that requirement is applicable even if it is less restric­ tive than a general requirement mentioned elsewhere

in the code.

[Al 102.2 Maintenance. Equipment, systems, device.s and safeguards required by this code or a previous regulauon or code under which the structure or premises was co structed, altered or repaired shall be maintained in good workmg order. No owner, operator or occupant shall ause any s rv1ce, facility, equipment or utility which is reqmred_under_ this sec­ tion to be removed from or shut off from or d1sconunued for

".°Y occupied dwelling, except for such temporary interrup­ tion as n essary while repairs or alterations are in progress. The reqmrements of this cod are not intended to provide the basis for removal or abrogaUon of fire protection and safety s stems a d device in existing structures. Except as other­ wise specified herem,.the owner or the owner's designated agent shall be responsible for the maintenance of buildings structures and premises.	'

This section contains general maintenance require­ ments. The code specifically prohibits the disconnec­ tI0 of any required utilities for an occupied dwelling. This helps to safeguard persons who have a physical condition and are dependent on these systems. Some examples of this include: a person who has to have electricity to power a kidney dialysis machine· a patient who is on an oxygen system full time· 'or someone with particularly bad allergies who need to have an air-conditioning system to help filter the air. Any safety system that exists in a building must be maintained. A fire protection or safety system is not to be removed from a building if it is required by the code or a previous regulation or code that was in effect when the building was built. This section also specifies that the owner or the owner's agent is responsible for maintenance, not the tenants of rental property.

- 102.3 Application of other codes. Repairs additions or altera ons to a struct?re, or changes of occupdncy, shall be done m accordance with the procedures and provisions of the International Building Code, International Energy Conserva­ tion Code, International Fire Code, International Fuel Gas Code, International Mechanical Code, International Resi­ dential Code, International Plumbing Code and NFPA 70 Nothi g in this c de shall be construed to cancel, modify 0; set aside any provision of the International Zoning Code.

Repairs, additions or alterations are to be done as re­ quired by the International Building Code® {IBC®), lnternatwnal Energy Conservation Code® {IECC®), International Fire Code® {/FC®), International Fuel Gas Code® {IFGC®), International Mechanical Code®

  - {IMC®), International Residential Code® {IRC®) and the lnternational_Plumbing_ Cod£? (/PC®). Chapter 34 of the IBC contains provIsIons for repairs, alterations and add1t1ons, all of which are not in the scope of the code. It Is the intent of the International Property Maintenance Code® {IPMc®) not to affect any of the requirements In the International Zoning Code®

{IZC®).

[Al 102.4 Existing remedies. The provisions in this code shall not be construed_to abolish or impair existing remedies of the Junsd1cuon_ ?r its officers or agencies relating to the removal or demoht10n of any structure which is dangerous unsafe and insanitary.	'

Section 110 establishes one set of criteria and proce­ dures that may be used to demolish dangerous, unsafe or msarntary buildings. This section permits a JunsdIct1on to continue to use any remedies already adopted for demolishing buildings. In essence, a

1-2

2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY

community may employ several procedures for removing dangerous buildings. It is advisable that one procedure be chosen over another to avoid con­ fusion and errors in processing the demolition.

[A] 102.5 Workmanship. Repairs, maintenance work, alter­ ations or installations which are caused directly or indirectly by the enforcement of this code shall be executed and installed in a workmanlike manner and installed in accor­ dance with the manufacturer's instructions.

All repairs, materials, alterations and installations must be executed in a skilled manner that allows the performance intended and anticipated by the code to be achieved, and must meet the criteria of the defini­ tion of "Workmanlike" in the code (see the definition of "Workmanlike" in Chapter 2).

Equipment needs to comply. with the manufac­ turer's installation instructions for proper operation and safety.

[A] 102.6 Historic buildings. The provisions of this code shall not be mandatory for existing buildings or structures designated as historic buildings when such buildings or struc­ tures are judged by the code official to be safe and in the pub­ lic interest of health, safety and welfare.

This section provides the code official with the widest flexibility in enforcing the code when the building in question has historic value. This flexibility, however, is not provided without conditions. The most impor­ tant criterion for application of this section is that the building must be specifically classified as being of historic significance by a qualified party or agent. Usually this is done by a state or local authority after considerable scrutiny of the historical value of the building. Most, if not all, states have such authorities, as do many local jurisdictions. The agencies with such authority typically exist at the state or local gov­ ernment level.

[A) 102.7 Referenced codes and standards. The codes and standards referenced in this code shall be those that are listed in Chapter 8 and considered part of the requirements of this code to the prescribed extent of each such reference and as further regulated in Sections 102.7.1 and 102.7.2.

Exception: Where enforcement of a code provision would violate the conditions of the listing of the equipment or appliance, the conditions of the listing shall apply.

A referenced standard or portion thereof is enforce­ able to the same extent as if the content of the stan­ dard were included in the body of the code. For example, Section 604.2 references NFPA 70 for siz­ ing the electrical main service for a building. The use and application of referenced standards are limited to those portions of the standards that are specifically identified in the code. It is the intention of the code to be in harmony with the referenced standards. If con­ flicts occur because of scope or purpose, the code text governs. The exception recognizes the extremely unlikely, but possible, occurrence of the code requir­ ing or allowing something less restrictive or stringent

than the product listing or manufacturer's instructions. If the code conflicts with or deviates from the condi­ tions of the listing, this may or may not mean that the code violated the listing. For example, the listing for an appliance might allow a particular application of an appliance that is expressly prohibited by the code. In this case, the code has not violated the listing, but instead has simply limited the application allowed by the listing. The intent is for the highest level of safety to prevail.

[A] 102.7.1 Conflicts. Where conflicts occur between provi­ sions of this code and the referenced standards, the provisions of this code shall apply.

The use of referenced codes and standards to cover certain aspects of various occupancies and opera­ tions, rather than write parallel or competing require­ ments into the code, is a long-standing code development principle. Often, however, questions and potential conflicts in the use of referenced codes and standards can arise, which can lead to inconsis­ tent enforcement of the code.

[A] 102.7.2 Provisions in referenced codes and standards. Where the extent of the reference to a referenced code or standard includes subject matter that is within the scope of this code, the provisions of this code, as applicable, shall take precedence over the provisions in the referenced code or stan­ dard.

Section 102.7.2 expands upon the provisions of Sec­ tion 102.7.1 by making it clear that, even if a refer­ enced standard references other codes or standards (secondary reference) that contain requirements that parallel the code, the provisions of the code will always take precedence. This section provides the policy underpinnings upon which sound code change proposals can be based.

[A) 102.8 Requirements not covered by code. Require­ ments necessary for the strength, stability or proper operation of an existing fixture, structure or equipment, or for the pub­ lic safety, health and general welfare, not specifically covered by this code, shall be determined by the code official.

;:. Requirements necessary for the strength, stability or proper operation of an existing fixture, structure or equipment, or for the public safety, health and gen­ eral welfare not specifically covered by the code shall be determined by the code official.

Evolving technology in our society will inevitably result in a situation or circumstance in which the code is comparatively silent on an identified hazard. The reasonable application of the code to any hazardous, unforeseen condition is provided for in this section. Clearly such a section is needed as well as the code official's judicious and reasonable application. The purpose of the section, however, is not to impose requirements that may be preferred over explicit code requirements. Additionally, the section can be utilized to implement the general performance-oriented lan­ guage of the code to specific enforcement situations.

(A) 102.9 Application of references. References to chapter or section numbers, or to provisions not specifically identi­ fied by number, shall be construed to refer to such chapter, section or provision of this code.

In a situation where the code may make reference to a chapter or section number or to another code provi­ sion without specifically identifying its location in the code, assume that the referenced section, chapter or provision is in the code and not in a referenced code or standard.

[A) 102.10 Other laws. The provisions of this code shall not be deemed to nullify any provisions of local, state or federal law.

In some cases, other laws enacted by the jurisdiction or the state or federal government, may be applicable to a condition that is also governed by a requirement in the code. In such circumstances, the requirements of the code are in addition to the other law that is still in effect, although the code official may not be responsible for its enforcement.

PART 2-ADMINISTRATION AND ENFORCEMENT

SECTION 103

DEPARTMENT OF PROPERTY MAINTENANCE INSPECTION

[A) 103.1 General. The department of property maintenance inspection is hereby created and the executive official in charge thereof shall be known as the code official.

The executive official in charge of the property main­ tenance department is named the "code official" by this section. In actuality, the person who is in charge of the department may hold a different title, such as building commissioner, existing building inspector, housing inspector or construction official. For the pur­ pose of the code, that person is referred to as the "code official."

[A) 103.2 Appointment. The code official shall be appointed by the chief appointing authority of the jurisdiction.

This section establishes the code official as an appointed position from which he or she cannot be removed, except for cause subject to a due process review.

[A) 103.3 Deputies. In accordance with the prescribed proce­ dures of this jurisdiction and with the concurrence of the appointing authority, the code official shall have the authority to appoint a deputy(s). Such employees shall have powers as delegated by the code official.

This section provides the code official with the author­ ity to appoint other individuals to assist with the administration and enforcement of the code. These individuals would have the authority and responsibil­ ity as designated by the code official. Such appoint­ ments, however, may be exercised only with the authorization of the chief appointing authority.

[A) 103.4 Liability. The code official, member of the board of appeals or employee charged with the enforcement of this code, while acting for the jurisdiction, in good faith and with­ out malice in the discharge of the duties required by this code or other pertinent law or ordinance, shall not thereby be ren­ dered liable personally, and is hereby relieved from all per­ sonal liability for any damage accruing to persons or property as a result of an act or by reason of an act or omission in the discharge of official duties. Any suit instituted against any officer or employee because of an act performed by that offi­ cer or employee in the lawful discharge of duties and under the provisions of this code shall be defended by the legal rep­ resentative of the jurisdiction until the final tennination of the proceedings. The code official or any subordinate shall not be liable for costs in an action, suit or proceeding that is insti­ tuted in pursuance of the provisions of this code.

The code official is not intended to be held liable for those actions performed in accordance with the code in a reasonable and lawful manner. The responsibility of the code official in this regard is subject to local, state and federal laws that may supersede this,provi­ sion. This section further establishes that the code official (or subordinates) is not liable for costs in any legal action instituted in response to the performance of lawful duties. These costs are to be borne by the jurisdiction. The best way to be certain that the code official's action is a "lawful duty" is to always cite the applicable code section on which the enforcement action is based.

[A) 103.5 Fees. The fees for activities and services performed by the department in carrying out its responsibilities under this code shall be as indicated in the following schedule.

[JURISDICTION TO INSERT APPROPRIATE SCHEDULE.]

A published fee schedule must be established for permits and inspections. Ideally, the department should generate revenues that cover operating costs and expenses. The permit fee schedule is an integral part of this process.

SECTION 104

DUTIES AND POWERS OF THE CODE OFFICIAL

[A] 104.1 General. The code official is hereby authorized and directed to enforce the provisions of this code. The code official shall have the authority to render interpretations of this code and to adopt policies and procedures in order to clarify the application of its provisions. Such interpretations. policies and procedures shall be in compliance with the intent and purpose of this code. Such policies and procedures shall not have the effect of waiving requirements specifically pro­ vided for in this code.

The duty of the code official is to enforce the code. Because the code official must respond to those who question the requirements of the code related to this responsibility, except as specifically exempted by statutory requirements or elsewhere in the code, he or she is the "authority having jurisdiction" for all mat­ ters relating to the code and its enforcement. It is the

duty of the code official both to interpret and to deter­ mine compliance with the code. Code compliance will not always be easy to determine and will require the judgment and expertise of the code official. In exer­ cising this authority, however, the code official cannot set aside or ignore any provision of the code.

[A] 104.2 Inspections. TI1e code official shall make all of the required inspections, or shall accept reports of inspection by approved agencies or individuals. All reports of such inspec­ tions shall be in writing and be certified by a responsible offi­ cer of such approved agency or by the responsible individual. The code official is authorized to engage such expert opinion as deemed necessary to report upon unusual technical issues that arise, subject to the approval of the appointing authority.

The code official or designee is required to make the necessary inspections to determine compliance with the code, or may accept written reports of inspections by an approved agency. The inspection of the work in progress or that is already accomplished is another significant element in determining code compliance. While a department does not have the resources to inspect every aspect of all work, the required inspec­ tions are those that are dictated by administrative rules and procedures based on many parameters, including available inspection resources. In order to expand the available resources, the code official may approve an inspection agency that, in his or her opin­ ion, possesses the proper qualifications to perform the inspections. When unusual or complex technical issues arise relative to inspections, the code official has the authority to seek the opinion and advice of experts. A technical report from an expert requested by the code official can be used to assist in the approval process.

[A] 104.3 Right of entry. Where it is necessary to make an inspection to enforce the provisions of this code. or whenever the code official has reasonable cause to believe that there exists in a structure or upon a premises a condition in viola­ tion of this code, the code official is authorized to enter the structure or premises at reasonable times to inspect or per­ form the duties imposed by this code, provided that if such structure or premises is occupied the code official shall pres­ ent credentials to the occupant and request entry. If such structure or premises is unoccupied, the code official shall first make a reasonable effort to locate the owner or other per­ son having charge or control of the structure or premises and request entry. If entry is refused, the code official shall have recourse to the remedies provided by law to secure entry.

This section establishes the right of the code official to enter the premises in order to make the inspec­ tions required by Section 104.3. The right to enter structures or premises is limited. First, to protect the right of privacy, the owner or occupant must grant the code official permission before an interior inspection of the property can be conducted. Permission is not required for inspections that can be accomplished from within the public right-of-way. Second, such

access may be denied by the owner or occupant. Unless the inspector has reasonable cause to believe that a violation of the code exists, access may be unattainable.

Searches of a private residence to gather informa­ tion for the purpose of enforcing codes, ordinances or regulations are considered unreasonable and are prohibited by the Fourth Amendment to the U.S. Con­ stitution. "Reasonable cause" in the context of this section must be distinguished from "probable cause," which is required to gain access to property in crimi­ nal cases. The burden of proof establishing reason­ able cause may vary among jurisdictions. Usually, an inspector must show that the property is subject to inspection under the provisions of the code; that the interests of the public health, safety and welfare out­ weigh the individual's right to maintain privacy; and that such an inspection is required solely to deter­ mine compliance with the provisions of the code.

Many jurisdictions do not recognize the concept of an administrative warrant and may require the code official to prove probable or reasonable cause in order to gain access upon refusal. This burden of proof is usually more substantial, often requiring the code official to stipulate in advance why access is needed (usually access is restricted to gathering evi­ dence for seeking an indictment or making an arrest); what specific items or information is sought; its rele­ vance to the case against the individual subject; how knowledge of the relevance of the information or items sought was obtained; and how the evidence sought will be used. In all such cases, the right to pri­ vacy must always be weighed against the right of the code official to conduct an inspection to verify that the public health, safety and welfare are not in jeopardy. Such important and complex constitutional issues should be discussed with the jurisdiction's legal coun­ sel. Jurisdictions should establish procedures for securing the necessary court orders when an inspec­ tion is deemed necessary following a refusal.

Third, code officials must present proper identifica­ tion (see commentary, Section 104.4) and request admittance during reasonable hours-usually the normal business hours of the establishment-to be admitted. Fourth, inspections must be aimed at securing or determining compliance with the provi­ sions and intent of the regulations that are specifically within the established scope of the code official's authority.

- 104.4 Identification. The code official shall carry proper identification when inspecting structures or premises in the performance of duties under this code.

This section requires the code official (including by definition all authorized representatives) to carry identification in the course of conducting the duties of the position. The identification removes any question as to the purpose and authority of the inspector.

  - 104.5 Notices and orders. The code official shall issue all necessary notices or orders to ensure compliance with this code.

An important element of code enforcement is the nec­ essary advisement of deficiencies, which is accom­ plished through notices and orders. The code official is required to issue orders to abate illegal or unsafe conditions. Section 107 contains additional informa­ tion for these notices.

[AJ 104.6 Department records. The code official shall keep official records of all business and activities of the depart­ ment specified in the provisions of this code. Such records shall be retained in the official records for the period required for retention of public records.

In keeping with the need for an efficiently conducted business practice, the code official must keep official records pertaining to fees collected, inspections, notices and orders issued. Such documentation pro­ vides a valuable source of information if questions arise throughout the life of the building and its occu­ pancy regarding outstanding preexisting code viola­ tions or conditions.

SECTION 105 APPROVAL

- 105.l Modifications. Whenever there are practical diffi­ culties involved in carrying out the provisions of this code. the code official shall have the authority to grant modifica­ tions for individual cases upon application of the owner or owner's representative, provided the code official shall first find that special individual reason makes the strict letter of this code impractical and the modification is in compliance with the intent and purpose of this code and that such modifi­ cation does not lessen health, life and fire safety require­ ments. The details of action granting modifications shall be recorded and entered in the department files.

The code official may amend or make exceptions to the code as needed where strict compliance is impractical. Only the code official has the authority to grant modifications. Consideration of a particular diffi­ culty is to be based on the application of the owner and a demonstration that the intent of the code is accomplished. This section is not intended to permit setting aside or ignoring a code provision; rather, it is intended to provide for the acceptance of equivalent protection. For example, a code official might decide to accept the installation of a sprinkler system throughout the building instead of upgrading certain walls to have a fire-resistance rating. The modifica­ tion of requirements would be based on the equiva­ lent protection of the sprinkler system to the upgraded walls. Such modifications do not, however, extend to actions that are necessary to correct viola­ tions of the code. In other words, a code violation or the expense of correcting one cannot constitute a practical difficulty.

Filing the details of a modification action is neces­ sary if the reasons for the modification are subject to review. Comprehensive written records are an essen­ tial part of an effective administrative system. Unless clearly written records of the considerations and doc­ umentation utilized in the modification process are created and maintained, subsequent enforcement action will be difficult to support and will be inconsis­ tent.

[A] 105.2 Alternative materials, methods and equipment. The provisions of this code are not intended to prevent the installation of any material or to prohibit any method of con­ struction not specifically prescribed by this code, provided that any such alternative has been approved. An alternative material or method of construction shall be approved where the code official finds that the proposed design is satisfactory and complies with the intent of the provisions of this code, and that the material, method or work offered is, for the pur­ pose intended, at least the equivalent of that prescribed in this code in quality, strength, effectiveness, fire resistance, dura­ bility and safety.

The code is not intended to inhibit innovative ideas or technological advances. A comprehensive regulatory document cannot envision and then address all future innovations in the industry. As a result, the code must be applicable to and provide a basis for the approval of an increasing number of newly developed, innova­ tive materials, systems and methods for which no code text or referenced standards yet exist. The fact that a material, product or method of construction is not specifically described in the code is not an indica­ tion that its use is intended to be prohibited. The code official is expected to apply sound technical judgment in accepting materials, systems or methods that, while not anticipated by the drafters of the current code text, can be demonstrated to offer equivalent performance. The code official is responsible for determining if a requested alternative provides the equivalent level of protection of the public health, safety and welfare as required by the code.

[A] 105.3 Required testing. Whenever there is insufficient evidence of compliance with the provisions of this code, or evidence that a material or method does not conform to the requirements of this code, or in order to substantiate claims for alternative materials or methods, the code official shall have the authority to require tests to be made as evidence of compliance at no expense to the jurisdiction.

To provide the basis on which the code official can make a decision regarding an alternative material or type of equipment, sufficient technical data, test reports and documentation must be provided for eval­ uation by the code official. If evidence satisfactory to the code official proves that the alternative equip­ ment, material or construction method is equivalent to that required by the code, he or she is obligated to approve it. Any such approval cannot have the effect of waiving any requirements of the code. The burden of proof of equivalence lies with the applicant that

proposes the use of alternative equipment, materials or methods.

[A] 105.3.1 Test methods. Test methods shall be as specified in this code or by other recognized test standards. In the absence of recognized and accepted test methods, the code official shall be permitted to approve appropriate testing pro­ cedures performed by an approved agency.

The code official must require the submission of any appropriate information and data to assist in the determination of equivalency. This information must be submitted before a permit will be issued. The type of information required includes test data in accor­ dance with the referenced standards, evidence of compliance with the referenced standard specifica­ tions and design calculations. If no test standard is available, the owner or owner's agent is to propose the test procedures and submit them to the code offi­ cial for review and approval. A research report issued by an authoritative agency, such as ICC Evaluation Service (ICC-ES), is particularly useful in providing the code official with the technical basis for evaluation and approval of new and innovative plumbing materi­ als and components, for example. The use of authori­ tative research reports can greatly assist the code official by reducing the time-consuming engineering analysis necessary to review materials and products. Failure to adequately substantiate a request for the use of an alternative is a valid reason for the code official to deny a request.

[A] 105.3.2 Test reports. Reports of tests shall be retained by the code official for the period required for retention of public records.

The testing agency must be approved by the code official. The testing agency should have technical expertise, test equipment and quality assurance to properly conduct and report the necessary testing.

[A] 105.4 Used material and equipment. The use of used materials which meet the requirements of this code for new materials is permitted. Materials, equipment and devices shall not be reused unless such elements are in good repair or have been reconditioned and tested when necessary, placed in good and proper working condition and approved by the code official.

The code criteria for materials and equipment have changed over the years. Evaluation of testing and materials technology has facilitated the development of new criteria that the old materials may not satisfy. As a result, used materials are required to be evalu­ ated in the same manner as new materials. Used (previously installed) equipment must be equivalent to that required by the code if it is to be used again in a new installation.

[A] 105.5 Approved materials and equipment. Materials, equipment and devices approved by the code official shall be constructed and installed in accordance with such approval.

The code is a compilation of criteria with which mate­ rials, equipment, devices and systems must comply

to be suitable for a particular application. The code official has a duty to evaluate such materials, equip­ ment, devices and systems for code compliance and, when compliance is determined, approve the same for use. The materials, equipment, devices and sys­ tems must be constructed and installed in compliance with, and all conditions and limitations considered as a basis for, that approval. For example, the manufac­ turer's instructions and recommendations are to be followed if the approval of the material was based even in part on those instructions and recommenda­ tions. The approval authority given to the code official is a significant responsibility and is a key to code compliance. The approval process is first technical and then administrative and must be approached as such. For example, if data to determine code compli­ ance is required, such data should be in the form of test reports or engineering analysis and not simply taken from a sales brochure.

[A] 105.6 Research reports. Supporting data, where neces­ sary to assist in the approval of materials or assemblies not specifically provided for in this code, shall consist of valid research reports from approved sources.

When an alternative material or method is proposed for construction, it is incumbent upon the code official to determine whether this alternative is, in fact, an equivalent to the methods prescribed by the code. Reports providing evidence of this equivalency are required to be supplied by an approved source, meaning a source that the code official finds to be reliable and accurate. The ICC-ES is an example of an agency that provides research reports for alterna­ tive materials and methods.

SECTION 106 VIOLATIONS

[A] 106.1 Unlawful acts. It shall be unlawful for a person, firm or corporation to be in conflict with or in violation of any of the provisions of this code.

Violations of the code are prohibited. This is the basis for all citations and correction notices with regard to code violations.

[A] 106.2 Notice of violation. The code official shall serve a

notice of violation or order in accordance with Section 107.

The code official is required to notify the person responsible for violating the code. The section that is allegedly being violated must be cited so that the responsible party can respond to the notice.

[A] 106.3 Prosecution of violation. Any person failing to comply with a notice of violation or order served in accor­ dance with Section I07 shall be deemed guilty of a misde­ meanor or civil infraction as determined by the local municipality, and the violation shall be deemed a strict liabil­ ity offense. If the notice of violation is not complied with, the code official shall institute the appropriate proceeding at law or in equity to restrain, correct or abate such violation, or to require the removal or termination of the unlawful occupancy

of the structure in violation of the provisions of this code or of the order or direction made pursuant thereto. Any action taken by the authority having jurisdiction on such premises shall be charged against the real estate upon which the struc­ ture is located and shall be a lien upon such real estate.

This section classifies a violation as a "strict liability offense," which is defined in Section 202; thus, it is not required to prove that the person intended to vio­ late the code or was negligent in doing so. All that is required for conviction is that the notice of violation for correction was properly served and that the per­ son failed to comply. This aids jurisdictions in prose­ cuting code violators.

The code official must pursue, through the use of legal counsel of the jurisdiction, legal means to cor- rect the violation.	•

Any extensions of time for the violations to be vol­ untarily corrected must be for a reasonable, bona fide cause or the code official may be subject to criticism for "arbitrary and capricious" actions. In general, it is better to have a standard time limitation for correction of violations. Departures from this standard must be for a clear and reasonable purpose, usually stated in writing by the violator. The code provides a mecha­ nism for the municipality to recover costs expended on a property to be recovered through placing a lien on the property. For example, if an unimproved lot had to be mown throughout the summer growing sea­ son, the cost of the mowing could be recovered through a lien on the property.

[Al 106.4 Violation penalties. Any person who shall violate a provision of this code, or fail to comply therewith, or with any of the requirements thereof, shall be prosecuted within the limits provided by state or local laws. Each day that a vio­ lation continues after due notice has been served shall be deemed a separate offense.

An adopting jurisdiction is permitted to assess penal· ties for violations of the code. The penalties include monetary fines, as well as possible imprisonment. The severity of the fine or penalty is left for the juris­ diction to establish. The local jurisdiction, through its council and attorney or other administrative authority, will normally designate the range for the dollar amount of fines; however, the judge will determine the actual fine. This encourages support and agree­ ment frorn all parties when enforcement action is taken. Fines should be large enough to discourage noncompliance with the code, but not so large as to be inappropriate for the violation being charged.

Each day a violation continues unabated after proper notice has been served is to be deemed a separate offense and may be charged as such. In general, it is better to cite violations daily. This action may expedite a court hearing or cause the owner to correct the violations rather than risk exorbitant fines or imprisonment. Whether or not to cite violations on a daily basis is a policy decision and should be made in cooperation with the attorney who will prosecute the cases.

[Al 106.5 Abatement of violation. The imposition of the penalties herein prescribed shall not preclude the legal officer of the jurisdiction from instituting appropriate action to restrain, correct or abate a violation, or to prevent illegal occupancy of a building, structure or premises, or to stop an illegal act, conduct, business or utilization of the building, structure or premises.

Despite the assessment of a penalty in the form of a fine or imprisonment against a violator, the violation itself must still be corrected. Failure to make the nec­ essary corrections will result in the violator being sub­ ject to additional penalties as described in the preceding section.

SECTION 107 NOTICES AND ORDERS

[Al 107.1 Notice to person responsible. Whenever the code official detennines that there has been a violation of this code or has grounds to believe that a violation has occurred, notice shall be given in the manner prescribed in Sections 107.2 and

107.3 to the person responsible for the violation as specified in this code. Notices for condemnation procedures shall also comply with Section 108.3.

Written notice must be given to the person responsi­ ble for the property (i.e., occupant) when the code official observes a violation of the code. When a prop­ erty is condemned, the person responsible for the property must be informed of the intent to placard and vacate the structure.

The person responsible must be notified when a building is placarded. This is important because both the person responsible and the owner can be charged with a violation of the code if they fail to vacate the structure.

It is also important for the code official to keep cop­ ies of all written notices issued. If the person respon­ sible for the property or occupants fail to abide by a verbal order, the code official needs something more substantial to pursue enforcement action. If further enforcement procedures are warranted, the code offi­ cial will need a complete chronologically written docu­ mentation of all notices and orders that have been issued.

[Al 107.2 Form. Such notice prescribed in Section 107.1 shall be in accordance with all of the following:

I. Be in writing.

- Include a description of the real estate sufficient for

identification.

- Include a statement of the violation or violations and why the notice is being issued.

- Include a correction order allowing a reasonable time to make the repairs and improvements required to bring the dwelling unit or structure into compliance with the provisions of this code.

- Inform the property owner of the right to appeal.

- Include a statement of the right to file a lien in accor­ dance with Section 106.3.

The notice required by Section 107.1 must:

  - Be in writing. A verbal notice is unreliable.

  - Clearly identify the property. The address of the property is sufficient when it is readily available. The legal description may be necessary when the address for the property is missing or if the land is vacant and lacks an address.

  - State why the notice is being issued, and identify what part of the code is being violated.

  - Include a correction order, and state what repairs need to be made to bring the property back into compliance with the code.

  - Allow a reasonable time for compliance. This is subjective. A reasonable time must not only include adequate time to allow owners to make repairs, but must also address the risk to the occupants and the public. As an example, if a portion of a building is collapsing, the owner may believe that a reasonable time to correct the damage should be several weeks or even months; however, a collapsing wall creates an immediate danger to the public. The code official should require completion of all repairs within a few days or, in extreme cases, in a matter of hours.

  - Provide the person responsible for the property with a notice of his or her right to seek modification or withdrawal of the order by appealing to a board of appeals according to Section 111.

  - Inform the person responsible for the property of his or her authority to file a lien upon such real estate that any action has been taken pursuant to Section 106.3.

- 107.3 Method of service. Such notice shall be deemed to be properly served if a copy thereof is:

  - Delivered personally;

  - Sent by certified or first-class mail addressed to the last

known address; or

  - If the notice is returned showing that the letter was not delivered, a copy thereof shall be posted in a conspicu­ ous place in or about the structure affected by such notice.

Proper service of all notices is crucial. Improper or inadequate service may make it impossible to pursue enforcement satisfactorily. Proper service requires one of the following methods:

    - Personal delivery to the owner or the responsible person designated by the owner. This is the most effective form of service. Usually, personal service is provided by a personal service company (i.e., a third-party agency), the code official or the sheriff's office in

the jurisdiction where the person to be served lives.

- Delivery by certified or registered mail addressed to the owner or the owner's designated agent at the last known address with a return receipt requested. This is a valid method of service, but sometimes it is not reliable. The owner may refuse to accept or ignore the service if he or she knows the jurisdiction plans to send notices. Also, it may take 10 to 14 days before the code official is notified by the post office that service could not be made. If the notice required the owner or owner's agent to correct something in a short time, the time for compliance may pass before the code official is aware the post office has not made the delivery.

- If the certified or registered letter is returned as undelivered, posting a copy in an easy-to-see place in or about the structure will suffice. Since the code official must wait until the post office returns undelivered certified letters before they can be posted, this form of service is very time consuming.

All of the services noted above may be expensive and time consuming. In some communities, the courts may consider service to be valid if the notice was sent to the last known address of the owner or owner's agent by regular postage and the notice was not returned by the post office. This method of service is obviously much cheaper and usually faster than waiting for the return of a certified letter. It must, how­ ever, be acceptable to the court system. The jurisdic­ tion's attorney should be consulted to determine that the type of service is legally acceptable, reasonably cost effective and timely.

[A] 107.4 Unauthorized tampering. Signs, tags or seals posted or affixed by the code official shall not be mutilated, destroyed or tampered with, or removed without authoriza­ tion from the code official.

This section states that tampering with signs, seals or tags posted at the property is a violation of the code. The safety of the occupants may depend on the warning signs posted by the code official remaining in place.

[A] 107.5 Penalties. Penalties for noncompliance with orders and notices shall be as set forth in Section 106.4.

This section references Section 106.4, which estab- lishes penalties for violating provisions of the code.

[A] 107.6 Transfer of ownership. It shall be unlawful for the owner of any dwelling unit or structure who has received a compliance order or upon whom a notice of violation has been served to sell, transfer, mortgage, lease or otherwise dis­ pose of such dwelling unit or structure to another until the provisions of the compliance order or notice of violation have been complied with, or until such owner shall first furnish the grantee, transferee, mortgagee or lessee a true copy of any compliance order or notice of violation issued by the code

2012 INTERNATIONAL PROPERTY MAINTENANCE cooe• COMMENTARY	1-9

official and shall furnish to the code official a signed and notarized statement from the grantee, transferee, mortgagee or lessee, acknowledging the receipt of such compliance order or notice of violation and fully accepting the responsi­ bility without condition for making the corrections or repairs required by such compliance order or notice of violation.

When a property has a pending violation order, it is unlawful for an owner to sell, transfer, mortgage, lease or otherwise dispose of the property without either following the order or advising the buyer, mort­ gagee, etc., of the pending violation. The owner must prove that the buyer has received notice of pending violations by providing the code official with a signed, notarized receipt from the new transferee.

Determining who is the current owner of a building is a frustrating and difficult activity. To evade code enforcement action, owners will frequently transfer ownership of their property. This provision of the code permits the code official to cite the seller it he or she did not provide the code official with the required noti­ fication when the property was transferred; thus, even though the seller may avoid complying with the outstanding violation orders, he or she can still be charged with a violation for failing to provide proof that the transferee was aware of the pending orders.

SECTION 108

UNSAFE STRUCTURES AND EQUIPMENT

- 108.1 General. When a structure or equipment is found by the code official to be unsafe, or when a structure is found unfit for human occupancy, or is found unlawful, such struc­ ture shall be condemned pursuant to the provisions of this code.

This section provides a brief description of conditions where the code official is given the authority to con­ demn an existing structure or equipment. Where a structure or equipment is "unlawful," as described in the text of this section, that structure or equipment does not comply with the requirements of the code. The deficiencies are such that an unsafe condition or a condition that is unfit tor human occupancy exists.

- 108.1.1 Unsafe structures. An unsafe structure is one that is found to be dangerous to the life, health, property or safety of the public or the occupants of the structure by not providing minimum safeguards to protect or warn occupants in the event of fire, or because such structure contains unsafe equipment or is so damaged, decayed, dilapidated, structur­ ally unsafe or of such faulty construction or unstable founda­ tion, that partial or complete collapse is possible.

Any building that endangers life, health, safety or property is unsafe. A building is considered danger­ ous if it meets one or more of the following conditions:

  - It lacks adequate protection from fire;

  - It contains unsafe equipment; or

  - All or part of the building is likely to collapse.

Only structures with major defects or lite-threaten­ ing conditions are considered unsafe. Minor defects, such as an inadequate number of electrical outlets or damaged plaster, do not necessarily create an unsafe structure, even though they are violations of the code.

[A] 108.1.2 Unsafe equipment. Unsafe equipment includes any boiler, beating equipment, elevator, moving stairway, electrical wiring or device, flammable liquid containers or other equipment on the premises or within the structure which is in such disrepair or condition that such equipment is a hazard to life, health, property or safety of the public or occupants of the premises or structure.

Equipment may become unsafe when it is a hazard to lite, health, property or safety.

The judgment of the code official is critical in deter­ mining when equipment should be deemed unsafe. If uncertain about appropriate enforcement action, he or she should seek additional expertise and advice and, if necessary, err on the side of safety.

[A] 108.1.3 Structure unfit for hnman occupancy. A struc­ ture is unfit for human occupancy whenever the code official finds that such structure is unsafe, unlawful or, because of the degree to which the structure is in disrepair or lacks mainte­ nance, is insanitary, vermin or rat infested, contains filth and contamination, or lacks ventilation, illumination, sanitary or heating facilities or other essential equipment required by this code, or because the location of the structure constitutes a hazard to the occupants of the structure or to the public.

The following conditions are reasons tor declaring a building unfit tor occupancy: unsafe; unlawful; lacks maintenance to a serious degree; disrepair; insani­ tary; vermin or rat infested; contains tilth; lacks essential equipment and its location is hazardous to the occupants or the public.

The list of reasons tor declaring a structure unfit requires subjective judgement. Because the conse­ quences of declaring a structure unfit for occupancy are severe, the code official should carefully and thor­ oughly document all conditions that contributed to that determination.

[A] 108.1.4 Unlawful structnre. An unlawful structure is one found in whole or in part to be occupied by more persons than permitted under this code, or was erected, altered or occupied contrary to law.

An unlawful structure is one that has serious deficien­ cies such that an unsafe condition or a condition that is unfit for human occupancy exists. An unlawful structure does not mean one where there are criminal activities.

[A] 108.1.5 Dangerons structure or premises. For the pur­ pose of this code, any structure or premises that has any or all of the conditions or defects described below shall be consid­ ered dangerous:

I. Any door, aisle, passageway, stairway, exit or other means of egress that does not conform to the approved building or fire code of the jurisdiction as related to the requirements for existing buildings.

- The walking surface of any aisle, passageway, stair­ way, exit or other means of egress is so warped, worn loose, torn or otherwise unsafe as to not provide safe and adequate means of egress.

- Any portion of a building, structure or appurtenance that has been damaged by fire, earthquake, wind, flood, deterioration, neglect, abandonment, vandal­ ism or by any other cause to such an extent that it is likely to partially or completely collapse, or to become detached or dislodged.

- Any portion of a building, or any member, appurte­ nance or ornamentation on the exterior thereof that is not of sufficient strength or stability, or is not so anchored, attached or fastened in place so as to be capable of resisting natural or artificial loads of one and one-half the original designed value.

- The building or structure, or part of the building or structure, because of dilapidation, deterioration, decay, faulty construction, the removal or movement of some portion of the ground necessary for the sup­ port, or for any other reason, is likely to partially or completely collapse, or some portion of the founda­ tion or underpinning of the building or structure is likely to fail or give way.

- The building or structure, or any portion thereof, is clearly unsafe for its use and occupancy.

- The building or structure is neglected, damaged, dilapidated, unsecured or abandoned so as to become an attractive nuisance to children who might play in the building or structure to their danger, becomes a harbor for vagrants, criminals or immoral persons, or enables persons to resort to the building ·or structure for committing a nuisance or an unlawful act.

- Any building or structure has been constructed, exists or is maintained in violation of any specific require­ ment or prohibition applicable to such building or structure provided by the approved building or fire code of the jurisdiction, or of any law or ordinance to such an extent a'i to present either a substantial risk of fire, building collapse or any other threat to life and safety.

- A building or structure, used or intended to be used for dwelling purposes, because of inadequate mainte­ nance, dilapidation, decay, damage, faulty construc­ tion or arrangement, inadequate light, ventilation, mechanical or plumbing system, or otherwise, is determined by the code official to be unsanitary, unfit for human habitation or in such a condition that is likely to cause sickness or disease.

- Any building or structure, because of a lack of suffi­ cient or proper fire-resistance-rated construction, fire protection systems, electrical system, fuel connec­ tions, mechanical system, plumbing system or other cause, is determined by the code official to be a threat to life or health.

- Any portion of a building remains on a site after the demolition or destruction of the building or structure or whenever any building or structure is abandoned so as to constitute such building or portion thereof as an attractive nuisance or hazard to the public.

This specific section contains a general listing of con­ ditions that establish a baseline to compare or evalu­ ate a structure against to determine if the present condition of a building or structure is dangerous. The purpose of this section is to allow a code official to cite specific conditions under which he or she finds a structure to be dangerous. The list of conditions focuses on adequacy of the means of egress, struc­ tural, fire resistance, fire protection, plumbing and ventilation systems.

[A] 108.2 Closing of vacant structures. If the structure is vacant and unfit for human habitation and occupancy, and is not in danger of structural collapse, the code official is autho­ rized to post a placard of condemnation on the premises and order the structure closed up so as not to be an attractive mti­ sance. Upon failure of the owner to close up the premises within the time specified in the order, the code official shall cause the premises to be closed and secured through any available public agency or by contract or arrangement by pri­ vate persons and the cost thereof shall be charged against the real estate upon which the structure is located and shall be a lien upon such real estate and may be collected by any other legal resource.

Code officials are granted the authority to condemn, placard and vacate any building that they determine to be unsafe, unlawful or unfit for occupancy. Also, code officials may remove unsafe equipment from use.

No one is permitted to reoccupy or reuse any build­ ing or equipment until the code official has given his or her approval. Unsafe structures, unsafe equip­ ment, buildings that are unfit for human occupancy and unlawful structures are further defined in subse­ quent sections.

The ability to condemn and vacate structures is a powerful enforcement tool. It protects occupants from danger and prevents owners from collecting income on their properties. Before condemning or vacating structures, the code official should establish a clearly defined list of violations that warrant such actions. Additionally, it is critical to document all of the viola­ tions found in each building to be condemned. When practical, photographs should be taken of violations. Should litigation become necessary, photographs provide documents that have a powerful impact.

Open, vacant buildings are an attractive nuisance to children, a potential fire hazard, a harborage for rodents and insects and a potential home for vagrants. Vacant buildings also create a blighting influence within a community.

The code official is authorized to condemn as unfit those buildings that are vacant and open to trespass

but not in danger of collapse. When the owner has been ordered to secure an open building but fails to do so, the code official must secure the structure by contracting with a public or private agent to close up the building.

The costs for closing buildings are to be charged to the property in the form of a lien. Generally, once a lien has been filed against a property, it must be sat­ isfied before the property can be sold. This section authorizes collection by any other legal resource. It also allows collection by additional methods such as small claims judgements, collection agency actions and personal liens. This enhances the chances of cost recovery.

(A] 108.2.1 Authority to disconnect service utilities. The code official shall have the authority to authorize disconnec­ tion of utility service to the building, structure or system reg­ ulated by this code and the referenced codes and standards set forth in Section 102.7 in case of emergency where necessary to eliminate an immediate hazard to life or property or when such utility connection has been made without approval. The code official shall notify the serving utility and, whenever possible, the owner and occupant of the building, structure or service system of the decision to disconnect prior to talcing such action. If not notified prior to disconnection the owner or occupant of the building structure or service system shall be notified in writing as soon as practical thereafter.

Disconnecting a service utility from the energy supply is the most radical method of hazard abatement avail­ able to the code official and should be reserved for cases in which all other lesser remedies have proven ineffective. Such an action must be preceded by a written notice to the owner and any occupants of the building being ordered to disconnect Disconnection must be accomplished within the timeframe estab­ lished by the code official in the written notification. When the hazard to the public health and welfare is so imminent as to mandate immediate disconnection, the code official has the authority and even the obli­ gation to cause disconnection without notice.

[A] 108.3 Notice. Whenever the code official has condemned a structure or equipment under the provisions of this section, notice shall be posted in a conspicuous place in or about the structure affected by such notice and served on the owner or the person or persons responsible for the structure or equip­ ment in accordance with Section 107.3. If the notice pertains to equipment, it shall also be placed on the condemned equip­ ment. The notice shall be in the form prescribed in Section 107.2,

The condemnation notice is required to be posted at the structure, and the owner or responsible person in charge is to be served notice in accordance with the procedure in Section 107.3, in the form prescribed in Section 107.2. If the notice also includes condemned equipment, the notice must also be placed on that equipment

(A] 108.4 Placarding. Upon failure of the owner or person responsible to comply with the notice provisions within the time given, the code official shall post on the premises or on

defective equipment a placard bearing the word "Con­ demned" and a statement of the penalties provided for occu­ pying the premises, operating the equipment or removing the placard.

If the owner fails to comply with the notice, a placard indicating that the structure is condemned as unfit for human occupancy or use should be posted on the property or equipment This placard should also show the penalty for illegal occupancy of the building or equipment, and for removing the placard.

Immediate enforcement action should be pursued when there is an illegal occupancy of a condemned building or equipment The credibility of the code en­ forcement program is dependent upon the public's belief that the code will be adequately enforced.

Any owner or other person responsible for comply­ ing with a correction order who has failed to comply, must vacate the property immediately alter the time for correction has passed. All occupants should be given reasonable time to find other accommodations.

[Al 108.4.1 Placard removal. The code official shall remove the condemnation placard whenever the defect or defects upon which the condemnation and placarding action were based have been eliminated. Any person who defaces or removes a condemnation placard without the approval of the code official shall be subject to the penalties provided by this code.

Only the code official is authorized to remove a con­ demnation placard. The code official is to remove the placard only when the defect or defects have been corrected as required by the code. Any other person who removes or defaces a placard is in violation of the code and subject to its penalties.

[A] 108.5 Prohibited occupancy. Any occupied structure condemned and placarded by the code official shall be vacated as ordered by the code official. Any person who shall occupy a placarded premises or shall operate placarded equipment, and any owner or any person responsible for the premises who shall let anyone occupy a placarded premises or operate placarded equipment shall be liable for the penal­ ties provided by this code.

It is important that any unsafe structure be vacated to help prevent possible injury to or death of its occu­ pants. The code official has the authority to require a condemned building to be vacated. Anyone who con­ tinues to occupy a placarded building or equipment and any owner who permits another to occupy a plac­ arded building or equipment are subject to the penal­ ties provided by the code.

[A] 108.6 Abatement methods. The owner, operator or occupant of a building, premises or equipment deemed unsafe by the code official shall abate or cause to be abated or corrected such unsafe conditions either by repair, rehabilita­ tion, demolition or other approved corrective action.

This section describes the usual circumstance in which a building has such critical violations that it is declared unsafe by the code official. The owner, operator or occupant should take abatement mea-

sures to correct the unsafe condition. If this is not done promptly, the code official has the authority to directly abate the unsafe conditions and bill the owner for the abatement work in accordance with the code.

[A] 108.7 Record. The code official shall cause a report to be filed on an unsafe condition. The report shall state the occu­ pancy of the structure and the nature of the unsafe condition.

The code official must file a report on each investiga­ tion of unsafe conditions, stating the occupancy of the structure and the nature of the unsafe condition.

SECTION 109 EMERGENCY MEASURES

[A] 109.1 Imminent danger. When, in the opinion of the code official, there is imminent danger of failure or collapse of a building or structure which endangers life, or when any structure or part of a structure has fallen and life is endan­ gered by the occupation of the structure, or when there is actual or potential danger to the building occupants or those in the proximity of any structure because of explosives, explosive fumes or vapors or the presence of toxic fumes, gases or materials, or operation of defective or dangerous equipment, the code official is hereby authorized and empow­ ered to order and require the occupants to vacate the premises forthwith. The code official shall cause to be posted at each entrance to such structure a notice reading as follows: "This Structure Is Unsafe and Its Occupancy Has Been Prohibited by the Code Official." It shall be unlawful for any person to enter such structure except for the purpose of securing the structure, making the required repairs, removing the hazard­ ous condition or of demolishing the same.

If the code official has determined that failure or col­ lapse of a building or structure is imminent, failure has occurred that results in a continued threat to the remaining structure or adjacent properties or if any other unsafe condition as described in this section exists in a structure, he or she is authorized to require the occupants to vacate the premises and to post such buildings or structures as unsafe and not occu­ piable. Unless authorized by the code official to make repairs, secure or demolish the structure, it is illegal for anyone to enter the building or structure. This will minimize the potential for injury.

[A] 109.2 Temporary safeguards. Notwithstanding other provisions of this code, whenever, in the opinion of the code official, there is imminent danger due to an unsafe condition, the code official shall order the necessary work to be done, including the boarding up of openings, to render such struc­ ture temporarily safe whether or not the legal procedure herein described has been instituted; and shall cause such other action to be taken as the code official deems necessary to meet such emergency.

This section recognizes the need for immediate and effective action in order to protect the public. This section empowers the code official to cause the nec­ essary work to be done to temporarily minimize the imminent danger without regard for due process. This

section has to be viewed critically insofar as the dan­ ger of structural failure must be "imminent"; that is, readily apparent and immediate.

[A) 109.3 Closing streets. When necessary for public safety, the code official shall temporarily close structures and close, or order the authority having jurisdiction to close, sidewalks, streets, public ways and places adjacent to unsafe structures, and prohibit the same from being utilized.

The code official is authorized to temporarily close sidewalks, streets and adjacent structures as needed to provide for the public safety from the unsafe build­ ing or structure when an imminent danger exists. Since the code official may not have the direct authority to close sidewalks, streets and other public ways, the agency having such jurisdiction (e.g., the police or highway department) must be notified.

[A] 109.4 Emergency repairs. For the purposes of this sec­ tion, the code official shall employ the necessary labor and materials to perform the required work as expeditiously as possible.

The cost of emergency work may have to be initially paid for by the jurisdiction. The important principle here is that the code official must act immediately to protect the public when warranted, leaving the details of costs and owner notification for later.

[A] 109.5 Costs of emergency repairs. Costs incurred in the performance of emergency work shall be paid by the jurisdic­ tion. The legal counsel of the jurisdiction shall institute appropriate action against the owner of the premises where the unsafe structure is or was located for the recovery of such costs.

The cost of emergency repairs is to be paid by the jurisdiction, with subsequent legal action against the owner to recover such costs. This does not preclude, however, reaching an alternative agreement with the owner.

[A] 109.6 Hearing. Any person ordered to take emergency measures shall comply with such order forthwith. Any affected person shall thereafter, upon petition directed to the appeals board, be afforded a hearing as described in this code.

Anyone ordered to take an emergency measure or to vacate a structure because of an emergency condi­ tion must do so immediately.

Thereafter, any affected party has the right to appeal the action to the appeals board to determine whether the order should be continued, modified or revoked.

It is imperative that appeals to an emergency order occur after the hazard has been abated, rather than before, to minimize the risk to the occupants, employ­ ees, clients and the public.

SECTION 110 DEMOLITION

[Al 110.1 General. The code official shall order the owner of any premises upon which is located any structure, which in

the code official's judgment after review is so deteriorated or dilapidated or has become so out of repair as to be dangerous, unsafe, insanitary or otherwise unfit for human habitation or occupancy, and such that it is unreasonable to repair the structure, to demolish and remove such structure; or if such structure is capable of being made safe by repairs, to repair and make safe and sanitary, or to board up and hold for future repair or to demolish and remove at the owner's option; or where there has been a cessation of normal construction of any structure for a period of more than two years, the code official shall order the owner to demolish and remove such structure, or board up until future repair. Boarding the build­ ing up for future repair shall not extend beyond one year, unless approved by the building official.

This section describes the conditions where the code official has the authority to order the owner to remove the structure. Conditions where the code official may give the owner the option of repairing the structure or boarding the structure for future repair are also in this section. The code official should carefully document the condition of the structure prior to issuing a demoli­ tion order to provide an adequate basis for ordering the owner to remove the structure. Note that Appen­ dix A contains boarding provisions, but needs to be specifically referenced in the adopting ordinance of the jurisdiction to be mandatory.

[Al 110.2 Notices and orders. All notices and orders shall comply with Section 107.

Before the code official can pursue action to demolish a building in accordance with Section 110.1 or 110.3, it is imperative that all owners and any other persons with a recorded encumbrance on the property be given proper notice of the demolition plans (see Sec­ tion 107 for notice and order requirements).

[A] 110.3 Failure to comply. If the owner of a premises fails to comply with a demolition order within the time prescribed, the code official shall cause the structure to be demolished and removed, either through an available public agency or by contract or arrangement with private persons, and the cost of such demolition and removal shall be charged against the real estate upon which the structure is located and shall be a lien upon such real estate.

When the owner fails to comply with a demolition order, the code official is authorized to take action to have the building razed and removed. The costs are to be charged as a lien against the real estate. To reduce complaints regarding the validity of demolition costs, the code official will obtain competitive bids from several demolition contractors before authoriz­ ing any contractor to raze the structure.

[A] 110.4 Salvage materials. When any structure has been ordered demolished and removed, the governing body or other designated officer under said contract or arrangement aforesaid shall have the right to sell the salvage and valuable materials at the highest price obtainable. The net proceeds of such sale, after deducting the expenses of such demolition and removal, shall be promptly remitted with a report of such sale or transaction, including the items of expense and the

amounts deducted, for the person who is entitled thereto, sub­ ject to any order of a court. If such a surplus does not remain to be turned over, the report shall so state.

The governing body may sell any valuables or sal­ vageable materials for the highest price obtainable. The costs of demolition are then to be deducted from any proceeds from the sale of salvage. If a surplus of funds remains, it is to be remitted to the owner with an itemized expense and income account; however, if no surplus remains, this must also be reported.

SECTION 111 MEANS OF APPEAL

[A] Ill.I Application for appeal. Any person directly affected by a decision of the code official or a notice or order issued under this code shall have the right to appeal to the board of appeals, provided that a written application for appeal is filed within 20 days after the day the decision, notice or order was served. An application for appeal shall be based on a claim that the true intent of this code or the rules legally adopted thereunder have been incorrectly interpreted, the provisions of this code do not fully apply, or the require­ ments of this code are adequately satisfied by other means.

This section allows a person with a material or defini­ tive interest in the decision of the code official to appeal that decision. The aggrieved party may not appeal a code requirement. The intent of the appeal process is not to waive or set aside a code require­ ment; it is to provide a means of reviewing a code official's decision on an interpretation or application of the code or reviewing the code official's decision to approve or reject the equivalency of protection to the code requirement.

[A] 111.2 Membership of board. The board of appeals shall consist of a minimum of three members who are qualified by experience and training to pass on matters pertaining to prop­ erty maintenance and who are not employees of the jurisdic­ tion. The code official shall be an ex-officio member but shall have no vote on any matter before the board. The board shall be appointed by the chief appointing authority, and shall serve staggered and overlapping terms.

The concept of the board is to provide an objective group of persons who review the matters brought to them and make a collective decision. The members of the board are not to be employees of the jurisdic­ tion and are to have sufficient knowledge and experi­ ence to act on the concerns that are heard. A minimum of three board members is specified for a fair and impartial hearing process. Staggered terms are appropriate for uniform changeover such that a minimum number of board members is new each year. The number of members is to be determined by the chief appointing authority.

[A] 111.2.1 Alternate members. The chief appointing authority shall appoint a minimum of two alternate members who sball be called by the board chairman to hear appeals during the absence or disqualification of a member. Alternate

members shall possess the qualifications required for board membership.

This section authorizes the chief appointing authority to appoint two alternate members who are to be available if the principal members of the board are absent or disqualified. Alternate members must pos­ sess the same qualifications as the principal mem­ bers.

[A] 111.2.2 Chairman. The board shall annually select one of its members to serve as chairman.

It is customary to determine chairmanship annually so that a regular opportunity is available to evaluate and either reappoint the current chairman or appoint a new one.

[A] 111.2.3 Disqnalification of member. A member shall not hear an appeal in which that member has a personal, pro­ fessional or financial interest.

All members must disqualify themselves regarding any appeal in which they have a personal, profes­ sional or financial interest.

[A] 111.2.4 Secretary. The chief administrative officer shall designate a qualified person to serve as secretary to the board. The secretary shall file a detailed record of all proceedings in the office of the chief administrative officer.

The chief administrative officer is to designate a qual­ ified clerk to serve as secretary to the board. The sec­ retary is required to file a detailed record of all proceedings in the office of the chief administrative officer.

[A] 111.2.5 Compensation of members, Compensation of members shall be determined by law.

Members of the board of appeals are not required to be compensated unless required by the local munici­ pality or jurisdiction.

[Al 111.3 Notice of meeting. The board shall meet upon notice from the chairman, within 20 days of the filing of an appeal, or at stated periodic meetings.

The board must meet within 20 days of the filing of an appeal or at regularly scheduled meetings. This pro­ vides adequate time to coordinate the board mem­ bers' schedules, and also requires that the board consider the appeal in a timely manner.

[A] 111.4 Open hearing. All hearings before the board shall be open to the public. The appellant, the appellant's represen­ tative, the code official and any person whose interests are affected shall be given an opportunity to be heard. A quorum shall consist of a minumum of two-thirds of the board mem­ bership.

All hearings before the board must be open to the public. The appellant, the appellant's representative, the code official and any person whose interests are affected must be heard.

The quorum of two-thirds of the board is to be pres­ ent for the board to take any official action.

[A] 111.4.1 Procedure. The board shall adopt and make available to the public through the secretary procedures under which a hearing will be conducted. The procedures shall not require compliance with strict rules of evidence, but shall mandate that only relevant information be received.

The board is required to establish and make available to the public written procedures detailing how hear­ ings are to be conducted. Additionally, this section provides that, although strict rules of evidence are not applicable, the information presented must be deemed relevant.

[A] 111.5 Postponed hearing. When the full board is not present to hear an appeal, either the appellant or the appel­ lant's representative shall have the right to request a post­ ponement of the hearing.

When all members of the board are not present, either the appellant or the appellant's representative may request a postponement of the hearing. This request may be mede even though a quorum is pres­ ent.

[A] 111.6 Board decision. The board shall modify or reverse the decision of the code official only by a concurring vote of a majority of the total number of appointed board members.

A concurring vote of a majority of the members pres­ ent is needed to modify or reverse the decision of the code official.

[A] 111.6.1 Records and copies. The decision of the board shall be recorded. Copies shall be furnished to the appellant and to the code official.

A formal decision is required to provide an official record. Copies are to be furnished to both the appel­ lant and the code official. The code official is bound by the action of the board of eppeals, unless it is the opinion of him or her that the board of appeals has acted improperly. In such cases, relief through the court having jurisdiction may be sought by corporate counsel.

[A] 111.6.2 Administration. The code official shall take

.immediate action in accordance with the decision of the board.

To avoid any undue hindrance in the progress of con­ struction, the code official is required to act without delay based on the board's decision. This action may be to enforce the decision or to seek judicial relief if the board's action can be demonstrated to be inap­ propriate.

[A] 111.7 Court review. Any person, whether or not a previ­ ous party of the appeal. shall have the right to apply to the appropriate court for a writ of certiorari to correct errors of law. Application for review shall be made in the manner and time required by law following the filing of the decision in the office of the chief administrative officer.

This section allows any person to request a review by the court of jurisdiction with regard to perceived errors of law. Application for such review must be made after the decision of the board is filed with the

chief administrative officer. This helps all those con­ cerned to observe due process.

[A] 111.8 Stays of enforcement. Appeals of notice and orders (other than Imminent Danger notices) shall stay the enforcement of the notice and order until the appeal is beard by the appeals board.

The purpose of this section is to specify that if an appeal is made, the jurisdiction is not to enforce its notice or order until such appeal has been heard by the board of appeals. This does not apply, of course, to imminent danger notices.

SECTION 112 STOP WORK ORDER

[A] 112.1 Authority. Whenever the code official finds any work regulated by this code being performed in a manner contrary to the provisions of this code or in a dangerous or unsafe manner, the code official is authorized to issue a stop work order.

This section provides for the suspension of work for which a permit was issued, pending the removal or correction of a severe violation or unsafe condition identified by the code official.

Normally, correction notices are used to inform the permit holder of code violations. Stop work orders are issued when enforcement can be accomplished no other way or when a dangerous condition exists.

[A] 112.2 Issuance. A stop work order shall be in writing and shall be given to the owner of the property, to the owner's agent, or to the person doing the work. Upon issuance of a stop work order, the cited work shall immediately cease. The stop work order shall state the reason for the order and the conditions under which the cited work is authorized to resume.

Upon receipt of a violation notice from the code offi­ cial, all construction activities identified in the notice must immediately cease, except as expressly permit­ ted to correct the violation.

[Al 112.3 Emergencies. Where an emergency exists, the code official shall not be required to give a written notice prior to stopping the work.

This section gives the code official the authority to stop the work in dispute immediately when, in his or her opinion, there is an unsafe emergency condition that has been created by the work. The need for the written notice is suspended for this situation so that the work can be stopped immediately. After the work is stopped, immediate measures should be taken to correct the work at issue.

[A) 112.4 Failure to comply. Any person who shall continue any work after having been served with a stop work order, except such work as that person is directed to perform to remove a violation or unsafe condition, shall be liable to a fine of not less than [AMOUNTI dollars or more than [AMOUNT] dollars.

The local jurisdiction is to designate the fine that is to apply to any person who continues work that is at issue, other than abatement work. The dollar amounts for the minimum and maximum fines are to be specified in the adopting ordinance. See the sam­ ple ordinance for the adoption of the code on pages xi and xii in the front of the code for details.

Bibliography

The following resource materials were used in the prep­ aration of the commentary for this chapter of the code:

IBC-2012, International Building Code. Washington, D.C.: International Code Council, 2011.

IECC-2012, International Energy Conservation Code.

Washington, D.C.: International Code Council, 2011.

IFC-2012, International Fire Code. Washington, D.C.: International Code Council, 2011.

IFGC-2012, International Fuel Gas Code. Washington, D.C.: International Code Council, 2011.

IMC-2012, International Mechanical Code. Washington, D.C.: International Code Council, 2011.

IPC-2012, International Plumbing Code. Washington, D.C.: International Code Council, 2011.

IRC-2012, International Residential Code. Washington, D.C.: International Code Council, 2011.

IZC-2012, International Zoning Code. Washington, D.C.: International Code Council, 2011.

"Legacy Building Valuation Data." Building Safety Jour­ nal. Washington, DC: International Code Council.

Legal Aspects of Code Administration. Washington, DC: International Code Council, 2003.

Rhyne, Charles S. Survey of the Law and Building Codes. The American Institute of Architects and the National Association of Home Builders.

### Chapter 2: Definitions

General Comments

The words or terms defined in this chapter are deemed to be of prime importance in either specifying the sub­ ject matter of code provisions or in giving meaning to certain terms used throughout the code for administra­ tive or enforcement purposes.

Section 201 addresses the practical concerns encountered when interpreting the code in relation to the use of gender, tense and singular versus plural. This section also provides the code official with guidance for finding definitions of those words or terms not defined herein.

Section 202 provides an alphabetical listing of those terms that are commonly used throughout the code and that are required for the effective application of code requirements.

Purpose

Codes, by their very nature, are technical documents. As such, literally every word, term and punctuation mark can add to or change the meaning of the intended result This is even more so with a performance code where the desired result often takes on more impor­ tance than the specific words.

Furthermore, the code, with its broad scope of appli­ cability, includes terms inherent in a variety of construc­ tion disciplines. These terms can often have multiple meanings, depending on the context or discipline being used at the time.

For these reasons, it is necessary to maintain a con­ sensus on the specific meaning of terms contained in the code. Chapter 2 performs this function by stating clearly what specific terms mean for the purpose of the code.

SECTION 201 GENERAL

  - Scope. Unless otherwise expressly stated, the follow­ ing terms shall, for the purposes of this code. have the mean­ ings shown in this chapter.

In the application of the code, the terms used have the meanings given in this chapter.

  - Interchangeability. Words stated in the present tense include the future; words stated in the masculine gender include the feminine and neuter; the singular number includes the plural and the plural, the singular.

While the definitions contained in this chapter are to be taken literally, gender and tense are to be consid­ ered interchangeable. This is so that any grammatical inconsistencies within the code text will not hinder the understanding or enforcement of the requirements.

  - Terms defined in other codes. Where terms are not defined in this code and are defined in the International Building Code, International Existing Building Code, Inter­ national Fire Code, International Fuel Gas Code, Interna­ tional Mechanical Code, International Plumbing Code, International Residential Code, International Zoning Code or NFPA 70, such terms shall have the meanings ascribed to

them as stated in those codes.

When a word or term appears in the code and that word or term is not defined in this chapter, other refer­ ences may be used to find its definition, such as the International Building Code® (IBC®), International Fire Code" (IFC®), International Existing Building Code® (IEBC®), International Residential Code® (IRc®),

International Fuel Gas Code" (IFGC®), International Plumbing Code" (IPC®), International Mechanical Code" (IMC®) and the International Zoning Code® (IZC®). These codes contain additional definitions (some parallel and duplicative) that may be used in the enforcement of either the code or other codes by reference.

201,4 Terms not defined. Where terms are not defined through the methods authorized by this section, such terms shall have ordinarily accepted meanings such as the context implies.

Another resource for defining words or terms not defined herein or in other codes is their "ordinarily accepted meanings." The intent of this statement is that a dictionary definition may suffice, provided that the definition is in context

Oftentimes, construction terms used throughout the code may not be defined in this chapter or in a dictionary. In such case, one would first turn to the definitions contained in the referenced standards (see Chapter 8) and then to published tex1books on the subject in question.

201.5 Parts. Whenever the words "dwelling unit," "dwell­ ing," "premises," "building," "rooming house," "rooming unit," "housekeeping unit" or "story" are stated in this code, they shall be construed as though they were followed by the words "or any part thereof."

Each and every portion of a structure, whether the structure is used for only one type of occupancy or several, must comply with the appropriate regulations established by the code. It is understood that every

portion or any part of a structure is to comply with the code. Instead of being wordy, "or any part thereof" is considered to be included after "dwelling," "building," housekeeping unit," "rooming unit," etc.

SECTION 202 GENERAL DEFINITIONS

ANCHORED. Secured in a manner that provides positive connection.

This definition describes the term "anchored" for use in determining unsafe conditions related to exterior walls, flooring and flooring components, wall veneer and trim, overhangs and projections, stairs, porches and decks and foundation systems. Where it is apparent that a positive connection at these elements does not exist, the code official can cite the condition as unsafe and require repair as needed (see Sections 304.1.1 and 305.1.1).

[A] APPROVED.Approved by the code official.

As related to the process of acceptance of building installations, including materials, equipment and con­ struction systems, this definition identifies where ulti· mate authority rests. Whenever this term is used, it intends that only the enforcing authority can accept a specific installation or component as complying with the code.

BASEMENT. That portion of a building which is partly or completely below grade.

This definition defines that portion of a building that is partly or completely below grade as being a base­ ment. In this case, "grade" refers to the finished ground level adjacent to the exterior walls at all points around the building perimeter.

BATHROOM. A room containing plumbing fixtures includ­ ing a bathtub or shower.

A bathroom is literally a room containing plumbing fix­ tures, which is used for personal hygiene.

To be considered a bathroom, such a room need only contain one or more bathtubs or showers. Tradi· tionally, bathrooms are designed to afford privacy to an individual; however, such rooms may be designed to accommodate multiple users or bathers.

In everyday usage, the term is used interchange­ ably with toilet room (see the definition of "Toilet room") and, in this context, people expect a bathroom to also contain plumbing fixtures used for the elimina­ tion of bodily wastes (water closets and urinals), and fixtures used for bodily cleansing, such as lavatories (sinks).

The typical bathroom in residential occupancies

contains a water closet, a lavatory, a shower, a bath· tub or both a shower and a bathtub. A residential bathroom may also contain a bidet.

BEDROOM. Any room or space used or intended to be used for sleeping purposes in either a dwelling or sleeping unit.

A bedroom, also referred to as a "sleeping room," is an area or room used for sleeping purposes. A bed• room typically contains a bed and a piece of furniture to store clothing or a closet, although these are not required. Bedrooms may also be temporarily used for other purposes when containing fold-up or dual-pur­ pose furniture, such as daybeds or sleeper sofas. In any case, bedrooms must have sufficient floor space per person in order to be used as such in addition to meeting all the requirements of Section 404.4. The location and number of beds can be used to establish where people are sleeping and how many persons are occupying a dwelling at a given time.

[A] CODE OFFICIAL. The official who is charged with the administration and enforcement of this code, or any duly authorized representative.

The statutory power to enforce the code is normally vested in a building department (or the like) of a state, county or municipality whose designated enforce­ ment officer is termed the "code official" (see com­ mentary, Section 104).

CONDEMN. To adjudge unfit for occupancy.

To condemn is to pronounce a structure as unfit for occupancy or use. A condemnation is the result of the most serious of code violations in that it represents a condition, which in the opinion of the code official, poses a serious threat to the health and safety of the public or another structure or property. A violation that results in condemnation is typically followed by citations requesting immediate action. Depending on the severity of the situation, these actions may include vacating the premises, securing the structure or premises and, in some cases, demolition of the structure. When condemnation is used, care must be taken to follow all of the provisions outlined in Sec­ tions 107 through 11O (see commentary, Section 108).

DETACHED. When a structural element is physically dis­ connected from another and that connection is necessary to provide_ a positive connection.

This definition describes the term "detached" for use in determining unsafe conditions related to structural materials that may be beyond their limit state. Limit state is a condition beyond which a structure or mem­ ber becomes unfit for service and is no longer useful for its intended function. Where it is apparent that a material is beyond its limit state due to detachment, the code official can cite the condition as unsafe and require repair as needed (see Section 306.1.1).

DETERIORATION. To weaken, disintegrate, corrode, rust or decay and lose effectiveness.

This definition describes the term "deterioration" for use in determining unsafe conditions related to struc­ tural materials that may be beyond their limit state. Limit state is a condition beyond which a structure or member becomes unfit for service and is not longer useful for its intended function. Where it is apparent

that a material is beyond its limit state as a result of deterioration, the code official can cite the condition as unsafe and require repair as needed (see Section 306.1.1).

[BJ DWELLING UNIT. A single unit providing complete, independent living facilities for one or more persons, includw ing permanent provisions for living, sleeping, eating, cooking and sanitation.

A dwelling unit contains elements necessary for inde­ pendent living, including provisions for living space (family rooms, dining rooms, living rooms, dens, etc.); sleeping quarters; food preparation and eating spaces and personal hygiene, cleanliness and sanita­ tion facilities. Section 404 establishes the minimum room sizes. The minimum required levels of light and ventilation are included in Sections 402 and 403, respectively.

A dwelling unit is typically occupied in one of two ways: either through renting or ownership. The code requirements are applied consistently to all dwellings, regardless of the type of ownership. Both owner­ occupied and rented or leased dwellings must comply with the requirements of the code.

A dwelling unit can exist singularly as a one-family dwelling, or in combination with other dwelling units. When two dwelling units are grouped together in the same structure, the structure is considered a two­ family dwelling. Apartment houses contain three or more dwelling units.

[ZJ EASEMENT. That portion of land or property reserved for present or future use by a person or agency other than the legal fee owner(s) of the property. The easement shall be per­ mitted to be for use under, on or above a said lot or lots.

Easements are important mechanisms that allow the local municipality workers access to buried utilities, such as telephone and electric. Easements also allow access to property that would have otherwise been rendered landlocked or inaccessible. It is important to note and restrict permanent improvements that limit required access across these easements. For exam­ ple, a fence without a gate erected by a neighboring property owner that would deny entrance to an elec­ trical transformer.

EQUIPMENT SUPPORT. Those structural members or assemblies of members or manufactured elements, including braces, frames, lugs, snuggers, hangers or saddles, that trans­ mit gravity load, lateral load and operating load between the equipment and the structure.

This definition describes the term "equipment sup­ port" for use in determining unsafe conditions related to structural materials that may be beyond their limit state that support equipment. Limit state is a condi­ tion beyond which a structure or member becomes unfit for service and is no longer useful for its intended function. Where it is apparent that a material is beyond its limit state that provides equipment sup­ port, the code official can cite the condition as unsafe and require repair as needed (see Section 306.1).

EXTERIOR PROPERTY. The open space on the premises and on adjoining property under the control of owners or operators of such premises.

Exterior property generally consists of the open space or area outside a building or an accessory structure on the same premises or property. It is often referred to as '1he yard area," but can also include driveways, parking areas, portions of the public right­ of-way, vacant lots or adjoining property under the control of the same owner.

GARBAGE. The animal or vegetable waste resulting from the handling, preparation, cooking and consumption of food.

Garbage is discarded food waste and differs from rubbish (see the definition of "Rubbish") in that it pro­ vides a food source for rodents and other animals and insects. Garbage that is not properly handled and disposed of regularly can cause insanitary conditions and infestations of many types that could be the cause of illness in people and pets. Durable garbage containers with tight-fitting lids offer the best protec­ tion against these conditions.

[BJ GUARD, A building component or a system of building components located at or near the open sides of elevated walking surfaces that minimizes the possibility of a fall from the walking surface to a lower level.

This is a term common to the IBC and IRC. Guards are sometimes mistakenly referred to as "guardrails." In actuality, the guard consists of the entire vertical portion of the barrier, not just the top rail. The pur­ pose of guards is to minimize the potential for falls at dropoffs adjacent to walking surfaces.

[BJ HABITABLE SPACE. Space in a structure for living, sleeping, eating or cooking. Bathrooms, toilet rooms, closets, halls, storage or utility spaces, and similar areas are not con­ sidered habitable spaces.

Habitable spaces are those spaces that are normally considered "inhabited" in the course of residential liv­ ing and accommodate the four basic activities of liv­ ing, sleeping, eating and cooking. Other spaces, such as halls or utility rooms, are not considered habitable, but would, in many instances, be considered occupi­ able spaces.

HOUSEKEEPING UNIT. A room or group of rooms form­ ing a single habitable space equipped and intended to be used for living, sleeping, cooking and eating which does not con­ tain, within such a unit, a toilet, lavatory and bathtub or shower.

Housekeeping units differ from a traditional dwelling unit, as defined in the IRC, in that the sanitary facili­ ties are not contained within the unit.

IMMINENT DANGER. A condition which could cause serious or life-threatening injury or death at any time.

As used in the code, imminent danger refers to a con­ dition that poses a threat or danger to the building occupants or persons in the proximity of a building or premises. Section 109 empowers the code official to

vacate an occupied premises, order the closing of streets or take other emergency measures to safe­ guard the public until the condition is no longer threat­ ening.

INFESTATION. The presence, within or contiguous to, a structure or premises of insects, rats, vennin or other pests.

This definition is needed for the application of Sec­ tions 302.5 and 309.1. An infestation is the actual presence of live insects, rats, vermin or other pests. If the actual presence of pests cannot be readily con­ firmed, the presence of fresh droppings, larvae, eggs, rodent holes or other such evidence can identify a current infestation.

INOPERABLE MOTOR VEHICLE. A vehicle which can­ not be driven upon the public streets for reason including but not limited to being unlicensed, wrecked, abandoned, in a state of disrepair, or incapable of being moved under its own power.

Motor vehicles that are in some stage of disrepair or disassembly are often the source of property mainte­ nance complaints. This definition clearly identifies that vehicles that are unlicensed, wrecked, aban­ doned, in a state of disrepair or incapable of moving under their own power are inoperable.

[A] LABELED. Equipment, materials or products to which have been affixed a label, seal, symbol or other identifying mark of a nationally recognized testing laboratory, inspection agency or other organization concerned with product evalua­ tion that maintains periodic inspection of the production of the above-labeled items and whose labeling indicates either that the equipment, material or product meets identified stan­ dards or has been tested and found suitable for a specified purpose.

When a product is labeled, the label indicates, first, that the material has been tested for conformance to an applicable standard or has been determined suit­ able for a specified purpose, and second, that the component is subject to third-party inspection to ver­ ify that the minimum level of quality required by the appropriate standard is maintained. Labeling pro­ vides a readily available source of information that is useful for field inspection of installed products. The label identifies the product or material and provides other information that can be further investigated if there is any question as to its suitability for the spe­ cific installation. The labeling agency performing the third-party inspection must be approved by the code official and the basis for approval may include, but is not necessarily limited to, the capacity and capability of the agency to perform the specific testing and inspection.

While the code does not specifically state what

information must be contained on the label, the appli­ cable referenced standard often states the minimum identifying information required. The data contained on a label typically includes, but is not necessarily limited to, the name of the manufacturer; product name or serial number; installation specifications;

applicable tests and standards; the testing agency and the labeling agency.

LET FOR OCCUPANCY or LET. To permit, provide or offer possession or occupancy of a dwelling, dwelling unit, rooming unit, building, premise or structure by a person who is or is not the legal owner of record thereof, pursuant to a written or unwritten lease, agreement or license, or pursuant to a recorded or unrecorded agreement of contract for the sale of land.

This definition refers to a legal term meaning to lease or convey real estate or property to someone other than the owners.

NEGLECT. The lack of proper maintenance for a building or structure.

This definition describes the term "neglect" for use in determining if a structure or premises is dangerous in accordance with Section 108.1.5. Where it is appar­ ent that a structure or premises is dangerous due to neglect, the code official can cite the condition as unsafe and require repair as needed.

[A] OCCUPANCY. The purpose for which a building or portion thereof is utilized or occupied.

The occupancy classification of a building is an indi­ cation of the level of hazard to which the occupants are exposed as a function of the actual building use. Occupancy in terms of an occupancy group classifi­ cation is one of the primary considerations in the development and application of many code require­ ments that are designed to offset the specific hazards inherent to each occupancy group designation. In enforcing the code, the approved occupancy of the building is generally an established fact.

OCCUPANT. Any individual living or sleeping in a build­ ing, or having possession of a space within a building.

By definition, a person need not have possession or control of a space in order to be an occupant.

OPENABLE AREA. That part of a window, skylight or door which is available for unobstructed ventilation and w!>ich opens directly to the outdoors.

The openable area is the actual area of a window or door (glazed or unglazed) through which outside air will flow into a structure. The openable area should be measured when the window or door is in its full, open position. When determining openable area, only the space between stops or between stops and sashes is to be measured. The area of sashes, meet­ ing rails, mullions and muntins is to be deducted (see Figure 403.1).

OPERATOR. Any person who has charge, care or control of a structure or premises which is let or offered for occupancy.

This definition is needed to distinguish the unique meaning of this term, as it is intended to be used in the code, from the ordinarily accepted meaning of the term "operator." An operator may not be the owner, but may represent the owner in the care or control of a structure.

[A] OWNER. Any person, agent, operator, firm or corpora­ tion having a legal or equitable interest in the property; or recorded in the official records of the state, county or munici­ pality as holding title to the property; or otherwise having control of the property, including the guardian of the estate of any such person, and the executor or administrator of the estate of such person if ordered to take possession of real property by a court.

This term defines the person or other legal entity who is responsible for a building and its compliance with the code requirements.

PERSON. An individual, corporation, partnership or any other group acting as a unit.

A person can be an individual or group of individuals who have formed one of several types of business organizations. Corporations, partnerships and other types of business entities are treated as "persons" under the law. They are just as responsible as any individual for complying with the code and subject to the penalties established under local or state law (see Section 106.4).

PEST ELIMINATION. The control and elimination of insects, rodents or other pests by eliminating their harborage places; by removing or making inaccessible materials that serve as their food or water; by other approved pest elimina­ tion methods.

This definition is needed since Section 309 requires that approved pest elimination methods that are not harmful to people be used to eliminate infestations.

[A] PREMISES. A lot, plot or parcel of land, easement or

public way) including any structures thereon.

When this term is used in the code, it is intended that the entire lot and all of the structures thereon be included within the scope of that code requirement.

[A] PUBLIC WAY. Any street, alley or similar parcel of land essentially unobstructed from the ground to the sky, which is deeded, dedicated or otherwise permanently appro­ priated to the public for public use,

This term describes the ground upon which the public will be allowed passage.

ROOMING HOUSE. A building arranged or occupied for lodging, with or without meals, for compensation and not occupied as a one- or two-family dwelling.

A rooming house provides shelter and sleeping arrangements for individuals. This differs from other living arrangements in that the occupant shares a dwelling unit rather than having his or her own com­ plete and private dwelling unit. Each person rents individually from the owner and does not occupy the structure as part of a family. In most cases, the occu­ pant shares a bathroom and cooking facilities. Another term that could be used is "boarding house," and it would be classified as an Occupancy Group R- 1 or R-2, depending upon the permanent or transient nature of the occupants.

ROOMING UNIT. Any room or group of rooms forming a single habitable unit occupied or intended to be occupied for sleeping or living, but not for cooking purposes,

Rooming units differ from dwelling units since no cooking facilities are located in any rooming unit. Rooming units contain only sleeping and living facili­ ties.

RUBBISH. Combustible and noncombustible waste materi­ als, except garbage; the term shall include the residue from the burning of wood, coal, coke and other combustible mate­ rials, paper, rags, cartons, boxes, wood, excelsior, rubber, leather, tree branches, yard trimmings, tin cans, metals, min­ eral matter, glass, crockery and dust and other similar materi­ als.

The term is usually considered to be a synonym for similar terms such as "refuse" or "trash" and generally encompasses the broad range of worthless, dis­ carded materials other than garbage. The term "gar­ bage" is typically limited to describing wastes generated by food preparation operations.

[BJ SLEEPING UNIT. A room or space in which people sleep, which can also include permanent provisions for liv­ ing, eating and either sanitation or kitchen facilities, but not both, Such rooms and spaces that are also part of a dwelling unit are not sleeping units.

This definition is included to coordinate the Fair Housing Act Guidelines with the code. The definition for "Sleeping unit" is needed to clarify the differences between sleeping units and dwelling units. Some examples would be a hotel guestroom, a dormitory, a boarding house, etc. Another example would be an addition to a studio apartment with a kitchenette (i.e., microwave, sink, refrigerator). Since the cooking arrangements are not permanent, this configuration would be considered a sleeping unit, not a dwelling unit. As already defined in the code, a dwelling unit must contain permanent facilities for living, sleeping, eating, cooking and sanitation.

STRICT LIABILITY OFFENSE. An offense in which the prosecution in a legal proceeding is not required to prove criminal intent as a part of its case. It is enough to prove that the defendant either did an act which was prohibited, or failed to do an act which the defendant was legally required to do.

This term, along with its usage in Section 106.3, brings the code in line with current legal terminology in regards to the prosecution of violations. With this term, a prosecutor is not required to prove that code violations were intended by a defendant or were even due to negligence. It is difficult to prove such intention or negligence in a court of law.

[A] STRUCTURE. That which is built or constructed or a portion thereof.

This definition is intentionally broad so as to include within its scope, and therefore the scope of the code (see Section 101.2), everything that is built as an improvement to real property. The phrase "or a por­ tion thereof' is included so that those words do not

have to be inserted at each location in the code where a provision applies to only a portion of a struc­ ture.

TENANT. A person, corporation, partnership or group, whether or not the legal owner of record, occupying a build­ ing or portion thereof as a unit.

This definition parallels that of the term "occupant" and makes it clear that, as used in the code, an owner-occupant is considered a tenant.

TOILET ROOM. A room containing a water closet or urinal but not a bathtub or shower.

In the context of the code, a toilet room is a room that contains plumbing fixtures used for elimination of bodily wastes (water closets and urinals) and also includes fixtures used for handwashing (lavatories). Toilet rooms are typically associated with public occupancies. Although sometimes used interchange­ ably with the term "bathroom" (see the definition of "Bathroom"), a toilet room contains only those plumb­ ing fixtures designed for waste elimination and hand­ washing. A toilet room becomes a bathroom when it contains a bathtub or shower.

ULTIMATE DEFORMATION. The deformation at which failure occurs and which shall be deemed to occur if the sus­ tainable load reduces to 80 percent or less of the maximum strength.

This definition describes the term "ultimate deforma­ tion" for use in determining unsafe conditions related to structural materials that may be beyond their limit state due to ultimate deformation. Limit state is a con­ dition beyond which a structure or member becomes unfit for service and is no longer useful for its intended function. Where it is apparent that a material is beyond its limit state due to ultimate deformation, the code official can cite the condition as unsafe and require repair as needed (see Section 306.1.1).

[Ml VENTILATION. The natural or mechanical process of supplying conditioned or unconditioned air to, or removing such air from, any space.

Ventilation is the process of moving air to or from building spaces. This definition is used in this chapter to establish minimum levels of air movement within a building for the purposes of providing a healthful inte­ rior environment. Ventilation would include both natu­ ral (openable exterior windows and doors for wind movement) and mechanical (forced air with mechani­ cal equipment) methods, when permitted by the code.

WORKMANLIKE. Executed in a skilled manner; e.g., gen­ erally plumb, level, square, in line, undamaged and without marring adjacent work.

To be workmanlike, maintenance or repair work must be performed in a manner consistent with work done by a skilled craftsman. In general, floors should be level, walls plumb and square and windows installed so that they operate easily and fit within the rough

opening to exclude the elements. The use of proper tools, methods and materials is usually necessary for workmanlike repairs.

[Z) YARD. An open space on the same lot with a structure.

Yard is similar to "exterior property" but pertains only to the open area on a lot with a structure. A vacant lot or property without a structure does not have a yard by this definition.

Bibliography

The following resource materials were used in the prep­ aration of the commentary for this chapter of the code:

IBC-2012, International Building Code. Washington, D.C.: International Code Council, 2011.

IEBC-2012, International Existing Building Code. Wash­ ington, D.C.: International Code Council, 2011.

IFC-2012, International Fire Code. Washington, D.C.: International Code Council, 2011.

IFGC-2012, International Fuel Gas Code. Washington, D.C.: International Code Council, 2011.

IMC-2012, International Mechanical Code. Washington, D.C.: International Code Council, 2011.

IPC-2012, International Plumbing Code. Washington, D.C.: International Code Council, 2011.

IRC-2012, International Residential Code. Washington, D.C.: International Code Council, 2011.

IZC-2012, International Zoning Code. Washington, D.C.: International Code Council, 2011.

## Chapter 3: General Requirements

General Comments

The title for Chapter 3 ("General Requirements") indi­ cates that it is broad in scope. It includes a variety of requirements for the exterior property areas, as well as the interior and exterior elements of the structure. Chap­ ter 3 provides specific criteria for regulating the installa­ tion and maintenance of building components. This chapter also contains requirements regulating the safety, sanitation and appearance of the mtenor and exterior of structures and all exterior property areas.

Section 301 identifies the scope of Chapter 3 as co_n­ taining provisions for maintaining a structure and its exterior property areas, and establis es who is respo ­ sible for complying with the chapters provIsIons. This section also provides minimum maintenance require­ ments for vacant structures and land.

Section 302 establishes criteria for maintaining exte­ rior property areas and accessory structures and pro- vides vehicle storage regulations.	.  .

Section 303 contains the requirements for swimming

pools, spas and hot tubs and_ provides requirements for protective barriers and gates in these barriers.

Section 304 establishes maintenance requirements for the structural, weather resistance, sanitary and safety performance of the exterior of a structure.

Section 305 establishes maintenance reqwrements for the structural, sanitary and safety performance of the interior of a structure.

Section 306 contains provisions for maintaining com­ ponents of a structure, as well as for determining unsafe conditions based on specific parameters.

Section 307 provides for the safety and maintenance of handrails and guardrails.

Sections 308 and 309 establish the responsible par­ ties for exterminating insects and rodents, and maintain­ ing sanitary conditions in various types of o?cupa_ncIes. When specific requirements are not prov1d_ed. m the code, the following three options for establishing the necessary criteria are available:

- If the jurisdiction has already established criteria, the code official can continue to enforce that criteria.

- The jurisdiction may adopt its own criteria and incorporate them as an amendment to the appropriate section of the code.

- The code official may adopt and enforce criteria already established by the International Building Code® (IBC®).

Chapter 3 also provides the code official with guide­ lines for determining who is responsible for maintaining sanitary conditions and eliminating infestations of insects, rodents or other pests.

Inadequate sanitation and insect or rodent infesta­ tions can have a significant impact on a community. A poorly kept neighborhood. affects. the s_elf-image of a community, as well as the ImpressIon neighboring com­ munities and visitors have about the area. Responsible property owners may shy away from neighborhoods that look unkempt. As a result, property values decrease and the cycle can continue until the neighbor­ hood is considered a slum.

An area that is neat, clean and well maintained attracts owners and occupants who are usually willing to keep the area attractive, if only to protect their own inter­ ests. The code official, with vigorous enforcement of sanitation and extermination regulations, can help a community maintain a positive self-image. This creates a favorable image to the rest of the community and its visitors.

Purpose

Chapter 3 provides requirements that are intended to maintain a minimum level of safety and sanitation for both the general public and the occupants of a struc­ ture, and to maintain a building's structural and weather­ resistant performance.

SECTION301 GENERAL

  - Scope. The provisions of this chapter shall govern the minimum conditions and the responsibilities of persons for maintenance of structures, equipment and exterior property.

This chapter establishes minimum requirements for maintenance of property areas, premises and struc­ tures. The code deals with all types and all ages of

structures; therefore, the criteria must be of a mini­ mum nature, consistent with a reasonable level of protection for the health and safety of the occupants.

  - Responsibility. The owner of the premises shall main­ tain the structures and exterior property in compliance with these requirements, except as otherwise provided for in this code. A person shall not occupy as owner-occupant or permit another person to occupy premises which are not in a sanitary and safe condition and which do not comply with the require-

ments of this chapter. Occupants of a dwelling unit, rooming unit or housekeeping unit are responsible for keeping in a clean, sanitary and safe condition that part of the dwelling unit, rooming unit, housekeeping unit or premises which they occupy and control.

The owner is responsible for complying with the requirements of Chapter 3, except when the code places the responsibility on the occupants to keep their portion of the premises in a safe and sanitary condition.

Simply stated, owners must provide a safe and sanitary property and premises when they let it for occupancy. Occupants must continue to keep it safe and sanitary while they occupy, control or use the property and premises.

  - Vacant structnres and laud. All vacant structures and premises thereof or vacant land shall be maintained in a clean, safe, secure and sanitary condition as provided herein so as not to cause a blighting problem or adversely affect the public health or safety.

Both vacant structures and vacant land present spe• cial concerns to communities. Because no one is liv­ ing on these premises, they are often ignored by the owners. Consequently, this section establishes the code official's authority to order the cleanup of vacant lands and the securing of vacant structures that might present an attractive nuisance.

When the owner fails to secure a vacant structure, Section 108.2 provides the code official with the authority to arrange for securing such buildings. Addi­ tionally, Section 11O authorizes the code official to pursue demolition of any structure that is deemed unreasonable to repair. When a structure is reason­ able to repair, the code official is authorized to require the necessary repairs.

SECTION 302 EXTERIOR PROPERTY AREAS

  - Sanitation. All exterior property and premises shall be maintained in a clean, safe and sanitary condition. The occu­ pant shall keep that part of the exterior property which such occupant occupies or controls in a clean and sanitary condi­ tion.

This section establishes a simple, straightforward requirement that exterior areas shall be clean and free from rubbish and garbage (see the definitions in Chapter 2). The code official may find that enforce• ment of this section is frequently neither straightfor­ ward nor simple.

Each jurisdiction has neighborhoods within the overall community that have distinct characteristics. Deteriorated, low-cost housing may dominate in one area, while another has expensive, well-maintained housing units. Sanitation standards should be enforced uniformly and consistently.

  - Grading and drainage. All premises shall be graded and maintained to prevent the erosion of soil and to prevent

the accumulation of stagnant water thereon, or within any structure located thereon.

Exception: Approved retention areas and reservoirs.

Improperly graded property areas create health and safety hazards. Stagnant water provides a home for many nuisance insects, especially the mosquito. Stagnant water next to a structure can cause mold growth, which can lead to the decay of wooden mem­ bers. Ponded water is an attractive nuisance for chil· dren and has contributed to numerous drowning deaths.

Stagnant water is foul or stale water. Regrading the premises may be necessary to prevent stagnant water. If regrading is not practical, some type of water-diversion system must be installed. Other solu­ tions include replacing nonabsorbent soil with absor• bent soil, installing underground drain tile or building an underground leaching pit.

Soil erosion can be a nuisance if material is being deposited in drainage systems or on adjacent proper• ties, and is an indication of improper grading. Planting and maintaining an acceptable ground cover gener­ ally prevents erosion.

As indicated by the exception, water retention areas or reservoirs are permitted by the code even though they may contain stagnant water; however, the code official must approve their use.

  - Sidewalks and driveways. All sidewalks, walkways, stairs, driveways, parking spaces and similar areas shall be kept in a proper state of repair, and maintained free from haz­ ardous conditions.

The code official is authorized to require that all side­ walks, walkways, stairs, driveways, parking spaces, etc., are usable and kept in proper repair. Walking surfaces that have deteriorated to a condition that presents a hazard to pedestrians must be repaired or replaced to eliminate the hazard and thus reduce the potential for accidents or injuries.

  - Weeds. All premises and exterior property shall be maintained free from weeds or plant growth in excess of [JURISDICTION TO INSERT HEIGHT IN INCHES]. All noxious

weeds shall be prohibited. Weeds shall be defined as all grasses, annual plants and vegetation, other than trees or shrubs provided; however, this term shall not include culti­ vated flowers and gardens.

Upon failure of the owner or agent having charge of a property to cut and destroy weeds after service of a notice of violation, they shall be subject to prosecution in accordance with Section 106.3 and as prescribed by the authority having jurisdiction. Upon failure to comply with the notice of viola­ tion, any duly authorized employee of the jurisdiction or con­ tractor hired by the jurisdiction shall be authorized to enter upon the property in violation and cut and destroy the weeds growing thereon, and the costs of such removal shall be paid by the owner or agent responsible for the property.

Criteria establishing maximum heights for grass and weeds are necessary to reduce rodent shelters and pollen dust problems.

This section provides a mechanism for removal of weeds on neglected or abandoned properties after proper notice has been given to the responsible owner or agent (see Sections 107 and 108.3). It is important that the code official act quickly in requiring weed removal to prevent the weeds from contributing to a blight condition that could eventually become a harbor for pests and rodents.

All noxious weeds are prohibited; however, each community has different weeds that are considered noxious. The code official should confer with the state or local agricultural agent to become familiar with weeds that are noxious in his or her community.

Cultivated flowers and gardens are not considered to be weeds. The word "cultivated" is important. Culti­ vated is defined as "to loosen or dig (soil) around growing plants." Uncultivated ·gardens should be treated the same as weeds and tall grasses.

  - Rodent harborage. All structures and exterior prop­ erty shall be kept free from rodent harborage and infestation. Where rodents are found, they shall be promptly extermi­ nated by approved processes which will not be injurious to human health. After pest elimination, proper precautions shall be taken to eliminate rodent harborage and prevent rein­ festation.

Rodents carry disease organisms in their feces and on their bodies. The code official must require the extermination of all rodents by approved processes. All harborage areas should be eliminated by remov­ ing piles of rubbish, towing or repairing inoperable cars and cutting back weeds. Garbage should be stored in solid containers with tight-fitting lids and dis­ posed of regularly.

  - Exhaust vents. Pipes, ducts, conductors, fans or blow­ ers shall not discharge gases, steam, vapor, hot air. grease, smoke, odors or other gaseous or particulate wastes directly upon abutting or adjacent public or private property or that of another tenant.

There are three common problems associated with exhaust vent discharges:

fences, retaining walls and similar structures a lower maintenance priority than the primary structure; thus, these structures are frequently in disrepair. A thor­ ough inspection of all property areas and accessory buildings is necessary to identify violations of the code and to improve a neighborhood's appearance.

302.8 Motor vehicles. Except as provided for in other regula­ tions, no inoperative or unlicensed motor vehicle shall be parked, kept or stored on any premises, and no vehiele shall at any time be in a state of major disassembly, disrepair, or in the process of being stripped or dismantled. Painting of vehi­ cles is prohibited unless conducted inside an approved spray booth.

Exception: A vehicle of any type is permitted to undergo major overhaul, including body work, provided that such work is performed inside a structure or similarly enclosed area designed and approved for such purposes.

Improper storage of inoperable vehicles can be a serious problem for a community. The vehicles are unsightly, clutter the neighborhood, provide a harbor­ age for rodents and are an attractive nuisance for children.

This section establishes criteria for acceptable vehicle storage. No inoperable or unlicensed vehicles are permitted on a property unless approved in other regulations adopted by the community. This regula­ tion addresses two problems associated with vehicle storage and repair:

- The blighting influence that improperly stored inoperable vehicles have on a neighborhood; and

- The neighborhood mechanic who attempts to operate a vehicle repair business from home.

Major vehicle repairs are permitted, but only if the work is performed in a structure designed and approved for such use. Of course, this regulation does not affect the storage of vehicles on property that complies with applicable zoning or license requirements, such as repair garages, salvage yards

  - Odor problems caused from emanating	from	business properties;

exhaust gases and	industrial

and similar establishments.

302.9 Defacement of property. No person shall willfully or wantonly damage, mutilate or deface any exterior surface of

- Noise problems created by exhaust vents; and

- Health and safety problems created by exhausts that contain hazardous or potentially hazardous discharge.

To reduce these problems, exhaust vents are pro­ hibited from discharging directly on abutting or adja­ cent public and private property.

  - Accessory structures. All accessory structures, includ­ ing detached garages, fences and walls, shall be maintained structurally sound and in good repair.

Accessory structures must be maintained in accor­ dance with the criteria established by this section. Property owners often give detached garages, sheds,

any structure or building on any private or public property by placing thereon any marking, carving or graffiti.

It shall be the responsibility of the owner to restore said

surface to an approved state of maintenance and repair.

Graffiti, carving and damage is a problem that plagues exterior surfaces of walls, fencing and side­ walks in cities and towns of all sizes. This problem begins as an eyesore and can result in serious con­ sequences, including declining property values and degradation of the structures' ability to repel rain and snow.

It must be the responsibility of the owner to restore said surface to an approved state of maintenance and repair.

SECTION 303

SWIMMING POOLS, SPAS AND HOT TUBS

  - Swimming pools. Swimming pools shall be main­

tained in a clean and sanitary condition, and in good repair.

Swimming pools, ii neglected, can become a health hazard, resulting in insect-attracting stagnant water.

  - Enclosures. Private swimming pools, hot tubs and spas, containing water more than 24 inches (610 mm) in depth shall be completely surrounded by a fence or barrier at least 48 inches (1219 mm) in height above the finished ground level measured on the side of the barrier away from the pool. Gates and doors in such barriers shall be self-closing and self-latching. Where the self-latching device is a mini­ mum of 54 inches (1372 mm) above the bottom of the gate, the release mechanism shall be located on the pool side of the gate. Self-closing and self-latching gates shall be maintained such that the gate will positively close and latch when released from an open position of 6 inches (152 mm) from the gatepost. No existing pool enclosure shall be removed, replaced or changed in a manner that reduces its effectiveness as a safety barrier.

Exception: Spas or hot tubs with a safety cover that com­ plies with ASTM F 1346 shall be exempt from the provi­ sions of this section.

This performance-based criteria was specifically added to address pool-related problems where a child could possibly drown by gaining entry into a pool through a gate that failed to close and latch properly. Gates that may have deteriorated over time through age, wear and exposure to the elements are now addressed so that they will continue to provide the intended level of protection. The exception to this section allows for safety covers that comply with ASTM F 1346. This exception is consistent with cur­ rent provisions in the IBC and the International Resi­ dential Code" (IRC®).

ASTM F 1346 contains requirements including a means of fastening the safety cover to the hot tub or spa, such as key locks, combination locks or similar devices that will keep the cover in place; testing to demonstrate that the cover can support a minimum required weight; limitations on openings in the cover and minimum installation requirements.

SECTION 304 EXTERIOR STRUCTURE

  - General. The exterior of a structure shall be main­ tained in good repair, structurally sound and sanitary so as not to pose a threat to the public health, safety or welfare.

The exterior of structures must perform lour primary functions:

    - It must be in good repair. There should be no evidence of deterioration, or damaged or loose elements.

    - It must be structurally sound. There should not be any loose or collapsing pieces. Stairways,

porches, balconies and similar structural elements must safely perform their intended functions.

- It must be kept in a sanitary condition. There shall be no accumulation of litter or debris on porches and other parts of the exterior structure.

- It must be capable of preventing the elements (rain, snow and wind) and rodents from entering the interior areas.

    - Unsafe conditions. The following conditions shall be determined as unsafe and shall be repaired or replaced to comply with the International Building Code or the Interna­ tional Existing Building Code as required for existing build­ ings:

      - The nominal strength of any structural member is exceeded by nominal loads, the load effects or the required strength;

- The anchorage of the floor or roof to walls or col­ umns, and of walls and columns to foundations is not capable of resisting all nominal loads or load effects;

- Structures or components thereof that have reached

their limit state;

- Siding and masonry joints including joints between the building envelope and the perimeter of windows, doors and skylights are not maintained, weather resis­ tant or water tight;

- Structural members that have evidence of deteriora­ tion or that are not capable of safely supporting all nominal loads and load effects;

- Foundation systems that are not firmly supported by footings, are not plumb and free from open cracks and breaks, are not properly anchored or are not capable of supporting all nominal loads and resisting all load effects;

- Exterior walls that are not anchored to supporting and supported elements or are not plumb and free of holes, cracks or breaks and loose or rotting materials, are not properly anchored or are not capable of supporting all nominal loads and resisting all load effects;

- Roofing or roofing components that have defects that admit rain, roof surfaces with inadequate drainage, or any portion of the roof framing that is not in good repair with signs of deterioration, fatigue or without proper anchorage and incapable of supporting all nominal loads and resisting all load effects;

- Flooring and flooring components with defects that affect serviceability or flooring components that show signs of deterioration or fatigue, are not properly anchored or are incapable of supporting all nominal loads and resisting all load effects;

- Veneer, cornices, belt courses, corbels, trim, wall fac­ ings and similar decorative features not properly anchored or that are anchored with connections not capable of supporting all nominal loads and resisting all load effects;

- Overhang extensions or projections including, but not limited to, trash chutes, canopies, marquees, signs, awnings, fire escapes, standpipes and exhaust ducts not properly anchored or that are anchored with con­ nections not capable of supporting all nominal loads and resisting all load effects;

- Exte1ior stairs, decks, porches, balconies and all simi­ lar appurtenances attached thereto, including guards and handrails, are not structurally sound, not properly anchored or that are anchored with connections not capable of supporting all nominal loads and resisting all load effects; or

- Chimneys, cooling towers, smokestacks and similar appurtenances not structurally sound or not properly anchored, or that are anchored with connections not capable of supporting all nominal loads and resisting all load effects.

Exceptions:

  - When substantiated otherwise by an approved

method.

2. Demolition of unsafe conditions shall be permit­ ted when approved by the code official.

The purpose of these requirements is to set out gen­ eral and specific delineations in a building or structure that would make it unsafe. These delineations allow the code official more specific references to condi­ tions that characterize an unsafe building or struc­ ture.

Section 304.1.1 describes in detail unsafe condi­ tions related to the exterior of the structure to provide the code official the ability to require replacement or repair.

Item 1 indicates that if the strength of the structural member is exceeded by either the nominal loads or load effects, the condition is to be regarded as unsafe. Nominal strength and load effects, as defined by the IBC and Items 2-13 of this section, are when a structure or component is regarded as incapable of performing its intended function thus becoming unsafe.

Item 2 deals with required strength of connections between structural members. More specifically each connection must be able to resist nominal loads and load effects; otherwise, the building or affected por­ tion thereof is to be regarded as unsafe. Anchorage of various elements of a structure is essential to its stability. When anchorage is not capable of transfer­ ring the intended loads, the structure or component is said to be unsafe.

Item 3 specifies that any condition beyond which a structure or member becomes unfit for service and is judged to be no longer useful for its intended function is to be unsafe. This includes its serviceability limit and strength limit state. Limit state as defined by the IBC is a condition beyond which a structure or mem­ ber becomes unfit for service and is judged to be no longer useful for its intended function (serviceability limit state) or to be unsafe (strength limit state). Any

structure reaching this state is said to be unsafe.

Since weather penetration can degrade structural components, Item 4 specifies that if any joint in the building envelope allows weather to penetrate, it may be used as a basis to classify the structure as unsafe. This may be, in and of itself, the basis for the classifi­ cation. However, supporting evidence of deterioration caused by the penetration would add weight to the characterization as unsafe.

Item 5 addresses structural members. Structural members are essential to the structural integrity of any building. If any structural member is deteriorated to the point that it cannot safely support the nominal loads, the building may be regarded as unsafe.

Item 6 addresses foundations. Foundation systems are essential to the structural integrity of any building. If any portion of any foundation system is not sup­ ported by adequate soil or is not plumb as intended to distribute the loads or has cracks or breaks or inade­ quately anchored, the building may be regarded as unsafe.

Item 7 addresses exterior walls. Exterior walls are essential to the structural integrity of any building. If any portion of any exterior or bearing wall system is not supported by adequate foundation or is not plumb as intended to distribute the loads or has cracks or breaks or inadequately anchored, the building may be regarded as unsafe.

Item 8 addresses roofing and roofing components. Since weather penetration can degrade structural components, this section specifies that if any roof component allows weather to penetrate, it may be used as a basis to classify the structure as unsafe. This may be, in and of itself, the basis for the classifi­ cation. However, supporting evidence of deterioration caused by the penetration would add weight to the characterization as unsafe. Additionally, any struc­ tural component of the roof assembly not capable of supporting design loads is a basis for classifying as unsafe.

Item 9 addresses flooring and flooring components. Walking surfaces in floors with fatigue, defects or deterioration are a basis for determining that a build­ ing or structure is unsafe. If a floor may collapse due to any of these conditions or is likely to cause harm or injury, it may be regarded as unsafe.

Item 10 addresses exterior wall facings. Decorative features either inside or outside that may become detached and fall is a basis for classifying a building or portion thereof as unsafe. Lateral movement, such as an earthquake or wind, may cause any feature such as this to fall if not secured properly.

Item 11 addresses overhangs and projections from a building. As with decorative features, any overhang, extension, projection, such as trash chutes, canopies, marquis, sign, etc., that is not anchored properly and can fall is a basis for declaring that an unsafe condi­ tion exists.

Item 12 addresses exterior stairs, decks and simi­ lar appurtenances. Exterior stairs, decks, porches,

balconies, and all similar appurtenances are all por­ tions of a means of egress system and as such repre­ sent a significant safety concern if left in an unsafe condition. Should any of these elements of a means of egress system become structurally unsound, the building or portion thereof may be regarded as unsafe.

Item 13 addresses chimneys, cooling towers and similar appurtenances. As with decorative features and other appurtenances, chimneys, cooling towers, smokestacks or similar large vertical elements that become structurally unsound may be regarded as unsafe.

Exception 1 is to recognize that a qualified entity could substantiate an alternative method or material that meets the purpose and intent of the code. This alternative would need to be approved by the code official. An engineering study that substantiates the structural integrity in a rational analysis may be the basis for accepting a contention that the building is not unsafe.

Exception 2 allows for the option of demolition of an unsafe condition to a building owner subject to the code official's approval. If the building or structure or portion thereof is demolished, and does not exist, the condition is considered to be resolved.

  - Protective treahnent. All exterior surfaces, including but not limited to, doors, door and window frames, cornices, porches, trim, balconies, decks and fences, shall be main­ tained in good condition. Exterior wood surfaces, other than decay-resistant woods, shall be protected from the elements and decay by painting or other protective covering or treat­ ment. Peeling, flaking and chipped paint shall be eliminated and surfaces repainted. All siding and masonry joints, as well as those between the building envelope and the perimeter of windows, doors and skylights, shall be maintained weather resistant and water tight. All metal surfaces subject to rust or corrosion shall be coated to inhibit such rust and corrosion, and all surfaces with rust or corrosion shall be stabilized and coated to inhibit future rust and corrosion. Oxidation stains shall be removed from exterior surfaces. Surfaces designed for stabilization by oxidation are exempt from this require­ ment.

Other sections of the code require items such as walls, doors, windows and architectural trim to be maintained in good repair and condition. This section makes it clear that if paint or other protective covering or treatment is used to provide protection from the elements, it cannot be peeling, flaking or chipped. Additionally, buildings with deteriorated paint or with masonry joints and siding in disrepair or not weather tight will eventually decay and exert a blighting influ­ ence on the community.

[Fl 304.3 Premises identification. Buildings shall have approved address numbers placed in a position to be plainly legible and visible from the street or road fronting the prop­ erty. These numbers shall contrast with their background.

Address numbers shall be Arabic numerals or alphabet let­ ters. Numbers shall be a minimum of 4 inches (102 mm) in height with a minimum stroke width of 0.5 inch (12.7 mm).

Buildings that have been assigned a street number must have the number visibly displayed in Arabic fig­ ures (i.e., 1, 2, 3, etc.) or spelled out in alphabet let­ ters at least 4 inches (102 mm) in height and each stroke must be 1/2-inch wide (12.7 mm) (see Com­

mentary Figure 304.3).

Easily legible numbers are essential for rapid response of emergency personnel.

"

ios1

-----0

½11MIN.

For SI: 1 inch = 25.4 mm.

Figure 304.3 PREMISES IDENTIFICATION

  - Structural members. All structural members shall be maintained free from deterioration, and shall be capable of safely supporting the imposed dead and live loads.

Building components that must support other building components are considered structural. Structural members must be kept sound and capable of sup­ porting all of the dead and live loads imposed upon them. Dead loads are the loads created by the struc­ ture itself. The footing must adequately carry the load of the foundation, beams, joists, walls, roof and other similar members located above it.

Live loads are the weights that are added to the fin­ ished structure. Live loads include furniture, appli­ ances, equipment and other items added to the inside of the building. Snow, rain, ice and wind are environ­ mental conditions that are also considered live loads in the code.

  - Foundation walls. All foundation walls shall be main­ tained plumb and free from open cracks and breaks and shall be kept in such condition so as to prevent the entry of rodents and other pests.

The foundation must safely support the entire struc­ ture. Minor problems left uncorrected can become major. Major foundation problems can result in col­ lapse of the structure.

Minor damage includes hairline cracks, loose and flaking mortar and surface deterioration of cement blocks and poured concrete walls. Major damage includes large horizontal and vertical step cracks, and

large areas of missing foundation material (see Com­ mentary Figure 304.5).

Three of the most frequent causes of foundation failure result from damage caused at the time of con­ struction, soil problems (settling, sliding, heaving and expanding) and the effects of water. Water entering the foundation through cracks, holes or breaks can freeze and expand, causing damage to the founda­ tion.

The code official should order replacement of structural elements when major damage has occurred and should order appropriate maintenance, such as tuckpointing, if the damage is only minor.

All conditions that permit entry of rodents or other pests must also be corrected.

  - Exterior walls, All exterior walls shall be free from holes, breaks, and loose or rotting maierials; and maintained weatherproof and properly surface coated where required to prevent deterioration.

Holes, cracks, decayed wood or any other condition that permits rain or dampness to enter the structure must be repaired. Exterior surface materials must be properly coated to prevent deterioration if they are not naturally decay resistant. Many materials do not require surface coaling, including: certain metals (alu­ minum, copper, etc.); masonry products (bricks, stone, stucco, etc.); naturally, decay-resistant woods

(redwood, cedar, etc.); and woods that have been treated with chemicals to prevent decay.

  - Roofs and drainage. The roof and flashing shall be sound, tight and not have defects that admit rain. Roof drain­ age shall be adequate to prevent dampness or deterioration in the walls or interior portion of the structure. Roof drains, gut­ ters and downspouts shall be maintained in good repair and free from obstructions. Roof water shall not be discharged in a manner that creates a public nuisance.

A secure, nonleaking roof is necessary to keep a building properly maintained. Even small leaks can cause thousands of dollars in damage to insulation, plaster, studs and joists. Roof leaks usually occur along valley areas, around plumbing vents, chim­ neys, dormers and other penetrations through the roof.

Water runoff should be diverted away from the structure to prevent damage to the foundation and other structural elements. Runoff must be diverted away from neighboring properties, public sidewalks, alleys and streets to prevent nuisance problems. Two problems that can result from improper water runoff are flooding of basements and standing water or ice buildup on sidewalks, alleys and streets. Drains, gut­ ters and downspouts must be kept in working order so that water runoff is properly diverted.

Figure 304.5

MAJOR DAMAGE TO A FOUNDATION WALL

This foundation is crumbling. Failure to repair it will eventually lead to its collapse.

  - Decorative features. All cornices, belt courses, cor­ bels, terra cotta trim, wall facings and similar decorative fea­ tures shall be maintained in good repair with proper anchorage and in a safe condition.

Exterior decorative features require regular mainte­ nance to prevent their deterioration and to keep them from falling from the building.

  - Overhang extensions. All overhang extensions includ­ ing, but not limited to canopies, marquees, signs, metal awnings, fire escapes, standpipes and exhaust ducts shall be maintained in good repair and be properly anchored so as to be kept in a sound condition. When required, all exposed sur­ faces of metal or wood shall be protected from the elements and against decay or rust by periodic application of weather­ coating materials, such as paint or similar surface treatment.

Most problems related to overhang extensions, espe­ cially signs, marquees, fire escapes and awnings, are a result of deterioration at the points where they are anchored to the building. Anchorage points should be carefully inspected on a regular basis.

Fire escapes, standpipes and exhaust ducts serve the critical functions of providing proper exiting, fire protection and the removal of exhaust products. Reg­ ular maintenance is important for their continued compliance with the code.

  - Stairways, decks, porches and balconies. Every exterior stairway, deck, porch and balcony, and all appurte­ nances attached thereto, shall be maintained structurally sound, in good repair, with proper anchorage and capable of supporting the imposed loads.

Regular maintenance is required to keep stairs, decks, porches and balconies in good repair so they do not become a hazard to occupants or visitors. Positive anchorage of elevated decks and exterior stairs that may be subject to collapse is especially important.

Although not mandated, the applicable building code could be consulted for the required live loads that these elements are typically required to support.

  - Chimneys and towers. All chimneys, cooling towers, . smoke stacks, and similar appurtenances shall be maintained structurally safe and sound, and in good repair. All exposed surfaces of metal or wood shall be protected from the ele­ ments and against decay or rust by periodic application of weather-coating materials, such as paint or similar surface treatment.

Chimneys, towers of all types and other similar appurtenances are frequently ignored until they become nonfunctional or are in danger of collapse. Because of the corrosiveness of the exhaust gases, chimneys and smokestacks often deteriorate on the inside first. The code official should examine chim­ neys and towers for excessive rust, loose or missing mortar and cracked or disintegrating bricks.

Occasionally, deterioration may become sufficient to prevent the chimney or smokestack from operating properly. Obstructed chimneys have resulted in numerous carbon monoxide deaths. II fuel-burning appliances vent into chimneys or smokestacks, the code official should see that the exhaust gases are being properly conveyed to the chimney, including the connection of the vent to the chimney.

Weather-coating materials may be applied periodi­ cally to reduce the effects of the elements on these items.

  - Handrails and guards. Every handrail and guard shall be firmly fastened and capable of supporting normally imposed loads and shall be maintained in good condition.

This section provides for the safety and maintenance of handrails and guards.

  - Window, skylight and door frames. Every window, skylight, door and frame shall be kept in sound condition, good repair and weather tight.

All windows, skylights and doors must be installed in their frames so that they are weather tight (i.e., able to prevent wind, rain or other elements from entering the structure). A workmanlike installation will provide appropriate protection while maintaining operational capability.

    - Glazing. All glazing materials shall be maintained free from cracks and holes.

All glass is to be maintained without open cracks or holes, which can admit wind and moisture. Defective glass poses hazards to occupants.

    - Openable windows. Every window, other than a fixed window, shall be easily openable and capable of being held in position by window hardware.

Windows that have broken or are missing hold-open hardware create a dual hazard.

First, windows without hardware are frequently propped open with sticks and other objects. These objects can be dislodged and cause the windows to fall, causing bodily injuries.

Second, in the event of a fire, occupants are at an increased risk if windows cannot be readily secured in an open position. People have died because of inoperable windows, even though they could have easily broken the windows and escaped. It is advis­ able for the code official to check windows to make sure they open properly and remain open with their own hardware.

  - Insect screens. During the peliod from [DATE] to [DATE], every door, window and other outside opening required for ventilation of habitable rooms, food preparation areas, food service areas or any areas where products to be included or utilized in food for human consumption are pro­ cessed, manufactured, packaged or stored sball be supplied with approved tightly fitting screens of minimum 16 mesh

per inch (16 mesh per 25 mm), and every screen door used for insect control shall have a self-closing device in good work­ ing condition.

Exception: Screens shall not be required where other approved means, such as air curtains or insect repellent fans, are employed.

Screens reduce insect infestations. Communities are required to establish the number of months screens must be used on windows and doors to accommo­ date the time period that insects are active. Insect populations become dormant or die during the cold season; thus, screens would not be required during cold months.

The requirements for tight-fitting screens (not less than 16 mesh per 25 mm) in any food preparation, storage or service area are extremely important. Improper insect protection in these areas can lead to large-scale contamination of food s pplies.. .

As indicated in the exception, arr curtains, insect repellent fans or similar systems may be accepted. The code official must be sure that such a system Is operational and employed whenever the doors and windows are open. Although permitted for any open­ ing, these systems are useful for openings that '.'re difficult to screen properly, such as out-swinging doors.

  - Doors. All exterior doors, door assemblies, operator systems if provided, and hardware shall be n_iaintained in good condition. Locks at all entrances to dwellmg umts and sleeping units shall tightly secure the door. Locks on means of egress doors shall be in accordance with Section 702.3.

All exterior doors, door assemblies, operator systems and hardware must properly perform their intended functions (i.e., open and close easily and keep out the elements). Locks must be readily released with­ out keys, special knowledge or effort in accordance with Section 702.3. Security locks that comply with this requirement must function to secure the door as well. Malfunctioning or sticking locks that cannot secure the door may also impede egress because of difficulty in operation or release. The phrase "opera­ tor systems if provided" draws attention to automated doors. Maintaining the proper performance of the operator systems, where present, further assures proper egress will be maintained.

  - Basement hatchways. Every basement hatchway shall be maintained to prevent the entrance of rodents, rain and su:tface drainage water.

Basement hatchways must prevent rain, water and rodents from entering the structure. When mainte­ nance is ignored, wood members (including doors) decay, metal doors and latches rust and hinges break.

Drainage must be provided to prevent water from accumulating around hatchways and leaking InsIde the structure.

  - Guards for basement windows. Every basement window that is openable shall be supplied with rodent shields, storm windows or other approved protection against the entry of rodents.

Basement windows are especially susceptible to the entry of the Norway rat, one of several rodents that frequently nest in the ground near structures. Rat­ proof shields, screens, storm windows or other pro­ tective materials must be installed on windows capable of being opened to eliminate their use as an entry point.

  - Building security. Doors, windows or hatchways for dwelling units, room units or housekeeping units shall be pro­ vided with devices designed to provide security for the occu­ pants and property within.

This section establishes criteria for providing security for occupants of dwelling units, rooming units and housekeeping units that are rented, leased or let.

    - Doors. Doors providing access to a dwelling unit, rooming unit or housekeeping unit that is rented, leased or let shall be equipped with a deadbolt lock designed to be readily openable from the side from which egress is to be made with­ out the need for keys, special knowledge or effort and shall have a minimum lock throw of I inch (25 mm). Such dead­ bolt locks shall be installed according to the manufacturer's specifications and maintained in good working order. For the purpose of this section, a sliding bolt shall not be considered an acceptable deadbolt lock.

Everyone has a right to feel safe in their own dwell­ ing; therefore, the installation of locking hardware to secure entry doorways is essential. When installed for security purposes, however, locks and latches can intentionally prohibit the use of an egress door and thus interfere with or prevent the egress of occupants at the time of an emergency, such as a fire. The abil­ ity of occupants to easily egress a building in case of a fire or emergency situation is a primary concern to help prevent the loss of human life. Examples of spe­ cial knowledge would be a combination lock or an unlocking device in an unknown, unexpected or hid­ den location. Special effort would require unusual and unexpected physical ability to unlock or make the door fully available for egress.

    - Windows. Operable windows located in whole or in part within 6 feet (1828 mm) above ground level or a walking surface below that provide access to a dwelling unit, rooming unit or housekeeping unit that is rented, leased or let shall be equipped with a window sash locking device.

In order to coordinate the provisions of the code with the U.S. Housing and Urban Development Depart­ ment (HUD) housing quality standard requirements for rental properties, a height requirement of 6 feet (1827 mm) above the ground was established for windows. This could be considered a security con­ cern, thus dictating the need for window locks.

    - Basement hatchways. Basement hatchways that provide access to a dwelling unit, rooming unit or housekeep­ ing unit that is rented, leased or let shall be equipped with devices that secure the units from unauthorized entry.

Windows to basements are equally problematic from a security point of view and, therefore, need to be equipped with locking devices to provide security for the units.

  - Gates. All exterior gates, gate assemblies, operator systems if provided, and hardware shall be maintained iu good condition. Latches at all entrances shall tightly secure the gates.

Similar to Section 304.15 addressing doors, all gate assemblies, operator systems and hardware must be maintained to perform their intended functions (Le., open and close as intended). Malfunctioning or stick­ ing latches that cannot secure the gate may also impede egress because of difficulty in operation or release. The phrase "operator systems if provided" draws attention to automated doors. Maintaining the proper performance of the operator systems, where present, further assures proper egress will be main­ tained.

SECTION 305 INTERIOR STRUCTURE

  - General. The interior of a structure and equipment therein shall be maintained in good repair, structurally sound and in a sanitary condition. Occupants shall keep that part of the structure which they occupy or control in a clean and san­ itary condition. Every owner of a structure containing a rooming house, housekeeping units, a hotel, a dormitory, two or more dwelling units or two or more nonresidential occu­ pancies, shall maintain, in a clean and sanitary condition, the shared or public areas of the structure and exterior property.

The interior of a structure and its equipment must be maintained so that it does not adversely affect the occupants' health and safety. It must protect occu­ pants from the exterior environment.

    - Unsafe conditions. The following conditions shall be determined as unsafe and shall be repaired or replaced to comply with the International Building Code or the Interna­ tional Existing Building Code as required for existing build­ ings:

l. The nominal strength of any structural member is exceeded by nominal loads, the load effects or the required strength;

- The anchorage of the floor or roof to walls or columns, and of walls and columns to foundations is not capable of resisting all nominal loads or load effects;

- Structures or components thereof that have reached

their limit state;

- Structural members are incapable of supporting nomi­ nal loads and load effects;

- Stairs, landings, balconies and all similar walking sur­ faces, including guards and handrails, are not structur­ ally sound, not properly anchored or are anchored with connections not capable of supporting all nominal loads and resisting all load effects;

- Foundation systems that are not firmly supported by footings are not plumb and free from open cracks and breaks, are not properly anchored or are not capable of supporting all nominal loads and resisting all load effects.

Exceptions:

  - When substantiated otherwise by an approved

method.

2. Demolition of unsafe conditions shall be permit­ ted when approved by the code official.

Section 305.1.1 describes in detail unsafe conditions related to the interior of the structure to provide the code official the ability to require replacement or repair.

Item 1 indicates that if the strength of the structural member is exceeded by either the nominal loads or load effects, the condition is to be regarded as unsafe. Nominal strength and load effects, as defined by the !BC and Items 2-6 of this section, are when a structure or component is regarded as incapable of performing its intended function thus becoming unsafe.

Item 2 deals with required strength of connections between structural members. More specifically each connection must be able to resist nominal loads and load effects; otherwise, the building or affected por­ tion thereof is to be regarded as unsafe. Anchorage of various elements of a structure is essential to its stability. When anchorage is not capable of transfer­ ring the intended loads, the structure or component is said to be unsafe.

Item 3 specifies that any condition beyond which a structure or member becomes unfit for service and is judged to be no longer useful for its intended function is considered to be unsafe. This includes its service­ ability limit and strength limit state. "Limit state" as defined by the IBC is a condition beyond which a structure or member becomes unfit for service and is judged to be no longer useful for its intended function (serviceability limit state) or to be unsafe (strength limit state). Any structure reaching this state is said to be unsafe.

Items 4 through 6: The interior of a building may contain other structural elements as well. These items, which include stairs, walking surfaces, hand­ rails and guards, are specifically denoted as essential structural elements that must be preserved to allow for safe means of egress and protection.

Item 4 addresses structural members that have become unable to support the intended loads.

Item 5 addresses interior stairs, decks, porches, balconies, and all similar elements that are all por­ tions of a means of egress system and as such repre-

sent a significant safety concern if left in an unsafe condition. Should any of these elements of a means of egress system become structurally unsound, the building or portion thereof may be regarded as unsafe.

Item 6 addresses foundation systems. Foundation systems are essential to the structural integrity of any building. If any portion of any foundation system is not supported by adequate soil or is not plumb as intended to distribute the loads or has cracks or breaks or is inadequately anchored, the building may be regarded as unsafe.

Exception 1 is to recognize that a qualified entity could substantiate an alternative method or material that meets the purpose and intent of the code. This alternative would need to be approved by the code official. An engineering study !Hat substantiates the structural integrity in a rational analysis may be the basis for accepting a contention that the building is not unsafe.

Exception 2 allows for the option of demolition of an unsafe condition to a building owner subject to the code official's approval. If the building or structure or portion thereof is demolished, and does not exist, the condition is considered to be resolved.

  - Structural members. All structural members shall be maintained structurally sound, and be capable of supporting the imposed loads.

Improper original construction, unapproved additions and repairs, water damage, deferred maintenance and overloading of structural members will result in structural damage and failure.

Common construction and repair defects include: undersized structural members that, over time, sag, crack and even collapse; inadequately fastened structural members that loosen and separate from each other; poor-quality construction materials; improperly installed or oversized notches and holes in structural members and poorly installed structural members.

Water is one of the most destructive elements to structures. Water damage most frequently occurs from roof leaks, plumbing leaks in bathrooms and kitchens, and water penetration into basements and crawl spaces. Unrepaired leaks can rot and decay structural members. Areas of concern include the bottom of columns, the outside ends of beams and joists, flooring under bathrooms and kitchens and the underside of roofs. Check all of these for evidence of water penetration and damage.

Deferred maintenance is a problem with all build­ ings. A structure begins to deteriorate the moment it is completed. Both outside and inside factors affect structures: water, sun and wind on the outside, as well as furniture, equipment and occupants on the inside. As equipment wears out or malfunctions, it needs to be repaired or replaced.

Structural members must be able to bear the loads imposed upon them. Commercial and industrial build­ ings present special concerns for the code official. To

provide some level of confidence that a structure will safely withstand the anticipated loads, the code offi­ cial may want to require the owner to provide evi­ dence of the load-bearing capacity of the structure, as determined by a registered architect or engineer.

This information may be useful every time a struc­ ture changes occupancy. The code official cannot be sure structural changes have not occurred since the previous calculations were prepared.

  - Interior surfaces. All interior surfaces, including win­ dows and doors, shall be maintained in good, clean and sani­ tary condition. Peeling, chipping, flaking or abraded paint shall be repaired, removed or covered. Cracked or loose plas­ ter, decayed wood and other defective surface conditions shall be corrected.

Interior surface damage is frequently the result of ten­ ant abuse or water damage. Water damage results from leaking roofs, plumbing fixtures and water pipes, and also damaged or open windows and doors that permit rain to enter. Any damaged interior surfaces are required to be repaired and the cause of the dam­ age needs to be corrected.

Interior surfaces that contain lead-based paint may present serious health hazards to occupants, espe­ cially children. Lead is a toxic heavy metal that enters the body by inhalation or ingestion of fine particulate. Lead affects many organs as well as the central ner­ vous system, and is particularly toxic to young chil­ dren because it retards brain and central nervous system development.

HUD estimates that three-quarters of the dwellings built before 1980 contain some lead-based paint. Because the amount of lead in paint was gradually reduced during the 30 years prior to its prohibition in general application in 1978 (lead-based paint is cur­ rently produced for specialized industrial applica­ tions), dwellings built before 1950 are more likely to contain lead-based paint and paint with higher con­ centrations of lead. HUD surveys show that 90 per­ cent of dwellings built before 1940, 80 percent of dwellings built between 1940 and 1959 and 62 per­ cent of dwellings built between 1960 and 1979 con­ tain lead-based paint. Lead-based paint is often found under newer layers of paint that is not lead based.

Intact lead-based paint is not an immediate hazard because the predominant route of lead poisoning is through ingestion or inhalation of fine lead particulate found in contaminated dust. The risk of poisoning becomes significant when lead-based paint contami­ nates dust through peeling, chipping, flaking and abraded conditions identified in the code. Lead con­ tamination may also be caused by lead-based paint that is disturbed during repair and remodeling activi­ ties such as scraping, sanding, drilling and cutting.

Lead hazard control is achieved by removing lead­ contaminated dust and eliminating the source of con­ tamination. The determination of the type of activities (abatement, interim controls or repair) needed to cor­ rect hazardous conditions depends on the ex1ent of

paint deterioration and the occupancy. More protec­ tive measures should be taken if children under six years of age are likely to occupy the building because they are more sensitive to lead contamination. All activities that disturb lead-based paint can generate significant lead hazards. Precautions should be initi­ ated to protect workers, occupants and the environ­ ment. Precautions include selection of procedures that minimize the creation of dust [such as wet sand­ ing, wet scraping, power tools with high-efficiency particulate air (HEPA) filtered vacuum attachments and heat guns less than 1,100°F (593°C)]; contain­ ment of dust and debris; covering and securing hori­ zontal surfaces, occupants' furniture and fixtures (if exterior work, the ground and plants) with polyethyl­ ene to prevent contamination; thorough cleaning with HEPA-filtered vacuum and detergent; and clearance testing to prove lead concentrations are below haz­ ardous levels before occupancy.

Federal regulations recognize two levels of lead­ specific hazard control measures-abatement and interim controls. Abatement is defined as measures designed to last more than 20 years, while less dura­ ble measures are considered interim controls. Envi­ ronmental Protection Agency (EPA) regulations or state regulations approved by EPA require workers and supervisors to be trained and certified to under­ take activities specifically intended to abate or control lead-based paint hazards. The same activities that are undertaken as specific lead abatement or interim controls (demolition, paint removal, door or window replacement, etc.) may be undertaken by noncertified workers and supervisors if they are a part of general repair and remodeling activities.

More detailed information on lead hazard evalua­ tion and control is available from state and local agencies, the National Lead Information Center (800- 424-5323) sponsored by EPA and the HUD Office of Lead Hazard Control. The code official can help pro­ tect public health and safety by coordinating code enforcement with enforcement of lead regulations and providing lead hazard awareness and hazard control information to contractors and property own­ ers.

  - Stairs and walking surfaces. Every stair, ramp, land­ ing, balcony, porch, deck or other walking surface shall be maintained in sound condition and good repair.

Handrails, treads and risers must be structurally sound, firmly attached to the structure and properly maintained to safely perform their intended function. All parts of a stair also should be inspected, including stringers, risers, treads, balusters, guards and hand­ rails and also all walking surfaces such as floors, landings, decks or ramps.

  - Handrails and guards. Every handrail and guard shall be firmly fastened and capable of supporting normally imposed loads and shall be maintained in good condition.

This section provides for the safety and maintenance of handrails and guards. Although not mandated,

loads for handrails and guards in the applicable build­ ing code can be considered the normally imposed loads.

  - Interior doors. Every interior door shall fit reasonably well within its frame and shall be capable of being opened and closed by being properly and securely attached to jambs, headers or tracks as intended by the manufacturer of the attachment hardware.

The ability of a door to function as the manufacturer intended is one of the key elements in being able to properly exit a building. In addition to contributing to building egress, doors are also key elements in pro­ viding for security and privacy; therefore, all interior doors should be kept in a state of repair that will allow them to function effectively.

SECTION 306 COMPONENT SERVICEABILITY

  - General. The components of a structure and equipment therein shall be maintained in good repair, structurally sound and in a sanitary condition.

Section 306.1 contains a general provision for com­ ponents and equipment related to a structure to be maintained in sound and sanitary condition, which is the spirit and intent of this code.

    - Unsafe conditions. Where any of the following con­ ditions cause the component or system to be beyond its limit state, the component or system shall be determined as unsafe and shall be repaired or replaced to comply with the Interna­ tional Building Code as required for existing buildings:

      - Soils that have been subjected to any of the following conditions:

1.l. Collapse of footing or foundation system;

  - Damage to footing, foundation, concrete or other structural element due to soil expansion;

  - Adverse effects to the design strength of footing, foundation, concrete or other structural element due to a chemical reaction from the soil;

  - Inadequate soil as determined by a geotechnical investigation;

  - Where the allowable bearing capacity of the soil is in doubt; or

  - Adverse effects to the footing, foundation, con­ crete or other structural element due to the ground water table.

      - Concrete that has been subjected to any of the follow­ ing conditions:

        - Deterioration;

        - Ultimate deformation;

        - Fractures;

        - Fissures;

        - Spalling;

3-12	2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY

        - Exposed reinforcement; or

        - Detached, dislodged or failing connections.

      - Aluminum that has been subjected to any of the follow­

ing conditions:

        - Deterioration;

        - Corrosion;

        - Elastic deformation;

        - Ultimate deformation;

        - Stress or strain cracks;

        - Joint fatigue; or

        - Detached, dislodged or failing connections.

      - Masonry that has been subjected to any of the follow­ ing conditions:

        - Deterioration;

        - Ultimate deformation;

        - Fractures in masonry or mortar joints;

        - Fissures in masonry or mortar joints;

        - Spalling;

        - Exposed reinforcement; or

        - Detached, dislodged or failing connections.

      - Steel that has been subjected to any of the following conditions:

        - Deterioration;

        - Elastic deformation;

        - Ultimate deformation;

        - Metal fatigue; or

        - Detached, dislodged or failing connections.

      - Wood that has been subjected to any of the following

conditions:

        - Ultimate defonnation;

        - Deterioration;

        - Damage from insects, rodents and other vermin;

        - Fire damage beyond charring;

        - Significant splits and checks;

        - Horizontal shear cracks;

        - Vertical shear cracks;

        - Inadequate support;

        - Detached, dislodged or failing connections; or 6.1O.Excessive cutting and notching.

Exceptions:

- When substantiated  otherwise  by an approved

method.

- Demolition of unsafe conditions shall be permitted when approved by the code official.

In order to analyze all of the elements of a building, this section ensures that each component of a build-

ing must also meet its intended purpose or the build­ ing (or portion thereof) can be regarded as unsafe. This provision specifies that each material (such as soil, concrete, masonry, wood, steel, etc.) that is used to create a building or structure must continue to be viable.

Item 1 delineates some conditions of soil or foun­ dation stability that denote unsafe conditions. Any of these allow the code official to determine that an unsafe condition exists.

Items 2 through 6 delineate some of conditions of typical building materials that if present in structural elements are sufficient to determine that an unsafe condition exists.

SECTION 307 HANDRAILS ANO GUARDRAILS

307.1 General. Every exterior and interior flight of stairs having more than four risers shall have a handrail on one side of the stair and every open portion of a stair, landing, bal­ cony, porch, deck, ramp or other walking surface which is more than 30 inches (762 mm) above the floor or grade below shall have guards. Handrails shall not be less than 30 inches (762 mm) in height or more than 42 inches (!067 mm) in height measured vertically above the nosing of the tread or above the finished floor of the landing or walking surfaces. Guards shall not be less than 30 inches (762 mm) in height above the floor of the landing, balcony, porch, deck, or ramp or other walking surface.

Exception: Guards shall not be required where exempted by the adopted building code.

Note that this section does not discuss maintenance requirements for handrails and guards. It contains requirements for handrail and guard installations for specific locations at all existing buildings. If these locations are present at an existing building, then the minimum handrail and guard requirements are man­ dated. Handrails are required on at least one side of all means of egress stairs more than four risers in height. Handrails can neither be less than 30 inches (762 mm) nor more than 42 inches (1067 mm) above the nosing of the tread (see Commentary Figure 307.1).

Guards are required on the open side of all uneven walking surfaces greater than 30 inches (762 mm) in height that include stairs, landings, balconies, porches, decks or ramps. The guard must be at least 30 inches (762 mm) above the floor in all cases. Guards are to contain intermediate rails, balusters or other construction to reduce the chance of an adult or child from falling through the guard. If the guard is missing some intermediate rails or balustrades, it is recommended that it be repaired to its original condi­ tion if it will provide protection equivalent to that pro­ vided when originally constructed.

The exception is referring to the building code cur­ rently adopted by the jurisdiction. If the current adopted building code would not require a guard for a

2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY	3·13

particular location in a new building, then a guard would not be required in accordance with this excep­ tion.

SECTION 308 RUBBISH AND GARBAGE

  - Accumulation of rubbish or garbage. All exterior property and premises, and the interior of every structure, shall be free from any accumulation of rubbish or garbage.

Insanitary houses are found in almost every commu­ nity. The code official may frequently find conditions where occupants fail to properly store and remove their garbage and refuse. Occasionally, the condi­ tions may be so bad that he or she must condemn the structure as unfit for human occupancy in accordance with Section 108.1.3. Emotional, physical and mental problems may be contributing factors. The code offi­ cial may have to work with health officials, social workers, child protection workers and a host of other social service agencies to obtain a solution to the problem.

Improperly stored garbage and rubbish in public halls and stairways may result in insect and rodent infestations, trip hazards and accidental fires. More importantly, improper storage creates a hazard when the exit must be used in an emergency, such as a fire.

  - Disposal of rubbish. Every occupant of a structure shall dispose of all rubbish in a clean and sanitary manner by placing such rubbish in approved containers.

Rubbish includes all waste materials except garbage. Occupants are responsible for disposing of their own

rubbish in proper containers. Three frequent causes for improper rubbish disposal are:

- The occupants are careless-rubbish is stacked and stored in a haphazard fashion;

- Insufficient containers are provided to handle rubbish; and

- The rubbish is not being picked up frequently enough to eliminate the volume being created.

The code official should work with occupants and owners to determine the cause of the problem and then order the owners or occupants to take the appro­ priate action to resolve it.

    - Rubbish storage facilities. The owner of every occupied premises shall supply approved covered containers for rubbish, and the owner of the premises shall be responsi­ ble for the removal of rubbish.

The owner is responsible for the removal of all rub­ bish. This provision is helpful as an enforcement tool. It eliminates confusion as to whether the tenant, the operator or the owner is responsible.

    - Refrigerators. Refrigerators and similar equipment not in operation shall not be discarded, abandoned or stored on premises without first removing the doors.

Discarded refrigerators pose an attractive nuisance to children. Children often climb into the refrigerator and close the door afterward to create a hiding place. Due to the risk of suffocation from being trapped in the refrigerator, the doors must be removed before it is considered safe to keep it during periods of storage or to properly dispose of the unit.

IF MORE THAN 4 RISERS, HANDRAIL REQUIRED 30" TO 42" ABOVE NOSING OF TREAD ON

AT LEAST ONE SIDE OF STAIR

/

0

;;,;,::,,-,I

GUARD

For Sl: 1 inch = 25.4 mm.

Figure 307.1

HANDRAILS AND GUARDRAILS

  - Disposal of garbage. Every occupant of a structure shall dispose of garbage in a clean and sanitary manner by placing such garbage in an approved garbage disposal facility or approved garbage containers.

Garbage is the animal and vegetable wastes created from the preparation and consumption of food. Occu­ pants are responsible for properly disposing of their garbage wastes by either using a garbage disposal (if available) or by placing the wastes in approved gar­ bage storage containers.

Improper disposal of garbage wastes can attract rodents, insects, animals and vermin, produce nox­ ious odors and create potential health problems. Sim­ ilar to rubbish disposal, garbage disposal problems can be the result of:

- Careless disposal (not properly wrapped or stored) by the occupants;

- Insufficient containers to handle the regular amount of garbage;

- Garbage not being picked up frequently enough; and

- The mechanical garbage disposal not operating.

The health consequences to the occupants and the neighborhood are probably more severe with garbage than rubbish; therefore, the code official must promptly order the correction of this problem and require an ongoing program of garbage disposal.

    - Garbage facilities. The owner of every dwelling shall supply one of the following: an approved mechanical food waste grinder in each dwelling unit; an approved incin­ erator unit in the structure available to the occupants in each dwelling unit; or an approved leakproof, covered, outside garbage container.

The owner of any dwelling must provide a mechanical garbage disposal, an approved incinerator or enough containers to hold all garbage produced.

The storage of garbage in plastic bags is not allowed. Animals, rodents and vermin can easily open such bags and spread the garbage stored in them. Garbage containers are to be placed outside of the dwelling unit and be constructed of material that is resistant to animals and rodents. The garbage con­ tainers are to be covered with lids.

    - Containers. The operator of every establishment producing garbage shall provide, and at all times cause to be utilized, approved leakproof containers provided with close­ fitting covers for the storage of such materials until removed from the premises for disposal.

The operators of restaurants and similar establish­ ments that produce garbage are required to provide sufficient numbers of containers to store the garbage properly until such time that it is removed from the premises.

Improper storage of animal and vegetable wastes produces noxious odors and permits rodents and other vermin access to the garbage. It also creates potential health problems.

SECTION 309 PEST ELIMINATION

  - Infestation. All structures shall be kept free from insect and rodent infestation. All structures in which insects or rodents are found shall be promptly exterminated by approved processes that will not be injurious to human health. After pest elimination, proper precautions shall be taken to prevent reinfestation.

There are two basic types of insect infestations: nui• sance and wood destroying. Nuisance insects include flies, fleas, bees, cockroaches and silverfish. Wood­ destroying insects include termites, powder-post bee­ tles and carpenter ants.

Nuisance insects are usually found near food sources and in damp areas.

Wood-destroying insects are sometimes difficult to find. The code official or a professional exterminator may probe wood members for evidence of infesta­ tion. Concrete in contact with the soil should be visu­ ally checked for evidence of termite tubes leading from the soil to wood members. Wood infested with powder-post beetles frequently has the appearance of having been penetrated by shotgun pellets. A large powder-post beetle infestation leaves many small holes in the wood. Additionally, active beetles leave a fine wood powder called "frass" on the wood.

Eliminating nuisance insects may require treating the building with insect spray on a regular basis. Eliminating wood-destroying insects may require poi­ soning the soil around the building. Severe insect infestations may necessitate replacement of struc­ tural members.

Evidence of a rodent infestation can include drop­ pings, gnaw marks and oily rub stains (imprints left where the rodent's body rubbed against the struc­ ture). Such infestations should be ordered extermi­ nated. Additionally, corrective measures must be taken to reduce the possibility of a reinfestation.

  - Owner. The owner of any structure shall be responsi­ ble for pest elimination within the structure prior to renting or leasing the structure.

The owner must eliminate all rodents and insects before a building or portion of a building can be rented or leased. Although it would appear easy to enforce this provision, the reality is that a new occu­ pant may not notice any insect or rodent problems until after the building has been occupied. It may be difficult and even impossible to determine if an infes­ tation existed before the new occupants moved in. One practical way to resolve this problem is to require the owner to have the building inspected for infesta­ tions before occupancy.

  - Single occupant. The occupant of a one-family dwell­ ing or of a single-tenant nonresidential structure shall be responsible for pest elimination on the premises.

In a single-family dwelling or a single-tenant nonresi­ dential unit, the occupant of the unit-not the owner-is responsible for maintaining the property

free of infestation. Accordingly, the code official should cite the occupant for rodent or insect infesta­ tions.

  - Multiple occupancy. The owner of a structure contain­ ing two or more dwelling units, a multiple occupancy, a rooming house or a nonresidential structure shall be responsi­ ble for pest elimination in tbe public or shared areas of tbe structure and exterior property. If infestation is caused by failure of an occupant to prevent such infestation in the area occupied, the occupant and owner shall be responsible for pest elimination.

The owners of public or shared areas in multiunit res­ idential and nonresidential buildings must eliminate rodents and insects from the public or shared areas of the structure and exterior property. If a single unit in one of these buildings is infested, it is the owner and occupant's responsibility to provide for the exter­ mination.

  - Occupant. The occupant of any structure shall be responsible for tbe continued rodent and pest-free condition of the structure.

Exception: Where the infestations are caused by defects in the structure, the owner shall be responsible for pest elimination.

Occupants must maintain their units in a clean and sanitary manner, free of rodents. If the occupants fail to maintain their unit, then they are responsible for all pest elimination costs.

From a practical point of view, this section is diffi­ cult to enforce. Occupants who are going to be charged pest elimination fees may move out before paying such a fee. Unfortunately, once the unit is vacant the owner becomes responsible for the pest elimination. Because the owner is responsible for correcting any defects in the structure (see Section 301.2), he or she is then responsible for any infesta­ tion caused by these defects.

Bibliography

The following resource materials were used in the prep­ aration of the commentary for this chapter of the code:

IBC-2012, International Building Code. Washington, D.C.: International Code Council, 2011.

IRC-2012, International Residential Code. Washington, D.C.: International Code Council, 2011.

## Chapter 4:

Light, Ventilation and Occupancy Limitations

General Comments

Chapter 4 establishes the minimum criteria for light and ventilation and identifies occupancy limitations.

Section 401 outlines the scope of Chapter 4 (i.e., min­ imum light, ventilation and space requirements). This section also establishes who is responsible for comply­ ing with the provisions of the chapter, permits alterna­ tive arrangements of windows and other devices to comply with the requirements for 'light and ventilation and prohibits certain room arrangements and occu­ pancy uses.

Requirements for light, ventilation and space have not

always been incorporated in construction and occu­ pancy codes. In the United States, one of the first attempts to establish criteria for light and ventilation occurred with the passage of the 1867 Tenement Hous­ ing Act in New York City. A principal feature of the act required sleeping rooms to communicate directly with external air, or to have a ventilating window or transom connected to a neighboring room or hall.

In 1879, New York City passed a second Tenement Housing Act, which expanded the light and ventilation requirements of the 1867 law by mandating that win­ dows have an opening of at least 12 square feet (1.1 m2) in every room. Finally, New York City passed the Tenement Housing Act of 1901, which required owners to provide additional lighting and ventilation to all tene­ ments. Many other provisions also contributed to the health, safety and welfare of the occupants.

Light, ventilation and space requirements relate to basic human needs. In its Basic Principles of Healthful Housing, the Committee on the Hygiene of Housing of the American Public Health Association (APHA) estab­ lished several principles regarding the relationship of housing to health. These basic principles include sev­ eral that relate specifically to the need for adequate light, ventilation and space, including physiological needs, psychological needs and protection against dis­ ease and accidents:

Fundamental physiological needs:

- Provision of an atmosphere of reasonable chemical purity (proper ventilation removes chemicals from the home and work environment);

- Provision of adequate daylight illumination and avoidance of undue daylight glare;

- Provision for admission of direct sunlight (the sun's rays assist in killing germs);

- Provision of adequate artificial illumination and avoidance of glare; and

- Provision of adequate space for exercise and for the play of children.

Fundamental psychological needs:

- Provision of adequate privacy for the individual;

- Provision of facilities that make possible the performance of household tasks without undue physical and mental fatigue (adequate space and sufficient ceiling heights reduce physical and mental fatigue);

- Protection against contagion; and

- Provision of sufficient space in sleeping rooms to minimize the danger of contact infection.

Protection against accidents:

- Provision of adequate facilities for escape in case of fire.

Protection against overcrowding:

- Provision for population controls can maintain neighborhood density, which can avoid overtaxing public facilities such as parks and schools, and avoid accelerated wear of dwellings.

Habitable rooms require adequate light to assist occupants in providing for proper cleanliness and sani­ tation, and to reduce trip hazards. Well-lighted rooms have a positive impact on mental health, while dark, dingy rooms can have the opposite effect.

Ventilation is defined as '1he natural or mechanical process of supplying conditioned or unconditioned air to, or removing such air from, any space." Ventilating air into a space serves three functions:

- Combustion and makeup air for fuel-burning appliances is provided:

- Air being exhausted from the building through mechanical or natural means is replaced; and

- Air movement within the structure is enhanced.

Ventilation air exhausting from a structure also serves three functions:

- Excess moisture is eliminated;

- Unpleasant odors, toxic fumes, dirt, dust and other particulate matter are removed; and

- Air movement within the structure is enhanced.

Oversized or improperly installed mechanical ventila­ tion can cause fuel-burning appliances to backdraft into the structure and may cause toxic materials to be exhausted into inappropriate locations.

Adequate space provides for the physical and mental health of occupants. Crowded conditions have a nega-

tive impact on occupants by preventing easy movement throughout the dwelling. Crowded conditions may also lead to accidents and injuries. Additionally, occupants are subjected to an increase in the spread of disease and germs through sneezing and coughing.

Overcrowding may also have a negative effect on

mental health.

Purpose

Minimum light, ventilation and space requirements are based on the physiological and psychological impact of these factors on building occupants. The purpose of Chapter 4 Is to set forth these requirements in the code and to establish the minimum environment for occupi­ able and habitable buildings.

SECTION 401 GENERAL

  - Scope. The provisions of this chapter shall govern the minimum conditions and standards for light, ventilation and space for occupying a structure.

Buildings must comply with minimum criteria and con­ ditions for light, ventilation and space. Specific requirements are outlined in this chapter.

  - Responsibility. The owner of the structure shall pro­ vide and maintain light, ventilation and space conditions in compliance with these requirements. A person shall not occupy as owner-occupant, or permit another person to occupy, any premises that do not comply with the require­ ments of this chapter.

The owner is responsible for complying with all light, ventilation and space requirements established in this chapter. A noncomplying structure cannot be occu­ pied until it is brought into compliance with the crite­ ria.

  - Alternative devices. In lieu of the means for natural light and ventilation herein prescribed, artificial light or mechanical ventilation complying with the International Building Code shall be permitted.

Light and ventilation by artificial methods are permit­ ted, such as electric lighting instead of natural light and mechanical ventilation instead of natural ventila­ tion. Electric lighting is permitted to replace the natu­ ral light requirements of Section 402. Mechanical ventilation is permitted to replace the natural ventila­ tion requirements of Section 403. Any alternative method approved by the code official must also com­ ply with the installation and performance require­ ments of the building code.

SECTION 402 LIGHT

  - Habitable spaces. Every habitable space shall have at least one window of approved size facing directly to the out­ doors or to a court. The minimum total glazed area for every habitable space shall be 8 percent of the floor area of such room. Wherever walls or other portions of a structure face a window of any room and such obstructions are located less than 3 feet (914 mm) from the window and extend to a level above tbat of the ceiling of the room, such window shall not be deemed to face directly to the outdoors nor to a court and

shall not be included as contributing to the required minimum total window area for the room.

Exception: Where natural light for rooms or spaces with­ out exterior glazing areas is provided through an adjoining room, the unobstructed opening to the adjoining room shall be at least 8 percent of the floor area of the interior room or space, but a minimum of 25 square feet (2.33 m2). The exterior glazing area shall be based on the total floor area being served.

"Habitable space" is defined in Chapter 2. Habitable spaces are those spaces that are normally consid­ ered_ "inhabited" in the course of residential living and provide the four basic characteristics of living, sleep­ ing, eating and cooking. Other spaces, such as halls or utility rooms, are not considered habitable but would in many instances be considered occupiable.

As_ stated in Section 401.3, the natural lighting requirements of this section are not required if artifi­ cial light is provided. Electric lighting is almost always provided. Where electric lighting is provided instead of natural lighting, the code official must rely on a light meter to assess whether the illumination provided meets the criteria in the referenced building code.

All habitable spaces must have at least one or more windows and the total glazed area must equal at least 8 percent of the floor area of the room they serve [see Commentary Figure 402.1(1)].

Windows must face directly to the outdoors or to a court. Any window that laces a wall or other obstruc­ tion that is less than 3 feet (914 mm) from the window and higher than the ceiling of the room cannot be included in calculating the minimum total window area needed for the room it serves [see Commentary Figure 402.1(2)].

The exception addresses a case where a space (or room) has no glazed area open to the required courts or yards but is adjacent to one that does. The internal room may "borrow" natural lighting from the adjacent space ii the opening in the wall between the two spaces is at least 8 percent of the floor area of the interior room but not less than 25 square feet (2.3 m ). The required glazed area facing the required court or yard is to be based on the total floor area of all rooms served [see Commentary Figure 402.1(3)].

In _Commentary Figure 402.1(3), the glazed area opernng onto a court or yard in the space provided with the openings must be greater than 8 percent of the total floor areas served; therefore, in Commentary

re 402.13

)		the	glazed area in Space B is qual to or greater than 0.08 (floor

,red to b	floor area of Space B).

2	1

of Space A.+ to require the opening between the he next step ,s bea minimum of 25 square feet ent spaces! t s than 0.08 multiplied by the floor

m ), but no	e

of Space A.

balls and stairways. Every comm?n hall

, mm?n		.dential occupancies, other than m.one­ r,vaym	res;lins	shall be lighted at all times with at

2

:f_a1111IYdwed ag1·n'candescent light bulb for each 200 O.-watt stan) af r floor area or eqm•vaI ent 1·11urn•mati•on, eet (19m  . o.   between lights shall not be greater

that the spacmg In other than residential occupan­

- th	• ·	f

feet (9144 mm{ cluding exterior means of egress, ns ofeg: e ss, ·n·ated at all times the building space

quate lighting in hallways and stairs is essential for safe exiting in a fire emergency, reduces the chance of injury due to falls during normal use and helps deter crime.

This section contains a prescriptive requirement [60-watt lightbulbs for every 200 square feet (19 m')l for ease of application and enforcement (see Com­ mentary Figure 402.2). It assumes a typical ceiling height of no more than 1O feet (3048 mm). Equivalent illumination by means other than 60-watt incandes­ cent bulbs is explicitly permitted, and the code official would establish equivalency by judgment or by actu­ ally measuring with a light meter. This lighting is required to be provided at all times, since residential buildings are typically occupied at all times.

In all occupancy groups other than residential, a

the means of eg

'sshall be1l 1Uilll ress is occupi.ed

y

dw1	actmm1mum o

lower, minimum level of lighting [1 footcandle (11 lux)]

is required at all times when the building is occupied.

le (11 lux) at floors, landings an  trea s.

tent of this section is to establisha  minimum fr  ht'	•  common halls and stairs of resIden­

,g lnj:I in such as apartment buildings. Ade­

. cupancIes,

The [1 footcandle (11 lux)] threshold is consistent with the International Fire Code® (IFC®) and the Inter­ national Building Code" (IBC®) for acceptable lighting in means of egress components.

I

r		GLAZED AREA 8S0.FT.

GLAZED AREA 8 SQ.FT.

IC

GLAZED AREA _/ 10SQ.FT.

c=:>

r

BATH SOSO.FT.

,r-- GLAZED AREA 8 SQ.FT

...

BEDROOM A	o[

150 SQ.FT.

COMBINED LIVING/	BEDROOMS

DINING ROOM	180 SQ.FT.

358SQ.FT.

KITCHEN 150 SQ.FT.

GLAZED AREA _/ 10SQ.FT.

GLAZEDAREA 12 SQ.FT. EACH

(NOTTO SCALE)

..!,=m-

s SQ.FT.

EACH

IN THE ABOVE EXAMPLE, ALL ROOMS EXCEPT BEDROOM B HAVE SUFFICIENT WINDOW AREA EQUAL TO AT LEAST 8 PERCENT OF THE ROOMS' FLOOR AREA BEDROOM B IS 180 SQ.FT. IN AREA, BUT THE WINDOW IS ONLY 8 SQ.FT. BEDROOM 8 REQUIRES A MINIMUM WINDOW AREA OF 14.4 SQ.FT.; THEREFORE, EITHER ANOTHER WINDOW MUST BE INSTALLED OR THE EXISTING WINDOW

MUST BE REPLACED WITH A LARGER WINDOW.

eloot=0.0929 m2.

Figure 402.1(1)

DETERMINATION OF MINIMUM GLAZED AREA

ACCEPTABLE AS A SOURCE OF NATURAL LIGHT

I	I

NOT ACCEPTABLE FOR NATURAL LIGHT

6J

:<,," >>:

NOT ACCEPTABLE FOR NATURAL LIGHT

IN THE DIAGRAM ABOVE, THE FIRST-FLOOR WINDOWS FACING EACH OTHER ARE NOT ACCEPTABLE FOR PROVIDING NATURAL LIGHT TO THEIR ROOMS. THE WINDOWS MUST FACE AN

OPEN SPACE AT LEAST 3 FEET AWAY FROM THE WINDOW. OTHER METHODS OF ACCOMMODATING NATURAL LIGHT REQUIREMENTS

MUST BE CONSIDERED. PERHAPS AN INTERIOR WALL CAN BE REMOVED TO COMBINE TWO ROOMS OR A WINDOW MAY BE RELOCATED TO ANOTHER LOCATION THAT PROVIDES UNOBSTRUCTED LIGHT.

For SI: 1 foot= 304.8 mm.

Figure 402.1(2) DETERMINATION OF NATURAL LIGHT SOURCES

GLAZED AREAS

OPENING BETWEEN ADJACENT ROOMS

r'h""'<t"'"'?'-'-,

.,. '.

SPACE B ==

FLOOR AREA OF SPACE WITH GLAZED OPENINGS

SPACE A=

FLOOR AREA OF ADJOINING

INTERIOR SPACE

Figure 402.1(3)

NATURAL LIGHT FROM ADJACENT SPACE

402.3 Other spaces. All other spaces shall be provided with natural or artificial light sufficient to permit the maintenance of sanitary conditions, and the safe occupancy of the space and utilization of the appliances, equipment and fixtures.

No specific criteria for minimum light and ventilation are established for other spaces, such as storage and utility rooms, closets and mud rooms. All spaces, however, must have enough light to maintain their cleanliness and to allow for the safe use of appli­ ances, equipment and fixtures located within them.

9' = WIDE COMMON HALLWAY

APT. 1

APT.2

APT 3

APT. 4

APT. 5

0

APT.9

0

APT. 8

0

APT.10

0

APT. 7

APT. 6

125'

Q= LIGHT FIXTURE

THE HALLWAY AND STAIRS ARE 125 FEET LONG AND 9 FEET WIDE. THE AREA COMPRISES 1,125 SQ.FT. THE HALLWAY THEREFORE REQUIRES A MINIMUM OF SIX 60-WATT LIGHTS. NO LIGHT MAY' BE SPACED MORE THAN 30 FEET FROM ANY OTHER LIGHT

For SI: 1 foot= 304.8 mm, 1 square foot= 0.0929 m2.

Figure 402.2 COMMON HALLWAY LIGHTING

SECTION 403 VENTILATION

  - Habitable spaces. Every habitable space shall have at least one openable window. The total openable area of the window in every room shall be equal to at least 45 percent of the minimum glazed area required in Section 402.1.

Exception: Where rooms and spaces without openings to the outdoors are ventilated through an adjoining room, the unobstructed opening to the adjoining room shall be at least 8 percent of the floor area of the interior room or space, but a minimum of 25 square feet (2.33 m2). The ventilation openings to the outdoors shall be based on a total floor area being ventilated.

As stated in Section 401.3, mechanical ventilation is an acceptable alternative to the natural ventilation requirements in this section. Most detached single­ family dwellings utilize natural ventilation. Every hab­ itable room (see the definition of "Habitable space" in Chapter 2) must have one window that can be easily opened to provide natural ventilation. In order to sup­ ply adequate natural ventilation, workable windows must be capable of opening to at least 45 percent of the minimum glazed area required for natural light, as established in Section 403.1 (see the definition of "Openable area" in Chapter 2). The openable area should be measured when the window or door is in its full, open position. When determining openable area, only the space between stops or between stops and

sash is to _be measured. The area of sashes, meeting rails, mullions and muntins is to be deducted (see Commentary Figure 403.1).

The exception allows for rooms to "share" required ventilation openings, as long as there are substantial i terior openings between the rooms. The example given 1n the commentary to Section 402.1 is applica­ ble here.

  - Bathrooms and toilet rooms. Every bathroom and toi­ let room shall comply with the ventilation requirements for h9bitable spaces as required by Section 403.1, except that a wrndow_ shall not be required in such spaces equipped with a mechamcal ventilation system. Air exhausted by a mechani­ cal ventilation system from a bathroom or toilet room shall discharge to the outdoors and shall not be recirculated.

All bathrooms and toilet rooms must have windows that conform to the requirements of Section 402.1 for natural light and Section 403.1 for natural ventilation. If a window is not provided or not large enough to comply with the light and ventilation requirements of these two sections, then an approved mechanical vent may be used.

Mechanical ventilation in dwelling unit bathrooms and toilet rooms is required to exhaust moisture­ laden air to the exterior. The vent must not terminate in any attic or other closed space (see Commentary Figure 403.2), which would allow moisture to con­ dense on the building structure and lead to deteriora­ tion of the structure.

24"

1

ff

/,,_SASH

I	I

/

1of L

s,I

L

l

1

SILL

OPENABLE AREA:

HEIGHT: (48" - 24" - 3") = 21"

WIDTH: [24" - (2 x 5/a")] = 22 ¾"

21" HIGH x 22 ¾"WIDE= 3.3 SQ.FT

For SI: 1 inch ::: 25.4 mm, 1 square foot= 0.0929 m2•

Figure 403.1 DETERMINATION OF OPENABLE AREA

Cooking facilities. Unless approved through the certif­ icate of occupancy, cooking shall not be permitted in any rooming unit or dormitory unit, and a cooking facility or

I ½ I

1/ /

OPENABLE AREA I I ------ '

appliance shall not be permitted to be present in the rooming unit or dormitory unit

Exceptions:

    - Where specifically approved in writing by the code official.

    - Devices such as coffee pots and microwave ovens shall not be considered cooking appliances.

Unless approval has been granted through a certifi­ cate of occupancy, cooking is prohibited in dormitory or rooming units (see the definition of "Rooming unit'' in Chapter 2). Cooking equipment is prohibited in these types of rooms, since cooking in sleeping areas may create fire and health hazards, as well as odor and moisture problems.

Exception 1 provides for the allowance of cooking in a rooming unit or a dormitory unit based on written approval as granted by the code official. Such an allowance should take into consideration the types of food to be cooked and the heat source and conditions under which the cooking will be done. Requiring approval in writing verifies that there will be a trace­ able, verifiable record of the conditions of approval. Such a record is useful in enforcing the conditions of the approval. Exception 2 allows the use of coffee pots and microwave ovens in rooming units and dor­ mitory units. These types of appliances are typically used for short periods of time, and are currently used in hotel and motel units without significant problems.

403.4 Process ventilation. Where injurious, toxic, irritating or noxious fumes, gases, dusts or mists are generated, a local exhaust ventilation system shall be provided to remove the contaminating agent at the source. Air shall be exhausted to the exterior and not be recirculated to any space.

A mechanical vent, hood or cabinet is required when any process creates potentially hazardous fumes,

MECHANICAL EXHAUSTS

,, .

1/,/ij/(//.

MECHANICAL EXAUST FROM BATHROOMS

MUST TERMINATE OUTSIDE. THE VENT SHOULD NEITHER RECIRCULATE AIR NOR TERMINATE IN THE

ATTIC OR OTHER INTERIOR SPACE.

Figure 403.2 BATHROOM EXHAUST

gases or dust. The ventilation has to be located at the source of the contamination and must exhaust directly to the exterior. The criteria for new exhaust systems are found in the International Mechanical Code" (IMC®). If the exhausted air contains dust, dirt, chemicals or other contaminants, the exhaust may require additional treatment to prevent contamination of the exterior air (see Commentary Figure 403.4).

403.5 Clothes dryer exhaust. Clothes dryer exhaust systems shall be independent of all other systems and shall be exhausted outside the structure in accordance with the manu­ facturer's instructions.

Exception: Listed and labeled condensing (ductless) clothes dryers.

Clothes dryers are prohibited from exhausting into other ventilation or exhaust systems. Clothes dryers create large volumes of lint, dust and moisture that will clog or corrode any system not designed for this type of exhaust. Additionally, the exhaust gases are hot and may contain combustion products. Improper or inadequate provisions for exhaust may create a fire and health hazard.

Manufacturers' installation instructions must be fol­ lowed when exhausting clothes dryers. The exception recognizes condensing ductless clothes dryers. Typi­ cally, in a condenser dryer, there are two separate loops. The inside loop of air that is sealed from the outside loop of environment air from within the drum is heated, then blown through the tumbling clothes, then the moisture-laden air is passed through a heat exchanger, where the water recondenses. The same dry air is then reheated, where it is again blown through the drum and clothes, and the cycle begins again.

The outside loop in a condenser dryer consists of either air or water. Some condenser dryer models are air-cooled, and use the ambient room air as a heat sink by blowing it across the outside of the heat exchanger. These dryers will tend to heat the indoor air in one's laundry room significantly. Note, however, that only heat is released, and all moisture is con­ tained within the unit. The condensed water can be either pumped away to a drain line or stored in a con­ tainer within the dryer to be emptied later.

SECTION 404 OCCUPANCY LIMITATIONS

404.l Privacy. Dwelling units, hotel units, housekeeping units, rooming units and dormitory units shall be arranged to provide privacy and be separate from other adjoining spaces.

Privacy is a fundamental psychological need. Every person needs a space to relax, sleep and dress that is separate from public or common rooms. Walls, cor­ ridors and doors should be arranged to offer the occupants their own private space.

404.2 Minimum room widths. A habitable room, other than a kitchen, shall be a minimum of 7 feet (2134 mm) in any plan dimension. Kitchens shall have a minimum clear pas­ sageway of 3 feet (914 mm) between counterfronts and appli­ ances or counterfronts and walls.

To prevent the use of inadequately sized rooms for living space, the code establishes a minimum dimen­ sion of 7 feet (2134 mm) at the narrowest width of all habitable rooms, except kitchens. Narrow rooms do not allow for the installation of furniture without unduly obstructing passageways through the rooms.

,-WELDING

f	BENCH

PAINT BOOTH

PROCESS VENTILATION MUST BE LOCATED IN A POSITION TO PREVENT FUMES FROM PERMEATING

THE GENERAL ATMOSPHERE OF THE INTERIOR SPACES.

Figure 403.4 PROCESS VENTILATION

Kitchens require only 3 feet (914 mm) of clearance between countertops and appliances or countertops and walls. Kitchens are not expected to be occupied for long periods of time, nor is it expected that kitch­ ens will be occupied by a large number of persons at any one time.

404.3 Minimum ceiling heights. Habitable spaces, hall­ ways, corridors, laundry areas, bathrooms, toilet rooms and habitable basement areas shall have a minimum clear ceiling height of7 feet (2134 mm).

Exceptions:

I. In one- and two-family dwellings, beams or girders spaced a minimum of 4 feet (12 I9 mm) on center and projecting a maximum of 6 inches (152 mm) below the required ceiling height.

- Basement rooms in orie- and two-family dwellings occupied exclusively for laundry, study or recreation purposes, having a minimum ceiling height of 6 feet 8 inches (2033 mm) with a minimum clear height of

6 feet 4 inches (1932 mm) under beams, girders, ducts and similar obstructions.

- Rooms occupied exclusively for sleeping, study or similar purposes and having a sloped ceiling over all or part of the room, with a minimum clear ceiling height of 7 feet (2134 mm) over a minimum of one­ third of the required minimum floor area. In calcu­ lating the floor area of such rooms, only those por­ tions of the floor area with a minimum clear ceiling height of 5 feet (1524 mm) shall be included.

Sufficient ceiling heights are necessary to provide an adequate volume of air for occupants in closed spaces and to provide for their psychological well­ being. The height requirements are established by this section.

To accommodate various conditions, the code establishes exceptions that permit a reduction in ceil­ ing height within limited conditions. These exceptions include the following:

Exception 1 makes provisions for beams and gird­ ers to extend into the required minimum height. This is consistent with the IBC and the International Resi­ dential Code" (IRc®) requirements, which allow this type of projection to accommodate structural mem­ bers.

Exception 2 is included to permit the use of existing

basements with low headroom. It is anticipated that these rooms will be used only occasionally and will not adversely affect the occupants' health or safety.

Exception 3 is included to accommodate the many one and one-half story houses that have the sloped attic area finished into bedrooms and similar uses.

Similar to the previous exception, the 7-foot-high (2134 mm) ceiling must extend over one-third of the required area established in Section 404.4.1. Thus, if a room is larger than the minimum required size for its use, the 7-loot-high (2134 mm) portion may be less than one-third of the room's actual floor area.

Example: A bedroom of 175 square feet (16.3 m2) would be required to have a 7-loot-high (2134 mm) ceiling over no less than 23.3 square feet (2.2 m2) ot the room area. The minimum required area of a bed• room is 70 square feet (6.5 m') (see Section 404.4.1);

one-third of the required 70 square feet (6.5 m2) is

23.3 square feet (2.2 m2).

  - Bedroom and living room requirements. Every bed• room and Jiving room shall comply with the requirements ol Sections 404.4.1 through 404.4.5.

The size of bedrooms and living rooms in a dwellin£ unit are a determining factor in the comfort and safety of occupants. As such, the code establishes mini• mum sizes and restricts certain configurations ir regard to bathrooms, means of egress and other hab• itable rooms.

    - Room area. Every living room shall contain at leas! 120 square feet (11.2 m2) and every bedroom shall contain a minimum of 70 square feet (6.5 m2) and every bedroom occu•

pied by more than one person shall contain a minimum of 5(

square feet (4.6 m2) of floor area for each occupant thereof.

The smallest living room allowed is 120 square feel (11.1 m2). Utilizing the minimum room width of 7 feel (2134 mm) would result in a living room size 01 approximately 7 feet by 17 feet (2134 mm by 518, mm). A more functional room size would perhaps be

10 feet by 12 feet (3048 mm by 3658 mm). The small• est bedroom allowed is 70 square feet (6.5 m2). This

is barely enough space for a regular-sized bed anc dresser. II a bedroom is intended to accommodate more than one person, the room must have at leasl 50 square feet (4.6 m') per person. A sleeping roorr

for two people must contain at least 100 square fee• (9.3 m2), for three, 150 square feet (13.9 m2) and sc

on. Inadequate sleeping space may increase the

spread of communicable diseases, reduce privac, and provide insufficient space for clothes, furniture and other personal belongings (see the commenta1y to Section 404.5 for examples of the application o the requirements of this section).

    - Access from bedrooms. Bedrooms shall not consti· tute the only means of access to other bedrooms or habitablt spaces and shall not serve as the only means of egress frorr other habitable spaces.

Exception: Units that contain fewer than two bedrooms.

Every occupant must be provided with privacy in his or her sleeping room. The need for privacy may leac occupants to lock or barricade doors in certain situa· lions; therefore, ii the only access to other habitable spaces or the means of egress is through a bedroom there is a possibility that the only way out of a dwell· ing unit may be blocked in an emergency situation Even without an emergency, occupants may be seri· ously inconvenienced in their movement about the dwelling unit. Bedrooms, therefore, must be arrangec so that other occupants and guests do not have tc pass through one bedroom to get to another bedroorr

or other habitable spaces (see Commentary Figure 404.4.2). Additionally, dwelling units must be config­ ured such that occupants can egress from any habit­ able room in the dwelling unit without passing through a bedroom. The exception would permit a dwelling unit with only one bedroom to have an arrangement where the only access to habitable rooms or the means of egress is through the bedroom. It is assumed in this case that only the occupants of the bedroom will require access to other rooms or the means of egress.

    - Water closet accessibility. Every bedroom shall have access to at least one water closet and one lavatory with­ out passing through another bedroom. Every bedroom in a dwelling unit shall have access to at least one water closet and lavatory located in the same story as the bedroom or an adja- cent story.	•

Every occupant of a bedroom must have access to a water closet without having to pass through another room used as a bedroom. Readily accessible water closets are important for privacy. Occupants should be able to use bathroom facilities without compromis­ ing their modesty or the privacy of the occupants in a bedroom. The requirement that every bedroom be served by a water closet and lavatory on the same floor level or on an adjacent level is considered an

acceptable minimum standard for the convenience of occupants.

    - Prohibited occupancy. Kitchens and nonhabitable spaces shall not be used for sleeping purposes.

The code prohibits kitchens, interior public areas and nonhabitable spaces from being used as bedrooms. These spaces provide neither privacy nor safety. Such rooms may also lack adequate light, ventilation, fire exits and sufficient habitable space.

This section provides the code official with another tool to control overcrowding problems.

    - Other requirements. Bedrooms shall comply with the applicable provisions of this code including, but not lim­ ited to, the light, ventilation, room area, ceiling height and room width requirements of this chapter; the plumbing facili­ ties and water-heating facilities requirements of Chapter 5; the heating facilities and electrical receptacle requirements of Chapter 6; and the smoke detector and emergency escape requirements of Chapter 7.

Sections 404.4.1 through 404.4.5 do not contain all the code requirements that pertain to bedrooms. Bed­ rooms are habitable rooms (see the definition and commentary for "Habitable room" in Chapter 2) and as such are subject to all the code requirements that apply to habitable rooms. The purpose of this section is to alert the code user to requirements for bedrooms

-

UVINGROOM

KITCHEN

BEDROOM A

- BEDROOMB

THIS BEDROOM ARRANGEMENT IS NOT ACCEPTABLE. OCCUPANT MUST PASS THROUGH BEDROOM A TO

REACH BEDROOM B.

-

HALLWAY

BEDROOM A

---

....

BEDROOMB

THIS BEDROOM ARRANGEMENT IS ACCEPTABLE. THE OCCUPANT OF BEDROOM B CAN GAIN ACCESS TO THE BEDROOM WITHOUT

PASSING THROUGH BEDROOM A.

Figure 404.4,2 BEDROOM ACCESS

that are located in other sections and chapters of the code. In particular, see the following sections of the code and the associated commentary:

      - Section 402.1 for minimum light requirements;

      - Section	403.1	for	minimum	ventilation requirements;

      - Section 404.2 for minimum room width;

      - Section 404.3 for minimum ceiling height;

      - Section 503.2, which prohibits a toilet room from being the only passageway to a hall or other space from a bedroom;

      - Section 505.4, which requires a provision for combustion air in bedrooms that contain a fuel­ burning water heater;

      - Sections 602.2 and 602.5• for minimum heat required in a bedroom;

      - Section 605.2, which requires at least two separate and remote receptacle outlets in each bedroom;

      - Section 702.4 for required emergency escape windows and doors in bedrooms; and

      - Section 704 for required smoke detectors in the vicinity of the bedrooms.

  - Overcrowding. Dwelling units shall not be occupied by more occupants than permitted by the minimum area requirements of Table 404.5.

Overcrowding is often a problem in rental properties and in small, single-family dwellings. It can create serious problems; for example, disease spreads more easily, privacy is lost, mental health is affected and buildings are subject to more abuse and wear. Overcrowding can have a destructive effect on a whole neighborhood if it takes place in several houses on the same block or in several units in the same apartment building. Reducing overcrowding will reduce related health and safety hazards.

The code requires all types of dwelling units to com­ ply with the occupancy area requirements. There is no exception for owner-occupied houses; however, over­ crowding of owner-occupied, single-family residences requires the careful thought and judgement of the code official to determine an appropriate course of action.

Proving that a building is overcrowded may be diffi­ cult. Tenants may lie about the number of occupants in their unit to avoid eviction. To determine the num­ ber of occupants, the code official may try to count beds or the names on mailboxes. Neighbors may also provide valuable information about the number of occupants and may be able to tell when the occu­ pants are most likely to be home. It may be neces­ sary to conduct inspections during the evening hours in order to find an adult occupant at home. School enrollment records can also provide information on overcrowding.

Some communities have laws requiring that an

occupancy permit be issued before a dwelling unit can be occupied. This allows the number of occu-

pants shown on the application to be checked against the maximum occupancy of the dwelling unit as determined by an inspection [see Commentary Fig­ ure 404.5(1)].

Some floor plan arrangements would allow the din­ ing and living room areas to be considered as com­ bined dining/living/sleeping rooms. To illustrate the alternative analytical approach for the maximum number of occupants, consider the following example in which two analyses will be made: first, assuming that only the three bedrooms are used for sleeping purposes; and second, assuming that the living/din­ ing area is to be counted as providing sleeping space [see Commentary Figure 404.5(2) for an example of an arrangement where the access to the kitchen is not through the dining/living room]. The requirement of Section 404.4.2, therefore, would be met and the maximum occupant load would be the highest of the following two analyses.

ANALYSIS 1 OCCUPANT LOAD ANALYSIS WITH NO COMBINED SLEEPING ROOM USAGE

- Sleeping space: Section 404.4.1 indicates that 70 square feet (6.5 m2) is required for a room occupied by one person and 50 square feet (4.6 m2) per person is required for a room occu­ pied by more than one person. In this example, we arrive at the following:

| SLEEPING AREAS | ACTUAL AREA (SQUARE FEET) | ALLOWABLE NO. OF OCCUPANTS |
| --- | --- | --- |
| Bedroom 1 | 113 | 2 |
| Bedroom 2 | 127 | 2 |
| Bedroom 3 | 92 | 1 |

For SI: 1 square foot= 0.0929 m2.

At this point the maximum possible occupant load is five. It can be no higher due to lack of additional sleeping space.

- Living, dining and kitchen space: Table 404.5 establishes the minimum required areas that will accommodate various numbers of occu­ pants. By using Table 404.5, the following is derived:

| SPACE | ACTUAL AREA (SQUARE FEET) | ALLOWABLE NO. OF OCCUPANTS |
| --- | --- | --- |
| Living room | 220 | 6 or more |
| Dining room | 100 | 6 or more |

For SI: 1 square foot= 0.0929 m2•

- Maximum allowable number of occupants: The actual living, dining and kitchen areas provide the maximum required space for six or more occupants; therefore, the maximum allowable number of occupants based on this analysis, which is five occupants, is governed by the sleeping space provided.

In this case, the living, dining and kitchen areas provide the minimum required space for

any number of occupants. As such, if Bedroom 3 were 100 square feet (9.3 m2) rather than 90 square feet (8.4 m2), the maximum allowable

occupant load would be six, rather than five,

because Bedroom 3 would provide adequate sleeping space for two occupants.

ANALYSIS 2 OCCUPANT LOAD ANALYSIS WITH COMBINED LIVING/DINING/SLEEPING SPACE

It was previously determined that the bedrooms provide sleeping space for five occupants and the living, dining and kitchen areas are adequate for any number of occupants; however, the code does not prohibit the dual use of a room as living/sleeping or

living/dining/sleeping, as long as the room meets the requirements for each intended use. In this example, the living/dining room could be considered a combined living/dining/sleeping room.

When determining the maximum occupant load for a combined living/sleeping or living/dining/sleeping room, Section 404.5.1 mandates that the minimum areas required by Table 404.5 are not to be included as sleeping areas; therefore, if the combined living/

dining/sleeping room were used by one person for sleeping,  at least  70 square  feet  (6.5 m2) is

necessary (Section 404.4.1), leaving 250 square feet (23.2 m2) available for combined living/dining

24"

BEDROOM

COMBINED LIVING/ DINING ROOM

b

14"

10'

f\

N

N

10'

V

BATHROOM

KITCHEN

"'

f--

6"

... r\

MAXIMUM OCCUPANCY ALLOWED:

- COMBINED LIVING/DINING ROOM= 210 SQ.FT.

THIS SPACE WOULD ACCOMMODATE NO MORE THAN FIVE OCCUPANTS IN ACCORDANCE WITH TABLE 404.5 AND SECTION 404.5.2.

- KITCHEN = 70 SQ.FT.

THIS SPACE WOULD ACCOMMODATE AN UNLIMITED NUMBER OF OCCUPANTS IN ACCORDANCE WITH TABLE 404.5.

- BEDROOM= 100 SQ.FT.

THIS SPACE WOULD ACCOMMODATE ONE OR TWO OCCUPANTS IN ACCORDANCE WITH TABLE 404.5.

BECAUSE THE BEDROOM WILL ONLY PERMIT A MAXIMUM OCCUPANCY OF TWO, THAT IS THE MAXIMUM OCCUPANCY FOR THIS ENTIRE UNIT. THE OCCUPANCY

IS LIMITED TO THE MAXIMUM PERMITTED BY THE LEAST AREA PROVIDED IN ONE OF THE CATEGORIES IN TABLE 404.5.

For SI:  1 foot= 304.8 mm, 1 square foot= 0.0929 m2.

Figure 404.5(1)

MAXIMUM OCUPANCY LOAD IN DWELLINGS

purposes [320 square feet (29.7 m') total minus 70

square feet (6.5 m') equals 250 square feet (23.2 m2)]. Table 404.5 and Section 404.5.2 would allow a combined living/dining room of 250 square feet (23.2

m2) to accommodate any number of occupants (six

or more), which is the same as the first example. The total number of occupants for which a sleeping area is provided is now a maximum of six (the bedrooms accommodate five and the combined living/dining/ sleeping room accommodates one); therefore, the maximum allowable occupant load based on this analysis would be six.

In this example the combined living/dining/sleeping

room would be subject to all requirements for sleeping areas, including emergency escape windows (Section 702.4) and smoke detectors (Section 704).	•

TABLE 404.5

MINIMUM AREA REQUIREMENTS

| SPACE | MINIMUM AREA IN SQUARE FEET |  |  |
| --- | --- | --- | --- |
|  | 1-2 occupants | 3-5 occupants | 6 or more occupants |
| Living room8'h | 120 | 120 | 150 |
| Dining rooma,b | No requirement | 80 | 100 |
| Bedrooms | Shall comply with Section 404.4.1 |  |  |

For SI: 1 squarefoot=0.093 m2•

  - See Section 404.5,2 for combined living room/dining room spaces.

  - See Section 404.5.l for limitations on determining the minimum occupancy area for sleeping purposes.

Table 404.5 establishes the minimum room sizes and the maximum occupant loads for living spaces. The

code official is to use this table to determine if a resi­ dence is overcrowded (see the commentary to Sec­ tion 404.5 for examples of the application of this table).

    - Sleeping area. The minimum occupancy area required by Table 404.5 shall not be included as a sleeping area in determining the minimum occupancy area for sleep­ ing purposes. All sleeping areas shall comply with Section 404.4.

The purpose of this section is to prohibit the dual use of dining rooms and living rooms as sleeping rooms. unless they are of sufficient size to incorporate the minimum required space for sleeping, in addition tc the minimum required space for the dining or livin room areas listed in Table 404.5. For example, if " dwelling is occupied by five people and one person i, using the living room as a sleeping area, the mini­ mum required size of the living room would be 19(

square feet (17.7 m2). This is based on 120 squarE

feet (11.1 m2) for the living room, in accordance witt Table 404.5, and 70 square feet (6.5 m2) for the sin­

gle-occupant sleeping area, in accordance with Sec·

lion 404.4.1.

The code does not prohibit a living or dining roorr from serving a dual purpose as a sleeping area; how ever, the room must be sized to accommodate bolt functions (see the commentary to Section 404.5 fo additional examples of calculating the maximurr allowable occupant load in dwellings where certair rooms are used for dual purposes).

BEDROOM

1

BATH

DINING ROOM

I I I I

: LIVING

I ROOM

I

J

AREA BREAKDOWN

LIVING ROOM = 220 sq.ft. DINING ROOM= 100 sq.ft. KITCHEN	= 90 sq ft. BEDROOM 1	= 113 sq. ft.

BEDROOM 2  = 127 sq.ft.

BEDROOM 3	= 92 sq.ft.

BEDROOM 2

BEDROOM 3

KITCHEN

D

rn

LARGE THREE-BEDROOM APARTMENT NOTTO SCALE

For SI: 1 square foot= 0.0929 m2•

Figure 404.5(2)

COMBINED LIVING/DINING/SLEEPING ROOM EXAMPLE

4-12	2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTAR

    - Combined spaces. Combined living room and dining room spaces shall comply with the requirements of Table

404.5 if the total area is equal to that required for separate rooms and if the space is located so as to function as a combi­ nation living room/dining room.

When a living room and a dining room are combined into one room, the combined areas must equal the sum of the minimum required area of each separate room established by Table 404.5. (see Analysis 2 in the commentary to Section 404.5 for further illustra­ tion).

  - Efficiency unit. Nothing in this section shall prohibit an efficiency living unit from meeting the following require­ ments:

- A unit occupied by not more than one occupant shall have a minimum clear floor area of 120 square feet (11.2 m2). A unit occupied by not more than two occu­ pants shall have a minimum clear floor area of 220 square feet (20.4 m2). A unit occupied by three occu­ pants shall have a minimum clear floor area of 320 square feet (29.7 m2). These required areas shall be exclusive of the areas required by Items 2 and 3.

- The unit shall be provided with a kitchen sink, cooking appliance and refrigeration facilities, each having a minimum clear working space of 30 inches (762 mm) in front. Light and ventilation conforming to this code shall be provided.

- The unit shall be provided with a separate bathroom containing a water closet, lavatory and bathtub or shower.

- The maximum number of occupants shall be three.

Efficiency units are typically very small apartments consisting of one or two rooms and a bathroom. Effi­ ciency units that comply with this section are not required to comply with the minimum area require­ ments for bedrooms in Section 404.4. The total allow­ able number of occupants in the dwelling, however, is limited to two or three, depending on the area of the unit. The purpose of efficiency units and this section is to provide for combined use of spaces in an eco­ nomical or "efficient" manner without jeopardizing health or comfort. This is possible because of the limit of total occupants to two or three persons.

Item 1 establishes the minimum required area based on the number of occupants. The item states that these areas are exclusive of the areas required by Items 2 and 3. For example, Item 2 requires that the kitchen be provided with (as a minimum) a sink, cooking appliance and a refrigerator. It further requires that each of these have a 30-inch (762 mm) clear working space in front of the fixture or appli­ ance. The space taken up by the appliance and the required clear working space of 30 inches (762 mm) in front of each appliance cannot be included in the minimum required floor space in Item 1 (see the last sentence of Item 1). Similarly, the floor area of the bathroom required in Item 3 is not included in the minimum required floor space in Item 1. Lastly, Item 4

establishes the maximum occupant load as three.

There are no minimum floor areas required in the kitchen or bathroom-there is enough space for the installation of the required fixtures or appliances in each room, and the specified working spaces for the kitchen.

  - ·FoO<I preparation. All spaces to be occupied for food preparation purposes shall contain suitable space and equip­ ment to store, prepare and serve foods in a sanitary manner. There shall be adequate facilities and services for the sanitary disposal of food wastes and refuse, including facilities for temporary storage.

Kitchens must be provided with stoves, ovens, refrig­ erators, freezers, cabinets, countertops and drawers in sufficient quantity and in a condition that the occu­ pants can store their food safely and at appropriate temperatures to protect the food. All equipment must be constructed and maintained so that it can be cleaned.

Food preparation areas must also be provided with garbage disposals or containers that permit the safe temporary storage of garbage and refuse. Containers should be constructed and maintained to prevent insect and rat infestations.

Bibliography

The following resource materials were used in the prep­ aration of the commentary for this chapter of the code:

Basic Principles of Healthful Housing. New York: Amer­ ican Public Health Association, Committee on the Hygiene of Housing, 1939.

IBC-2012, International Building Code. Washington, D.C.: International Code Council, 2011.

IFC-2012, International Fire Code. Washington, D.C.: International Code Council, 2011.

IMC-2012, International Mechanical Code. Washington, D.C.: International Code Council, 2011.

IRC-2012, International Residential Code. Washington,

. D.C.: International Code Council, 2011.

## Chapter 5:

Plumbing Facilities and Fixture Requirements

General Comments

Chapter 5 establishes the minimum criteria for the installation, maintenance and location of plumbing sys­ tems and facilities, including the water supply system, water-heating appliances, sewage disposal system and related plumbing fixtures. Existing plumbing installations may present unique inspection problems for the code official. Almost all installations are concealed by finished walls, ceilings and floors. The code official must inspect the visible portions of the system and assess the acceptability of the whole installation. To help the code official make suitable judgments, a foundation of basic principles may aid in the enforcement process. The fol­ lowing is a listing of 23 basic principles of environmental sanitation and safety for the design, installation and maintenance of plumbing systems, which establish the fundamental concepts behind health and safety regula­ tions for plumbing systems. Knowing these principles aids in understanding the code requirements, which leads to more effective code enforcement.

Principle No. 1 All Occupied Premises Shall Have Potable Water

All buildings, structures and premises intended for human habitation, occupancy, use or employment, or the preparation or processing of food, drinks or other materials for human consumption shall be provided with an adequate, safe and potable water supply through a safe system of piping to all fixtures, appliances and appurtenances. Such a water supply must not be connected to an unsafe water source, nor shall it be subjected to the hazards of backflow.

Principle No. 2 Adequate Water Required

Plumbing fixtures, devices and appurtenances shall be supplied with water in sufficient volume and at pressures adequate to enable them to function properly and without undue noise under normal conditions of use.

Principle No. 3 Hot Water Required

Hot water shall be supplied to all plumbing fixtures that normally need or require hot water for their proper use and function.

Principle No. 4 Water Conservation

Plumbing shall be designed and adjusted to use the minimum quantity of water consistent with proper performance and cleaning.

Principle No.5 Dangers of Explosion or Overheating

Devices for heating and storing water shall be designed and installed so as to guard against dangers from explosion or overheating.

Principle No. 6 Use Public Water and Sewers Where Available

Every building with installed plumbing fixtures intended for human habitation, occupancy or use and located where there is a public water supply and sewer service shall have a connection with the water supply and sewer.

Principle No. 7 Required Plumbing Fixtures

Each family dwelling unit shall have at least one water closet, one lavatory, one kitchen-type sink and one bathtub or shower to meet the basic requirements of sanitation and personal hygiene. All other structures for human occupancy or use shall be equipped with sufficient sanitary facilities as prescribed in the code, but with no less than one water closet and lavatory.

Principle No. 8 Smooth Surfaces Required

Plumbing fixtures shall be made of durable, smooth, nonabsorbent and corrosion-resistant material and shall be free from concealed fouling surfaces.

Principle No. 9 Drainage System of Adequate Size

The drainage system shall be designed, constructed and maintained to guard against fouling, deposit of solids and clogging, and with adequate cleanouts arranged so that the pipes may be readily cleaned.

Principle No. 10 Durable Materials and Good Work­ manship

The piping of the plumbing system shall be of durable material, free from defective workmanship and designed a.nd constructed so as to give satisfactory service for ,ts reasonably expected life.

Principle No. 11 Liquid Seal Traps Required

Each fixture directly connected to the drainage system shall be equipped with a liquid seal trap.

Principle No. 12 Trap Seals Must Be Protected

The drainage system shall be designed to provide ade_quate circulation of air in all pipes without danger of s1phonage, aspiration or forcing of trap seals under conditions of ordinary use.

Principle No. 13 Exhaust Foul Air to Outside

Each vent terminal shall be extended to the outdoors, and be installed so as to minimize the possibilities of clogging and the return of foul air to the building.

Principle No. 14 Test the Plumbing System

The plumbing system shall be subjected to tests that will effectively disclose all leaks and defects in the work or material.

Principle No. 15 Exclude Certain Substances from the Plumbing System

Storm, surface or ground water or any substance that will clog or accentuate clogging of pipes, produce explosive mixtures, destroy the pipes or their joints or interfere unduly with the sewage disposal process shall not be allowed to enter the building drainage system.

Principle No. 16 Prevent Contamination

Proper protection shall be provided to prevent contamination of food, water, sterile goods and similar materials from backflow of sewage. When necessary, the fixture, device or appliance shall be connected indirectly with the building drainage system.

Principle No. 17 Light, Heat and Ventilation

A water closet, urinal, lavatory, bathtub or shower shall not be located in a room or compartment that is not properly lighted, heated and ventilated in accordance with accepted practice.

Principle No. 18 Individual Sewage Disposal Systems

If water closets or other plumbing fixtures are installed in buildings where there is not a public sewer, provisions shall be made for disposing of the

building sewage by an approved method of treatmer and disposal.

Principle No. 19 Prevent Sewer Flooding

Where a plumbing drainage system is subject t backflow of sewage from the public sewer, provision shall be made to prevent its overflow into th building.

Principle No. 20 Proper Maintenance

Plumbing systems shall be maintained in a safe an serviceable condition from the standpoints of bot mechanics and health.

Principle No. 21 Fixtures Shall Be Accessible

All plumbing fixtures shall be installed with regard t spacing so as to be accessible for their intended us and for cleansing.

Principle No. 22 Structural Safety

Plumbing shall be installed with due regard t preservation of the strength of structural member and prevention of damage to walls and othE surfaces through fixture usage.

Principle No. 23 Protect Ground and Surface Water

Sewage or other waste shall not be discharged int surface or subsurface water unless it has first bee subjected to an approved form of treatment.

Purpose

Sanitary and clean conditions in occupied buildings ar dependent upon certain basic plumbing principle, including providing potable water to a building, providin fixtures to utilize that water and removing waste fror the building. Chapter 5 establishes the minimum criter to verify that these principles are maintained throughor the life of a building.

SECTION 501 GENERAL

  - Scope. The provisions of this chapter shall govern the minimum plumbing systems, facilities and plumbing fixtures to be provided.

Buildings must comply with the minimum criteria for the provisions of plumbing systems, facilities and fix­ tures established by this chapter. Any structure that does not conform to these criteria is in violation of the code and is subject to all penalties established by the jurisdiction as indicated in Section 106.

  - Responsibility, The owner of the structure shall pro­ vide and maintain such plumbing facilities and plumbing fix­ tures in compliance with these requirements. A person shall not occupy as owner-occupant or permit another person to

occupy any structure or premises which does not comply wi1

the requirements of this chapter.

The owner is responsible for complying with tr requirements of this chapter. A structure must not t occupied if the plumbing systems or facilities do n, conform to the minimum code requirements.

SECTION 502 REQUIRED FACILITIES

[Pl 502,1 Dwelling units. Every dwelling unit shall conta its own bathtub or shower, lavatory, water closet and kitch, sink which shall be maintained in a sanitary, safe workir condition. The lavatory shall be placed in the same room ; the water closet or located in close proximity to the door lea, ing directly into the room in which such water closet

located. A kitchen sink shall not be used as a substitute for the required lavatory.

Every dwelling unit is to have at least one water closet, one lavatory, one kitchen-type sink and one bathtub or shower to meet the basic requirements for sanitation and personal hygiene.

The lavatory must be located in the same room as or near the door that leads to the water closet. This requirement makes it convenient for occupants to wash their hands after using the water closet, which is good practice for personal hygiene and greatly reduces the spread of germs and bacteria.

The required kitchen sink is intended to provide separate facilities for food preparation and dishwash­ ing and is not intended for hand cleansing after using the toilet facilities, thus reducing the likelihood of con­ tamination of surfaces that are subject to contact with food.

[Pl 502.2 Rooming houses. At least one water closet, lava­ tory and bathtub or shower shall be supplied for each four rooming units.

Rooming houses with shared bathroom and toilet facilities must conform to the following minimum num­ ber of fixtures: one water closet, one lavatory and one bathtub or shower (i.e., one bathroom group) for each four rooming units, or portion thereof.

For example, a house with 22 rooming units

requires at least six bathroom groups of plumbing fix­ tures (22 + 4 = 5.5; rounded up to 6).

[Pl 502.3 Hotels. Where private water closets, lavatories and baths are not provided, one water closet, one lavatory and one bathtub or shower having access from a public hallway shall be provided for each ten occupants.

Hotels with guestrooms that share bathroom and toi­ let facilities must conform to the following minimum number of fixtures: one water closet, one lavatory and one bathtub or shower for each 10 occupants, or por­ tion thereof.

For example, a hotel with 22 occupants requires a minimum of three water closets, three lavatories and three bathtubs or showers, or a combination of three

bathtubs and showers (22 + 10 = 2.2; rounded up to

3).

[Pl 502.4 Employees' facilities. A minimum of one water closet, one lavatory and one drinking facility shall be avail­ able to employees.

To provide employees with sufficient sanitary facili­ ties, every place of employment is to have at least one water closet, one lavatory and one drinking facil­ ity.

This is a minimum requirement that provides the employees with at least one toilet room for their use. Obviously, the number of employees working for a company will affect the adequacy of providing only one water closet and one hand sink. When economi­ cally and physically practical, the code official should encourage a place of employment to install the mini-

mum number of plumbing facilities established in the

International Plumbing Code® (IPC®).

[Pl 502.4.1 Drinking facilities. Drinking facilities shall be a drinking fountain, water cooler, bottled water cooler or dis­ posable cups next to a sink or water dispenser. Drinking facil­ ities shall not be located in toilet rooms or bathrooms.

To reduce the potential of contaminating the water, drinking facilities must be separate from toilet rooms or bathrooms. Water shall be provided by a drinking fountain, water cooler, bottled water cooler or dispos­ able cups located next to a sink or water dispenser.

The requirement for disposable cups should be monitored, as many diseases are transmitted through shared, unwashed or unsanitized eating and drinking utensils.

[Pl 502.5 Public toilet facilities. Public toilet facilities shall be maintained in a safe sanitary and working condition in accordance with the International Plumbing Code. Except for periodic maintenance or cleaning, public access and use shall be provided to the toilet facilities at all times during occu­ pancy of the premises.

The purpose of this section is to establish minimum maintenance provisions for public toilet facilities and to ensure the availability of these facilities to the pub­ lic at all times the building is occupied.

SECTION 503 TOILET ROOMS

[Pl 503.1 Privacy. Toilet rooms and bathrooms shall provide privacy and shall not constitute the only passageway to a hall or other space, or to the exterior. A door and interior locking device shall be provided for all conunon or shared bathrooms and toilet rooms in a multiple dwelling.

To protect human dignity and modesty, all toilet rooms and bathrooms must afford privacy. Where toi­ let rooms or bathrooms are shared by building occu­ pants in dormitories or boarding houses, there is to be a door with a locking device either for each water

. closet compartment in a toilet room/bathroom or that controls access to the toilet room/bathroom.

Passage through bathrooms and toilet rooms to get to other rooms, spaces, corridors or the exterior is inconvenient and could also jeopardize the means of egress because of locked doors, wet floors and obstructions.

[Pl 503.2 Location. Toilet rooms and bathrooms serving hotel units, rooming units or dormitory units or housekeeping units, shall have access by traversing a maximum of one flight of stairs and shall have access from a conunon hall or passageway.

Occupants of hotel units, rooming units, dormitory units or housekeeping units should not have to travel beyond the next adjacent story or pass through another occupant's unit to gain access to a bathroom or toilet facility. Convenient access to facilities is a basic necessity for their use and maintenance.

[Pl 503.3 Location of employee toilet facilities. Toilet facil­ ities shall have access from within the employees' working area. The required toilet facilities shall be located a maximum of one story above or below the employees' working area and the path of travel to such facilities shall not exceed a distance of 500 feet (152 m). Employee facilities shall either be sepa­ rate facilities or combined employee and public facilities.

Exception: Facilities that are required for employees in storage structures or kiosks, which are located in adjacent structures under the same ownership, lease or control, shall not exceed a travel distance of 500 feet (152 m) from the employees' regular working area to the facilities.

Employers are required to provide toilet facilities for employees within the employees' regular work areas. Employees should not have to travel more than 500 feet (152 m) or beyond. the next adjacent story to reach the toilet room.

Employee toilet facilities can be for employees' use only or they can share customer facilities.

If toilet rooms are inconvenient or located too far from the work area, they create a physical hardship for employees.

This section does not require storage buildings and kiosks to contain toilet facilities, as long as there are toilet facilities in an adjacent building such that the distance from the work area to the toilet facilities does not exceed 500 feet (152 m). The building with the toilet facilities must be under the same ownership, lease or control as the storage area. Employers can­ not expect their employees to depend upon neighbor­ hood gas stations, stores or other businesses to provide access to toilet facilities.

[PJ 503.4 Floor surface. In other than dwelling units, every toilet room floor shall be maintained to be a smooth, hard, nonabsorbent surface to permit such floor to be easily kept in a clean and sanitary condition.

A toilet room floor is much easier to maintain if the surface is smooth, hard and nonabsorbent. In areas such as toilet rooms where the public is likely to enter a facility, the primary concern remains keeping the floor area as clean as possible to safeguard against the spread of disease.

SECTION 504

PLUMBING SYSTEMS AND FIXTURES

[Pl 504.1 General. All plumbing fixtures shall be properly installed and maintained in working order. and shall be kept free from obstructions, leaks and defects and be capable of performing the function for which such plumbing fixtures are designed. All plumbing fixtures shall be maintained in a safe, sanitary and functional condition.

All plumbing fixtures must operate adequately and perform their intended function. Fixtures must drain quickly without permitting sewer gases to enter the structure. Fixtures are not to leak from either the water supply piping or the waste discharge piping.

Fixtures must not be worn or deteriorated so that

they cannot be adequately cleaned. Kitchen sin! and lavatories that have defects that prevent the1 from being kept clean increase the likelihood that di, ease-causing organisms can be spread to foe sources or from person to person. Fixtures with strw tural cracks can fail suddenly, possibly causing pe sonal injury and further property damage.

[Pl 504.2 Fixture clearances. Plumbing fixtures shall ha, adequate clearances for usage and cleaning.

Inadequate clearance between fixtures and adjacer surfaces can create confined spaces that allow dii ease and odor-causing bacteria to multiply. Fe proper sanitation, the fixture must have sufficier clearances for proper use and cleaning.

Although the code does not specify exact clea, ances between fixtures and adjacent surfaces, th code official must use good judgment and mw

review the required clearances for compliance wit the IPC.

[Pl 504.3 Plumbing system hazards. Where it is found th, a plumbing system in a structure constitutes a hazard to th occupants or the structure by reason of inadequate servict inadequate	venting,	cross	connection,	backsiphonagf improper installation, deterioration or damage or for simifa reasons, the code official shall require the defects to be cm rected to eliminate the hazard.

Any plumbing system having a deficiency or conditio, that is deemed by the code official as hazardous t, the occupants or to the structure must be repaired a altered to eliminate the hazard. Hazards in a plumb ing system include, but are not limited to, the follow ing:

- Undersized piping;

- Inadequate venting;

- Cross connections;

- Lack of backflow prevention means;

- Lack of sufficient fixtures;

- Improperly installed piping, fixtures or fittings;

- Deteriorated,	damaged, worn or otherwisE defective piping, fixtures or fittings;

- Inadequately supported fixtures or piping; and

- Inadequate water pressure or volume.

One of the most commonly encountered hazards ii a submerged outlet in older-style fixtures in wale closets, bathtubs, lavatories, laundry tubs and wale softeners. Cross connections and improperly pro­ tected outlets greatly increase the likelihood that con­ taminated water will be introduced into the potablE water supply.

SECTION 505 WATER SYSTEM

  - General. Every sink, lavatory, bathtub or shower drinking fountain, water closet or other plumbing fixture shal be properly connected to either a public water system or to ar

approved private water system. All kitchen sinks, lavatories, laundry facilities, bathtubs and showers shall be supplied with hot or tempered and cold running water in accordance with the International Plumbing Code.

The water for all plumbing fixtures must be properly connected to either a public or an approved private water system. If there is any question about the qual­ ity of the private water source, the code official should require that the water be tested and approved by either a private testing service or a local health department. A plumbing system cannot be consid­ ered adequate if the water entering the system is contaminated or otherwise unfit for human consump­ tion and use.

The desired qualities for safe water are:

    - Free of pathogenic organisn:is;

    - Free of toxic chemicals;

    - Free of odor, taste, color and turbidity;

    - Free of excessive minerals;

    - Relatively noncorrosive; and

    - Adequate in quantity and pressure.

All sinks, lavatories, bathtubs and showers must be supplied with cold and hot or tempered running water as regulated by the IPC. Heated water is a basic necessity for all cleansing and bathing needs. It should be noted that the IPC only allows tempered water [water that is 85°F (29°C) to 110°F (43°C)] to be used for bathing and washing in nonresidential occupancies. The IPC requires tempered water to be supplied to hand-washing fixtures provided for those having physical disabilities.

[Pl 505.2 Contamination. The water supply shall be main­ tained free from contamination, and all water inlets for plumbing fixtures shall be located above the flood-level rim of the fixture. Shampoo basin faucets, janitor sink faucets and other hose bibs or faucets to which hoses are attached and left in place, shall be protected by an approved atmospheric-type vacuum breaker or an approved permanently attached hose connection vacuum breaker.

Cross connections and unprotected outlets are the most common sources of contamination in potable­ water systems. The !PC defines a cross connection as any physical connection or arrangement between two otherwise separate piping systems, one of which contains potable water and the other water of either unknown or questionable safety or steam, gas or chemical, whereby there exists the possibility for flow from one system to the other, with the direction of flow depending on the pressure differential between the two systems.

The code official might not always be able to dis­ cover all cross connections and unprotected outlets in a building, but should become familiar with the locations where such usually occur. Many older-style plumbing fixtures were designed or installed with built-in submerged water supply outlets. A few of the

more common fixtures and appliances that might have unprotected outlets include: water closets, bath­ tubs, lavatories, laundry tubs and hose bibbs (sill cocks). Water softener drains are often improperly connected to the drainage system, thereby creating cross connections [see Commentary Figure 505.2(1)].

There are two basic methods of preventing con­ tamination of the potable water supply. The first is to provide an air gap between the water outlet and the flood level rim of the fixture. The second is to install backflow prevention devices in the water supply line.

An air gap is the ideal solution because it does not rely on the performance of mechanical devices to prevent backflow into the water supply. Typically, an air gap must be twice the diameter of the supply pipe to the fixture, but never less than 1 inch (25 mm) above the flood level rim. The requirements for air gap protection of fixtures are found in Table 608.15.1 of the !PC.

An example of an unprotected outlet is identified in Commentary Figure 505.2(2) when the following con­ ditions exist:

- The third-floor water closet has the ball cock (fill valve) submerged in the water of the water closet tank.

- The water pressure within the building is low because of corrosion buildup in the water pipes or simultaneous usage of fixtures.

- The third-floor water closet is flushed, thereby opening the ball cock.

- Contaminated water can be drawn from the water closet tank into the supply pipes.

In such circumstances when the sink is filling, the pressure can be reduced to less than atmospheric at the water closet fill valve. This creates a siphon action in the water closet tank. A potentially hazardous event has occurred that could introduce contaminated water into the potable water supply.

The solution to this problem is fairly simple. The water closet fill valve (ball cock) needs to be replaced with an antisiphon fill valve that extends a minimum of 1 inch (25 mm) above the overflow tube in the water closet tank. Additionally, the water pressure through­ out the building should be increased by replacing or upsizing the water supply piping.

Another common backflow hazard can result from hoses being attached to threaded outlets. Backflow can occur when the open end of the hose is sub­ merged in any liquid. For example, the possibility of backflow exists when a homeowner uses a hose to spread chemical fertilizers, herbicides or insecticides. If negative pressure should occur in the water supply piping, the water and chemicals from the hose could be siphoned into the water supply.

The solution to this problem is to install a hose-con­ nection-type vacuum breaker on the water supply outlet fitting. When a negative pressure occurs in the

water supply, the vacuum breaker opens to the atmo­ sphere allowing air to enter the piping system, thus "breaking" the vacuum.

BATHTUB

- AIR GAP LACKING BETWEEN FAUCET AND FLOOD LEVEL RIM

\_	FLOOD LEVEL RIM

FAUCET

BATHTUB	/

WATER SUPPLY

LAVATORY

AIR GAP LACKING BETWEEN FAUCET

AND FLOOD LEVEL RIM

\_ FLOOD LEVEL RIM

WATER CLOSET

* AIR GAP LACKING ABOVE REFILL TUBE

SUBMERGED

BALLCOCK	-

-

-"-"""""

REFILL TUBE

u

(FLUSH BALLAN□HANDLE ASSEMBLY NOT SHOWN)

Figure 505.2(1) COMMON CROSS CONNECTIONS

A type of cross connection occurs when a water supply is connected directly to an appliance or a

piece of equipment. Some examples are water sup­ plies to hot water and steam boilers; lawn irrigation systems; fire suppression systems; carbonated bev­ erage machines and equipment used for various industrial applications, such as manufacturing. These

TOILET HAS A SUBMERGED FILLER

SECOND FL00..!3.......-f	2::=':H/

WH

Figure 505.2(2)

WATER SUPPLY PROTECTION

items are typically not able to function with an air gap between the supply pipe and the appliance or fixture. Consequently, some type of backflow preventer device must be installed in the water supply line to prevent the water flow from reversing direction. Com­ mon types of protection are pressure-type vacuum breakers, barometric loops and reduced pressure principle backflow preventers.

Any time there is not an obvious air gap or visible backflow preventer device in a water supply line, the code official should attempt to determine if a hazard exists.

Cross connections between a private water supply (typically a well system) and a potable public water supply are not permitted under any circumstance. If the ground water becomes contaminated, a cross connection could affect the entire public water supply system.

The code official should work with local plumbing

inspectors or water departments to identify and elimi­ nate all cross connections and unprotected potable water outlets.

505.3 Supply. The water supply system shall be installed and maintained to provide a supply of water to plumbing fixtures, devices and appurtenances in sufficient volume and at pres­ sures adequate to enable the fixtures to function properly, safely, and free from defects and leaks.

Inadequate water pressure or insufficient volume can cause plumbing fixtures, washing machines, dish­ washers and other appliances to operate improperly. Inadequate water pressure can restrict the flow of water into bathtubs, showers and sinks to the point that the fixtures are not usable. The code requires enough pressure and volume so that all fixtures and appliances are functional and free of undue hazards.

There are many causes of inadequate water pres­ sure and lack of sufficient volume. A few of the com­ mon causes include:

- Private wells;

- Inadequate ground-water supply;

- Defective pump or a pump that has lost its prime;

- Storage tank that has lost its air cushion; and

- Sand or silt plugging the well point.

Municipal systems:

- Inadequate pressure in the public water main; and

- Sudden loss of pressure in an area caused by the use of a nearby fire hydrant, a broken main water line, etc.

Quite frequently, an inadequate water supply is the result of problems within a building. A few examples include clogged or corroded pipes, undersized piping, crimped or bent pipes and a system that is inade­ quately designed. A change in occupancy of a build­ ing might create demands that exceed the original water piping capacity.

505.4 Water heating facilities. Water heating facilities shall be properly installed, maintained and capable of providing an adequate amount of water to be drawn at every required sink, lavatory, bathtub, shower and laundry facility at a minimum temperature of 110°F (43°C). A gas-burning water heater shall not be located in any bathroom, toilet room, bedroom or other occupied room normally kept closed, unless adequate combustion air is provided. An approved combination tem­ perature and pressure-relief valve and relief valve discharge pipe shall be properly installed and maintained on water heat­ ers.

A water heater can be dangerous if it is not properly installed and maintained. A water heater is a closed vessel that can be subjected to high temperature and pressure. Under the right conditions, a water heater can explode violently and cause extensive structural damage to buildings and personal injury or death. As such, water heaters should be thoroughly inspected. The following is a guide for the inspection of water heater systems.

- Electric water heaters:

  - Is the electric service for the house adequate to supply the normal demands of the house as well as the increased demands of a water heater?

  - Is the electric wiring for the water heater of adequate size and properly installed in accordance with the electrical code?

  - Are all conductors properly installed and protected against physical damage?

- Fuel-burning water heaters:

  - Which fuel is being used? Commonly used fuels include natural gas, propane gas and fuel oil.

  - Is the fuel piping constructed from approved materials, properly connected and adequately supported?

  - Is there a readily accessible, properly installed shutoff valve to stop the fuel supply?

- Safety controls (electric and fuel-burning):

  - Do the safety controls and devices appear to be in good condition without evidence of tampering or modification?

  - Is the thermostat (temperature control) operational and in good condition?

  - Does the water heater have a temperature and a pressure relief valve or a combination temperature and pressure relief valve? These safety valves are necessary to relieve excessive pressures, thereby preventing an explosion of the water heater. The temperature and pressure relief valves or combination temperature and pressure relief valve must be rated for a pressure not higher

than the working pressure rating of the water heater, and in no case higher than 150 pounds per square inch (psi) (1034 kPa).

    - Is the temperature relief-valve-sensing element located in the top 6 inches (152 mm) of the water heater tank? This is the hottest water in the tank.

    - Is the relief valve in good condition and free of corrosion or leakage?

    - Is the relief valve rating equal to or greater than the British thermal unit per hour (Btu\h) input rating of the water heater? An undersized safety relief valve does not offer adequate protection.

    - Does the relief valve have a discharge pipe to divert heated water toward the floor and to a point where ii will not cause damage to the structure? The discharge pipe must be rigid piping of the same diameter as the relief valve outlet The lower end of the discharge pipe must not be closed or plugged and is not to have a threaded end that would invite closure. The relief valve discharge pipe must not be located where it would be subject to freezing, as this could result in a complete blockage of the pipe.

- Venting:

  - Do all fuel-burning water heaters vent the combustion products to an approved chimney or venting system?

  - Does the vent have adequate clearance from combustible materials (wood, paper, cloth, etc.)?

  - Are the vent or chimney connecton constructed of approved materials? The• should be constructed from corrosion resistant materials such as aluminum galvanized steel and stainless steel. Th, joints should be fastened with sheet mete screws, rivets or other approved means.

  - Does the chimney, vent or connector sho, signs of deterioration, corrosion o condensation?

  - Is the vent/chimney connector proper! supported and connected to the vent c chimney?

If there is a doubt or question about a particula installation (see Commentary Figure 505.4), plumt ing inspectors or water department officials should b consulted.

Fuel-burning water heaters must not be installed i bathrooms, toilet rooms, bedrooms or any othe rooms that are normally kept closed when in usE unless combustion air is brought directly to the appl ance from outside of the room. Adequate combustio air must always be provided regardless of the appl ance location. The International Mechanical Code (IMC®) prohibits the installation of fuel-fired waif heaters in such rooms in all cases, except where th water heater is a direct-vent type or is placed in dedicated enclosure completely isolated from th occupied room. Asphyxiation of the room occupanl could possibly result from inadequate combustion ai venting system failure or appliance malfunction (s€ Section 603.2).

The code official must also be sure that the wal< heater is able to provide water of at least 110' (43°C) to every fixture requiring hot water (see Se, lion 505.1).	•

/

VENT CONNECTOR

HOTWATERSUPPLY \

•---COLD WATER SUPPLY

COMBINATION TEMPERATURE AND PRESSURE RELIEF

VALVE

----SHUTOFF VALVE

.,.._,,		WATER HEATER

DISCHARGE - PIPE

THERMOSTAT

FUEL SUPPLY LINE

- SHUTOFF VALVE

AlRGAP	HH)l:H - SEDIMENT TRAP UNION

Figure 505.4

WATER HEATER INSTALLATION REQUIREMENTS

Temperature and pressure relief valves are abso­ lutely necessary to prevent the possibility of water heater explosion resulting from overheating.

SECTION 506 SANITARY DRAINAGE SYSTEM

[Pl 506.1 General. All plumbing fixtures shall be properly connected to either a public sewer system or to an approved private sewage disposal system.

Plumbing fixtures must be connected to an approved public or private sewer system. Private systems that should not be approved would include pit privies, cesspools or any system that discharges to storm drains, ponds, lakes, streams or rivers.

[Pl 506.2 Maintenance. Every plumbing stack, vent, waste and sewer line shall function properly and be kept free from obstructions, leaks and defects.

All waste, soil, sewer and vent piping must be installed and maintained so as to function properly. Obstructions or defects that present health hazards must be corrected. Leaking pipes or joints must be replaced or repaired. All repairs and new installations must be in accordance with the IPC.

A thorough and accurate inspection of the plumb­ ing system requires knowledge of plumbing systems; however, with training and experience, the code offi­ cial can identify typical problems and improper instal­ lations. In broad terms, he or she should be inspecting the following elements of a plumbing sys­ tem: fixtures; sanitary drainage systems; vents and venting; traps; drainage cleanouts; and hangers and supports.

- Sanitary drainage system: The system must be free of leaks. Leaking drain pipes can cause structural damage and spread illness from the pathogenic organisms in the waste water.

The code official should inspect all visible drainpipes for any improper connections or installations. A few frequently encountered problems include the following:

- Improperly installed materials: Materials not designed or approved for plumbing applications are often used for repairs and modifications in plumbing systems. The improper use of fittings, joining means and connectors is common in existing structures. Drainage piping with no slope or reverse slope can promote blockages.

- Joints and pipes that have been "patched" with tape, putty, caulking or tar thus indicating past or current leakage in the drainage system.

- Unworkmanlike installation: This often indicates that an untrained handyman has made repairs.

The code official should check the entire system for any indications of unvented fixtures, improper materials or other typical violations. Additionally, it should be determined whether permits were obtained to install the work.

- Vents and venting: Plumbing systems are designed with an integral venting system to pre­ vent loss of the water seals in fixture traps. Fix­ ture vents must be provided and maintained where necessary to protect traps from pressure fluctuations and siphon action that cause loss of the water seal.

- Traps: Each plumbing fixture must have a trap at the connection to the sanitary drainage sys­ tem. A trap creates a water seal that prevents sewer gas from entering the structure. Sewer gases can be toxic and carry bacteria-laden aerosols. Some types of sewer gases are even explosive.

- Hangers and supports: Improperly or inade­ quately supported waste and vent piping fre­ quently indicates a nonprofessional installation. All piping is required to be adequately sup­ ported to maintain pitch and alignment and pre­ vent strain on connections and joints.

In general, the code official should inspect the entire visible plumbing system for: leakage; the pres­ ence of fixture, standpipe and floor drain traps; approved materials (with approved connections) and an acceptable venting system.

[Pl 506.3 Grease interceptors. Grease interceptors and anto­ matic grease removal devices shall be maintained in accor­ dance with this code and the manufacturer's installation instructions. Grease interceptors and automatic grease removal devices shall be regularly serviced and cleaned to prevent the discharge of oil, grease, and other substances harmful or hazardous to the building drainage system, the public sewer, the private sewage disposal system or the sew­ age treatment plant or processes. All records of maintenance, cleaning and repairs shall be available for inspection by the code official.

This section clarifies that grease interceptors and automatic grease removal devices require on-going, routine maintenance in order to perform their intended function. Any such maintenance should be in accordance with the manufacturer's maintenance criteria. The proposed language is coordinated with the provisions of Section 1003.1 of the IPC which establishes when these devices are required to be installed. Failure to maintain these devices results in

public health risks via sanitary sewer overflows into buildings, roads and streams and premature deterio­ ration and failure of public and private sewage sys­ tems.

SECTION 507 STORM DRAINAGE

[Pl 507.1 General. Drainage of roofs and paved areas, yards and courts, and other open areas on the premises shall not be discharged in a manner that creates a public nuisance.

Storm water must be discharged so that it does not pond in paved areas, yards, courts or open areas. Standing water can freeze in cold climates, thereby causing a slip hazard. In warm. weather, standing water can create an insect breeding ground.

Roof gutters and downspouts are not required, pro­ vided that storm water is discharged in such a man­ ner that it does not create a public nuisance.

The code official should also check local ordi· nances to determine if run-off storm drainage water and sump pumps can be allowed to enter the sanitary sewer system. Most communities are now requiring all storm drainage water to be separated from the sanitary sewer system. Disconnecting the storm water from the sanitary sewer system can reduce the costs of sewage treatment and eliminate an overload of the treatment facility.

The emphasis in storm drainage is to remove the water quickly without creating hazards to pedestrians or causing damage to any structures on the same or neighboring property.

Bibliography

The following resource materials were used in the prep­ aration of the commentary for this chapter of the code:

IFGC-2012, International Fuel Gas Code. Washington, D.C.: International Code Council, 2011.

IMC-2012, International Mechanical Code. Washington, D.C.: International Code Council, 2011.

IPC-2012, International Plumbing Code. Washington, D.C.: International Code Council, 2011.

## Chapter 6:

Mechanical and Electrical Requirements

General Comments

Chapter 6 establishes minimum criteria for the installa­ tion and maintenance of the following: heating and air­ conditioning equipment, appliances and systems; water-heating equipment, appliances and systems; cooking equipment and appliances; ventilation and exhaust equipment; gas and liquid fuel distribution pip­ ing and components; fireplaces and solid fuel-burning appliances; chimneys and vents;, electrical services; lighting fixtures; electrical receptacle outlets; electrical distribution system equipment, devices and wiring; and elevators, escalators and dumbwaiters.

The primary objectives of mechanical and heating equipment inspections are to detect, identify and abate any condition that is a potential fire or explosion hazard; is a potential cause of asphyxiation or carbon monoxide poisoning; poses the risk of physical injury to an occu­ pant; prevents the equipment from adequately perform­ ing its intended function; or that otherwise endangers the occupants or the structure.

The primary objectives of electrical equipment and system inspections are to detect, identify and abate any condition that is a potential fire hazard or electrical shock hazard. Any condition that inadequately provides for the supply and distribution of electrical power

throughout the structure must also be detected, identi­ fied and abated.

All mechanical and electrical facilities must be capa­ ble of providing the minimum levels of safety, illumina­ tion, comfort, utility and convenience as prescribed in this chapter.

Purpose

All mechanical and electrical equipment, appliances and systems must be properly installed to serve the intended purpose. Proper installation, however, does not in itself guarantee safety or performance. In addition to proper installation, all such equipment, appliances and systems must be maintained, as they are subject to deterioration, wear and aging, and may require clean­

ing, lubrication, adjustment, etc. All materials and com­

ponents used to construct mechanical and electrical systems have a limited life span, and require repair or replacement at various time intervals that are specific to the material or component.

The purpose of Chapter 6 is to establish minimum performance requirements for electrical and mechanical facilities and to establish minimum standards for the safety of such facilities.

SECTION 601 GENERAL

  - Scope. The provisions of this chapter shall govern the minimum mechanical and electrical facilities and equipment to be provided.

Minimum performance guidelines for mechanical and electrical facilities and equipment are established in this chapter. Installations that do not conform to these minimum criteria are unacceptable.

  - Responsibility. The owner of the structure shall pro­ vide and maintain mechanical and electrical facilities and equipment in compliance with these requirements. A person shall not occupy as owner-occupant or permit another person to occupy any premises which does not comply with the requirements of this chapter.

It is the responsibility of the owner of the structure to provide and maintain the required electrical and mechanical facilities. An owner must not occupy or allow any other person to occupy a structure that is not in compliance with this chapter; thus, the require­ ments of this chapter are the minimum necessary to make a structure occupiable.

SECTION 602 HEATING FACILITIES

  - Facilities required. Heating facilities shall be pro­

vided in structures as required by this section.

This section establishes the scope of requirements in Section 602 [see the International Mechanical Code® (IMC®) for space-heating requirements for new struc­ tures].

  - Residential occupancies. Dwellings shall be provided with heating facilities capable of maintaining a room temper­ ature of 68°F (20°C) in all habitable rooms, bathrooms and toilet rooms based on the winter outdoor design temperature for the .locality indicated in Appendix D of the International Plumbing Code. Cooking appliances shall not be used, nor shall portable unvented fuel-burning space heaters be used, as a means to provide required heating.

Exception: In areas where the average monthly tempera­ ture is above 30°F (-1°C), a minimum temperature of 65°F (l 8°C) shall be maintained.

This section establishes the following minimum requirements for space heating in residential struc­ tures.

Adequate heat is required for human health and comfort. The elderly, infirm and very young are most susceptible to illness and death from inadequate space heating.

Heating equipment must be provided and main­ tained by the owner and must be able to heat all habit­ able rooms, bathrooms and toilet rooms to at least 68°F {20°C) based on the outside design temperature established for each locality adopting the code. 68°F (20°C} is believed to be the minimum indoor tempera­ ture at which people can be reasonably comfortable and can maintain healthy living. This is intended as an absolute minimum since most dwelling occupants will seek indoor temperatures 5°F to 10°F (-15°C to -12°C} higher than this.

The outdoor design temperatures are listed in Appendix D of the International Plumbing Code" (IPC®). Outdoor design temperatures provide a base­ line from which heat load calculations are made. Heating system capacity is dependent upon the pre­ dicted outdoor temperatures during the heating sea­ son. As the outdoor temperature falls, the heat input to a building must increase to offset the increasing heat losses through the building envelope. Heating systems are designed to have the capacity to main­ tain the desired indoor temperature when the outdoor temperature is at or above the outdoor design tem­ perature. When the outdoor temperatures are below the outdoor design temperature, the heating system will not be able to maintain a desired indoor tempera­ ture. It would be impractical, for example, to design a heating system based on the assumption that some­ day it might be -20°F (-29°C) outdoors ii the outdoor temperature in that region rarely, ii ever, dropped that low. In such a case, the heating system would be oversized and, thereby, less efficient and economical. The winter outdoor design temperature is defined as follows: For 97.5 percent of the total hours in the northern hemisphere heating season, from Decem­ ber through February, the predicted outdoor tempera­ tures will be at or above the values given in Appendix D of the IPC. It would be unreasonable to expect any heating system to maintain a desired indoor tempera­ ture when the outdoor temperature is below the design temperature. When the 97.5 percent column in Appendix D of the IPC is used, it can be assumed that the actual outdoor temperature will be at or below the design temperature for roughly 54 hours of

the total of 2,160 hours in the months of December through February (2,160 hours x 2.5 percent= 54).

The lack of adequate space-heating systems can result in the misuse of cooking appliances. It is not uncommon for occupants to use fuel-fired ovens and cook-top burners to supply space heating when the minimum required indoor temperature cannot be maintained, and unfortunately, the typical occupant is not aware of the danger in doing so. Fuel-fired cook­ ing appliances in almost all occupancies are unvented and, therefore, discharge all products of

combustion directly to the occupied space. Prolonged use of such appliances can produce dangerously high levels of carbon monoxide and other contami­ nants, especially considering that the occupants will not be opening windows or operating exhaust sys­ tems in an effort to conserve heat.

Also, cooking appliances are not designed for the purpose of space heating, and like all appliances, could be dangerous ii used in any way other than intended by the manufacturer. Cooking appliances are not designed for continuous or unattended use, and open flames, heat radiation and high surface temperatures pose a significant fire hazard when the appliance is misused.

This section also prohibits the use of fuel-burning, unvented space heaters as a means to provide any portion of the heating that is required for residential occupancies. Similar to cooking appliances, luel­ burning, unvented space heaters can be dangerous, especially when used as one of the essential means of providing the required heat.

The exception recognizes that in warmer portions of the country, when the average monthly tempera­ ture meets or exceeds 30°F (1°C), the minimum inside temperature can be 65°F {18°C). As a result of this code requirement, the occupants are ensured of having a comfortable interior environment.

  - Heat supply. Every owner and operator of any build­ ing who rents, leases or lets one or more dwelling units or sleeping units on terms, either expressed or implied, to fur­ nish heat to the occupants thereof shall supply heat during the period from [DAIB] to [DAIB] to maintain a minimum tem­ perature of 68°F (20°C) in all habitable rooms, bathrooms and toilet rooms.

Exceptions:

    - When the outdoor temperature is below the winter outdoor design temperature for the locality, mainte­ nance of the minimum room temperature shall not be required provided that the heating system is oper­ ating at its full design capacity. The winter outdoor design temperature for the locality shall be as indi­ cated in Appendix D of the International Plumbing Code.

    - In areas where the average monthly temperature is above 30°F (-1°C) a minimum temperature of 65°F (18°C) sball be maintained.

The owner or operator of rental residential property who agrees to provide heat by express agreement or implication must provide it to all habitable rooms, bathrooms and toilet rooms. The heat supply must be capable of maintaining a temperature of at least 68°F

{20°C}, 24 hours per day. The occupants could set the temperature in the space under their control at a lower temperature if desired, but 68°F {20'C) must be attainable. Based on local climatic conditions, each community needs to establish the period of the year during which heating equipment must be in operation

in order to maintain the required temperatures. The intent of this section is to protect tenants from being subjected to uncomfortable and unhealthy conditions created by undersized, ma/functioning, defective or otherwise inadequate space-heating systems. Having adequate space heating also helps eliminate the need for auxiliary room/space heaters, as well as the unsafe use of cooking appliances for space heating (see Section 602.2). When tenants are forced to use room/space heaters, the risk of fire and asphyxiation increases because of improper use, contact with or close proximity to combustible materials; overloaded wiring and extension cords; lack of ventilation and the user's typical lack of understanding of the potential hazards.

I

Exception 1 recognizes the limitations of all heating systems that operate when the outdoor temperature is below the design temperature. This exception states that the minimum indoor temperature require­ ment of 68°F (20°C) does not apply when the outdoor temperature is below the design temperature for the heating system. The exception addresses only the circumstance where the heating system cannot keep up because the outdoor conditions exceed that for which it was designed (see Section 602.2). The exception applies only to heating systems that are operating at their full design capacity (heat output). It does not apply to improperly designed systems, undersized systems or any system operating at less than its full output for whatever reason. On those rare days when the outdoor temperature is lower than what the heating system was designed to handle, it is anticipated that the indoor temperature might not be attainable. Heating systems that were sized based on outdoor temperatures above the actual outdoor design temperature for the locality in which they are installed are improperly designed, and as such, do not comply with the intent of the exception (see com­ mentary, Section 602.2).

Exception 2 is the same as the exception to Sec- tion 602.2.

  - Occnpiable work spaces. Indoor occupiable work spaces shall be supplied with heat dming the period from [DATE] to [DATE] to maintain a minimum temperature of 65°F (18°C) during the period the spaces are occupied.

I	Exceptions:

- Processing, storage and operation areas that require

cooling or special temperature conditions.

2. Areas in which persons are primarily engaged in

vigorous physical activities.

Mercantile, business, factory and similar occupancies in which people are employed must be kept at a tem­ perature of at least 65°F (18°C) during the hours that employees are working. People cannot be expected to work productively and remain in good health if their workplace is uncomfortable. The 65°F (18°C) mini­ mum is lower than required for residential occupan-

cies and is intended to apply to the typical workplace having sedentary employee activities.

Exception 1 recognizes that some occupancies have operations and processes that require tempera­ tures lower than 65°F (18°C), including meat-packing plants, canneries and manufacturing facilities.

Exception 2 recognizes that a minimum tempera­ ture of 65°F (18°C) is not necessary where employ­ ees are engaged in physical activities such as construction, fabrication and loading in factories.

The period of the year during which structures must comply with this section is to be established by each locality based on local climatic conditions.

  - Room temperature measurement. The required room temperatures shall be measured 3 feet (914 mm) above the floor near the center of the room and 2 feet (610 mm) inward from the center of each exterior wall.

To determine compliance with Section 602, tempera­ ture measurements are required to be taken at multi­ ple locations. For example, in a room with two exterior walls, a total of three measurements is required. The room temperature requirements of Sec­ tion 602 must be met in all of the measurement loca­ tions. The intent is to make sure that the required temperature will be uniformly reached throughout the occupiable portions of the room or space. The coldest part of a room during the heating season will typically be at the floor level by an outside wall. The measure­ ments are taken at points that are expected to be occupied and that do not reflect the potential temper­ ature extremes in a space (see Commentary Figure 602.5).

Any space that cannot maintain the minimum indoor temperatures as established in Section 602 when the outdoor temperature is at or above the design temperature for the locality should be posted as unfit for human occupancy until enough heat can be supplied.

SECTION603 MECHANICAL EQUIPMENT

  - Mechanical appliances. All mechanical appliances, fireplaces, solid fuel-burning appliances, coolcing appliances and water heating appliances shall be properly installed and maintained in a safe working condition, and shall be capable of perlorming the intended function.

Because appliances, mechanical equipment and fire­ places are subject to aging, wear and deterioration, periodic inspection and servicing is required to main­ tain performance and to verify continued safe opera­ tion. Fireplaces and solid fuel-burning appliances must be properly installed, inspected and maintained. They require frequent inspection and maintenance because of the extreme temperatures and corrosive flue gases to which they are subjected. Routine cleaning is required to remove the highly flammable creosote deposits found in chimneys and connectors.

Inspections should include such related items as chimney flues, chimney caps, dampers, doors, screens, connectors, hearth extensions and clear­ ances to combustibles.

Fireplaces and solid fuel-burning appliances must be installed and maintained in accordance with the IMC.

The appliance manufacturer's installation instruc­ tions and the IMC, International Fuel Gas Code" (IFGc®) and IPC should be consulted in determining if an appliance or mechanical equipment is installed properly.

  - Removal of combustion products. All fuel-burning equipment and appliances shall be connected to an approved chimney or vent.

Exception: Fuel-burning equipment and appliances which are labeled for unvented operation.

All fuel-burning appliances are required to discharge the products of combustion (flue gases) to an approved chimney or vent (see exception). Chimneys and vents must be capable of creating sufficient draft to properly vent the appliances served. Appliances labeled for unvented operation such as domestic cooking appliances and gas-fired refrigerators are exempt from this requirement.

Some components of the combustion products pro­ duced by fuel-burning appliances are toxic to humans and animals and can cause illness and death. The most harmful component of combustion products is carbon monoxide (CO). Typical symptoms of CO poi­ soning are nausea, headache, dizziness, disorienta­ tion, confusion, rapid breathing, fatigue, flu-like symptoms and loss of consciousness. Exposure to CO is detrimental to health in all cases and can be lethal depending upon its concentration, the duration of exposure and the condition of the occupants. Com-

bustion products must not be allowed to enter or leak into any occupiable or habitable space.

Chimneys and vents should be periodically inspected for deterioration or blockage that could impair their operation or allow combustion products to leak into the building. The appliance and equipment connections to a chimney or vent should also be inspected for deterioration, blockage or separation of connections.

Evidence of chimney or vent connector decay or rusting generally indicates improper draft. A venting system that creates insufficient draft or that is subject to backdraft (reverse flow) will experience acceler­ ated deterioration because of the corrosive effect of the combustion products (flue gases). "Draft" is the pressure differential necessary to cause the flow of flue gases from the appliance or equipment to the chimney or vent and up to the atmosphere. Proper draft should be verified by a trained heating techni­ cian and should be checked each time the appliance or equipment is serviced.

The exception recognizes that a chimney or vent is not required for fuel-burning appliances that are listed and labeled for unvented operation. It is imperative that unvented appliances be operated and main­ tained in strict accordance with the manufacturer's instructions (see the IFGC for additional requirements for unvented room heaters).

  - Clearances. All required clearances to combustible materials shall be maintained.

Proper clearances must be maintained between com­ bustible materials and all heat-producing appliances and equipment. Adequate clearances are necessary to prevent the possible ignition of combustibles. The required clearances for the labeled appliances and equipment must be maintained in accordance with

,·-3'ABOVE FLOOR AND 2' IN FROM CENTER OF EXTERIOR WALL

| ROOMTOBE---f- MEASURED FOR TEMPERATURE | .- ..:.1.. |
| --- | --- |
| '-----1 l 3' ABOVE FLOOR AND NEAR CENTER OF ROOM |  |

T

l MIDPOINT

I

i

For SI: 1 foot= 304.8 mm.

Figure 602.5

ROOM TEMPERATURE MEASUREMENTS

the manufacturer's requirements. Clearances for chimneys, vents and their connectors are also speci­ fied in the IMC and IFGC.

Frequently, an inspector will encounter combusti­ ble materials that have been placed too close to heat­ producing appliances and equipment after the initial installation. Combustible storage, furnishings and remodeling are typical examples of such encounters. Most occupants are unaware of the hazard created when they store combustibles near or in contact with heat-producing appliances.

It is imperative that adequate clearances be main- tained to avoid a potential fire hazard.

  - Safety controls. All safety controls for fuel-burning equipment shall be maintained in effective operation.

l

All appliances and heating equipment are equipped with safety controls and devices intended to prevent fire or explosion in the event of equipment malfunc­ tion or abnormal operation. Typical controls and devices are as follows: temperature lirnit switches; pressure limit switches; pressure relief valves; low­ water cutoffs; stack controls; pilot safety controls; draft monitoring controls and flame supervision con­ trols. These controls are designed to prevent such conditions as overheating, excessive pressures, loss of heat transfer medium, loss of ignition source, loss of venting means and loss of main flame, among oth­ ers.

All such safety controls must be periodically tested

and inspected to verify their proper functioning and assess their reliability. Such testing and inspection should be performed by trained technicians when the appliances are serviced and cleaned.

An inoperative or otherwise malfunctioning safety control or device could create an extreme life safety hazard.

  - Combnstion air. A supply of air for complete combus­ tion of the fuel and for ventilation of the space containing the fuel-burning equipment shall be provided for the fuel-burning equipment.

Combustion air includes the air necessary for com­ plete combustion of the fuel, the air required for draft hood dilution and the air necessary for ventilation of the enclosure in which the appliance is located. A lack of combustion air will result in the incomplete combustion of fuel that, in turn, causes soot produc­ tion, increased CO production, serious appliance malfunction and the risk of fire or explosion. The lack of draft hood dilution air will result in improper draft and appliance venting. The incomplete combustion of fuel and improper draft and venting compound each other and greatly increase the risk of CO poisoning. The lack of ventilation air can result in excessive tem­ peratures in the appliance enclosure, thereby intro­ ducing the risk of overheating the appliance and the risk of fire.

In existing structures, adequate combustion air pro­

visions are often lacking or have been blocked, cov­ ered or otherwise defeated.  Looking for proper

combustion air supply is an important part of any inspection.

Fuel-burning equipment must be provided with combustion air in accordance with the IMC and IFGC.

  - Energy conservation devices. Devices intended to reduce fuel consumption by attachment to a fuel-burning appliance, to the fuel supply line thereto, or to the vent outlet or vent piping therefrom, shall not be installed unless labeled for such purpose and the installation is specifically approved.

Energy-saving devices are required to bear the label of an approved testing agency, must be installed in accordance with the manufacturer's installation instructions and must be installed with the specific approval of the code official.

Improperly installed or applied energy-saving devices can adversely affect the operation of an appliance and cause it to become unsafe. A common example would be the improper installation of a flue damper or restrictor device in the chimney or vent connector of a fuel-burning appliance. The resultant installation could cause vent failure and subject the occupants to CO poisoning.

The installation of such devices would require a permit under the IFGC or IMC.

SECTION 604 ELECTRICAL FACILITIES

  - Facilities required, Every occupied building shall be provided with an electrical system in compliance with the requirements of this section and Section 605.

This section prescribes the minimum electrical facili­ ties that must be installed and maintained in all build­ ings used for human occupancy.

  - Service. The size and usage of appliances and equip­ ment shall serve as a basis for determining the need for addi­ tional facilities in accordance with NFPA 70. Dwelling units shall be served by a three-wire, 120/240 volt, single-phase electrical service having a minimum rating of 60 amperes.

This section prescribes the minimum size of the elec­ trical service that must be provided for all structures. The electrical service consists of the service entrance conductors, metering devices, service grounding means, main disconnect, main overcurrent device and typically the distribution panelboard and all over­ current devices. The size of the service is dependent upon the size of the load (demand). The total electri­ cal usage or load must be determined as prescribed in NFPA 70.

If the actual load exceeds the capacity of the ser­ vice, additional capacity must be provided. In no case is the service tor a dwelling unit permitted to be less than 60 amperes. Additionally, all dwelling unit ser­ vices are to be 120/240 volt (three wire). The electri­ cal usage in a typical dwelling unit today requires a service of at least a 60-ampere capacity to meet the occupants' needs. The requirement for a three-wire (120/240 volt) service is intended to allow the use of

240-volt appliances, such as clothes dryers, air con­ ditioners and ranges. Additionally, appliances that operate at 240 volts consume less current, thereby conserving the remaining capacity of the service.

Overloading or constant loading to capacity sub­ jects the service to excessive heating and component stress. Not only does this invite failure, but it also increases the risk of fire and creates the inconve­ niences of a nuisance circuit breaker tripping or fuse blowing. Nuisance fuse blowing, in turn, encourages the dangerous practice of replacing blown fuses with fuses of larger size. Overfusing is one of the largest potential causes of fire in any electrical system.

An inadequately sized service could also restrict the occupants' use of appliances by imposing non­ simultaneous use to avoid overloading the service.

A service determined to be undersized in accor­ dance with this section and the requirements of NFPA 70 or the IRC must be enlarged as necessary.

  - Electrical system hazards. Where it is found that the electrical system in a structure constitutes a hazard to the occupants or the structure by reason of inadequate service, improper fusing, insufficient receptacle and lighting outlets, improper wiring or installation, deterioration or damage, or for similar reasons, the code official shall require the defects to be corrected to eliminate the hazard.

Any electrical system deficiency or condition that is deemed hazardous to the occupants or to the struc­ ture must be abated to eliminate the hazard. Electri­ cal system hazards include, but are not limited to, the following:

    - Inadequate (undersized} service;

    - Improper fusing and overcurrent protection;

    - Insufficient receptacle distribution;

    - Lack of sufficient lighting fixtures;

    - Deteriorated,	damaged,	worn or otherwise defective wiring, equipment and appliances;

    - Improperly	installed	or	protected	wiring methods;

    - Lack of proper service or equipment grounding;·

    - Open splices in wiring;

    - Inadequately	supported devices, wiring or equipment;

    - Any	exposed	conductors	or	components constituting a shock hazard;

    - Missing or damaged device cover plates;

    - Excessive use of extension cords;

    - Overloaded receptacles or circuitry; and

    - Lack of ground fault circuit interrupter (GFCI} protection.

The most commonly encountered hazard is improper overcurrent protection of conductors. Fuses and circuit breakers are devices designed to limit cur­ rent flow to the maximum safe current-carrying capacity (ampacity) of a conductor. With rare excep-

lion, the conductor's current-carrying capacity (ampacity} must be greater than or at least equal to the ampere rating of the overcurrent device that sup­ plies it. If a fuse or circuit breaker has a larger ampere-rating capacity than the conductors it is intended to protect, the device will permit the conduc­ tors to carry currents in excess of the conductors' capacity. The resultant overload will cause conductor heating, insulation deterioration and, possibly, a fire. The typical scenario is the occupant who thinks he or she has "cured" a fuse-blowing problem by substitut­ ing fuses that are larger in size. This appears to alle­ viate the problem for the occupant but, in actuality, an extreme fire hazard has been created by eliminating the circuit conductor overcurrent protection.

    - Abatement of electrical hazards associated with water exposure. The provisions of this section shall govern the repair and replacement of electrical systems and equip­ ment that have been exposed to water.

The purpose of this section is to provide enforceable provisions to the code official that address hazards in electrical equipment that has been exposed to water. These provisions are derived from a publication enti­ tled "Guidelines for Handling Water-damaged Electri­ cal Equipment," published by the National Electrical Manufacturers Association (NEMA}.

Section 604.3.1 defines the scope of the section as pertaining to electrical equipment and systems that have been exposed to water.

      - Electrical equipment. Electrical distribution equipment, motor circuits, power equipment, transformers, wire, cable, flexible cords, wiring devices, ground fault cir­ cuit interrupters, surge protectors, molded case circuit break­ ers, low-voltage fuses, luminaires, ballasts, motors and electronic control, signaling and communication equipment that have been exposed to water shall be replaced in accor­ dance with the provisions of the International Building Code.

Exception: The following equipment shall be allowed to be repaired where an inspection report from the equipment manufacturer or approved manufacturer's representative indicates that the equipment has not sustained damage that requires replacement:

        - Enclosed switches, rated a maximum of 600 volts or less;

        - Busway, rated a maximum of 600 volts;

        - Panelboards, rated a maximum of 600 volts;

        - Switchboards, rated a maximum of 600 volts;

        - Fire pump controllers, rated a maximum of 600 voltss;

        - Manual and magnetic motor controllers;

        - Motor control centers;

        - Alternating current high-voltage circuit breakers;

        - Low-voltage power circuit breakers;

        - Protective relays, meters and current transformers;

        - Low- and medium-voltage switchgear;

        - Liquid-filled transformers;

        - Cast-resin transformers;

        - Wire or cable that is suitable for wet locations and

whose ends have not been exposed to water;

        - Wire or cable, not containing fillers, that is suitable for wet locations and whose ends have not been exposed to water;

        - Luminaires that are listed as submersible;

        - Motors;

        - Electronic control, signaling and communication equipment.

This section lists the types of electrical equipment that must be replaced if they have been exposed to water such as being submerged. Protective compo­ nents, such as circuit breakers, overload relays, low voltage or medium voltage protective devices within a switchgear assembly, and fuses are necessary for the safe operation of the distribution circuits and should be replaced when exposed to water. The abil­ ity of a transformer to operate as intended can be impaired by corrosion to the transformer core, flood debris deposited inside the transformer, or contami­ nation of the transformer fluid. The exception to this section allows for repair of certain components of an electrical distribution system and certain electrical equipment provided that an inspection report from the equipment manufacturer or approved manufacturer's representative is submitted to the code official indi­ cating that the level of damage to the equipment does not warrant replacement.

    - Abatement of electrical hazards associated with fire exposure. The provisions of this section shall govern the repair and replacement of electrical systems and equipment that have been exposed to fire.

This section defines the scope of the section as per­ taining to electrical equipment and systems that have been exposed to fire.

604.3.2,1 Electrical equipment. Electrical switches, recepta­ cles and fixtures, including furnace, water heating, security system and power distribution circuits, that have been exposed to fire, shall be replaced in accordance with the pro­ visions of the International Building Code.

Exception: Electrical switches, receptacles and fixtures that shall be allowed to be repaired where an inspection report from the equipment manufacturer or approved man­ ufacturer's representative indicates that the equipment has not sustained damage that requires replacement.

This section lists the type of electrical components and equipment that must be replaced, where they have been exposed to fire. The ability of electrical switches, receptacles and fixtures, including furnace, water heating, security system and power distribution circuits, to operate as intended can be impaired by exposure to fire. The exception to this section allows for repair of these components provided that an inspection report from the equipment manufacturer or

approved manufacturer's representative is submitted to the code official indicating that the level of damage to the equipment does not warrant replacement.

SECTION 605 ELECTRICAL EQUIPMENT

605.l Installation. All electrical equipment, wmng and appliances shall be properly installed and maintained in a safe and approved manner.

This section provides necessary safety requirements for electrical equipment, wiring and appliances.

All electrical equipment, wiring and appliances must be properly installed and maintained in accor­ dance with this code and NFPA 70 or the Interna­ tional Residential Code® (IRC®). It is the responsibility of the building owner or operator to provide and safely maintain the electrical facilities required herein.

  - Receptacles. Every habitable space in a dwelling shall contain at least two separate and remote receptacle outlets. Every laundry area shall contain at least one grounded-type receptacle or a receptacle with a ground fault circuit inter­

rupter. Every bathroom shall contain at least one receptacle. Any new bathroom receptacle outlet shall have ground fault circuit interrupter protection. All receptacle outlets shall have the appropriate faceplate cover for the location.

Every room or space in a dwelling unit that is used for living, sleeping, eating or cooking must be provided with at least two separate receptacle outlets. Such outlets must be as remote from each other as practi­ cable. The quantity of receptacles required by this section is less than that required by NFPA 70 for new construction, but is considered a reasonable compro­ mise for existing structures.

This provision is intended to minimize or eliminate the use of extension cords. The amount of electrical current that any extension cord can safely conduct is limited by the size of its conductors. This principle is not understood by much of the general population. As a result, extension cords are commonly overloaded by the connection of either too many appliances or any loads in excess of the cord's capacity. Overload­ ing extension cords causes an increase in the con­ ductor's temperature. This increase can exceed the temperature rating of the conductor's insulation, causing it to melt, decompose or burn. The burning insulation can easily start a fire, and the resultant loss of conductor insulation can cause a short circuit or ground fault that can also act as a source of ignition. The buildup of heat in an extension cord is often made worse by excessive cord length and by the insulating effect of rugs that often cover these cords. Extension cords are much more susceptible to physi­ cal damage than permanent wiring methods. Dam­ age to cords increases the likelihood of shorts, ground faults and poor connections, all of which can cause a fire. In addition to the fire hazard, extension cords pose a tripping hazard to the occupants and, when damaged, pose an electric shock hazard.

Every laundry room is required to have at least one grounded-type receptacle outlet. The appliances used in a laundry room are of the type that require a grounding conductor for sale operation. The ground­ ing of appliances is a means of reducing the risk of electrical shock, which can occur when an occupant comes in contact with a defective appliance. This section appears to allow a GFCl-protected receptacle outlet in lieu of a grounded-type receptacle; however, this is only allowed for very limited circumstances by NFPA 70. As a general rule, GFCI protection is not a substitute for grounding-type receptacles.

Every bathroom must have at least one receptacle outlet to accommodate the many grooming and per­ sonal hygiene appliances that are commonly used in bathrooms. This requirement also applies to toilet rooms with lavatories that do not contain bathing fix­ tures, as they could also be used for grooming and personal hygiene purposes. If a bathroom receptacle outlet has to be installed in order to achieve compli­ ance with this section, this code, NFPA 70 and the IRC, all would require GFCI protection for such outlet. To protect occupants from accidental contact with electrical wiring or components, appropriate face­

plates are required for all receptacles.

The installation of a receptacle where one previ­ ously did not exist is considered new work and must comply with the provisions of NFPA 70 or the IRC.

  - Luminaires. Every public hall, interior stairway, toilet room, kitchen, bathroom, laundry room, boiler room and fur­ nace room shall contain at least one electric luminaire. Pool and spa luminaries over 15 V shall have ground fault circuit interrupter protection.

Permanent lighting outlets must be provided to illumi­ nate hallways, stairways, toilet rooms, bathrooms, laundry rooms, kitchens and furnace and boiler rooms. The activities in such spaces are not compati­ ble with portable lighting such as floor or table lamps; therefore, permanent lighting outlets (fixtures/lumi­ naires) are required. In all other spaces, it is assumed that the occupants will provide lamps or other porta­ ble fixtures to meet their artificial lighting needs when natural lighting does not exist. Adequate lighting is necessary for occupants to traverse stairs and corri­ dors without undue hazard; to allow for the proper use of plumbing fixtures and appliances; and to allow for servicing of appliances.

Furnace and boiler rooms are defined terms in the IMC, and the term '1urnace roorn" also applies to a room containing a water heater.

Lighting related to pools and spas is required to be

protected with GFCls when it is over 15 volts. Provid­ ing this protection in these wet locations results in safer conditions for the users.

  - Wiring. Flexible cords shall not be used for permanent wiring, or for running through doors, windows, or cabinets, or concealed within walls, floors, or ceilings.

Use of flexible cords in place of permanent fixed wir­ ing is typically an indication of inadequate electrical

wiring capacity or incompatible demands. Physical damage to flexible cords caused by concealment or improper or inadequate maintenance may result in localized resistance heating, shorts or ground faults.

The amount of electrical current that any flexible cord can safely conduct is limited by the size of its conductor, its insulation type and its environment. This principle is often not understood by the general public. As a result, extension cords are commonly overloaded by connecting appliances and other loads in excess of the cord's capacity.

Overloading of flexible cords causes an increase in the conductor's temperature. This increase in temper­ ature can exceed the temperature rating of the con­ ductor insulation, causing it to melt, decompose or burn. The burning insulation can ignite other combus­ tible materials. The resulting loss of conductor insula­ tion can also cause a short circuit or ground fault that can act as a source of ignition. The buildup of heat in an extension cord is often made worse by excessive cord length and by the insulating effect of rugs that often cover extension cords. Flexible cords are much more susceptible to physical damage than permanent wiring. Damage to flexible cords increases the likeli­ hood of shorts and poor connections, both of which can cause a fire.

In addition to the fire hazard, extension cords pose

a tripping hazard to the occupants and when dam­ aged, can pose an electrical shock hazard. Securing flexible cords to a wall baseboard, door jambs, etc., with nails, staples or other fasteners to eliminate trip­ ping hazards can create another dangerous condition by pinching or piercing the cord and causing shorts or faults that could lead to ignition.

SECTION 606

ELEVATORS, ESCALATORS AND DUMBWAITERS

  - General. Elevators, dumbwaiters and escalators shall be maintained in compliance with ASME Al7.l. The most current certificate of inspection shall be on display at all times within the elevator or attached to the escalator or dumb­ waiter, be available for public inspection in the office of the building operator or be posted in a publicly conspicuous location approved by the code official. The inspection and tests shall be performed at not less than the periodic intervals listed in ASME Al7.l, Appendix N, except where otherwise specified by the authority having jurisdiction.

Elevators, escalators and dumbwaiters must be maintained in compliance with ASME A17.1, Safety Code for Elevators and Escalators with A17.1a 2002 Addenda. ASME A17.1 contains requirements for periodic inspection and testing that are necessary to detect any possible defects. The safety of the occu­ pants is dependent upon routine safety checks per­ formed by competent elevator service technicians.

Displaying the certificate of inspection is an aid to building inspectors and provides the users of the machinery with some confidence in its safety. This requirement will also encourage the owner to obtain

t

1

I

l'

the required inspections. Additionally, the option to post the certificate in a publicly conspicuous location approved by the code official allows a building opera­ tor to request the inspection certificate be placed in a location other than in the elevator, or on the escalator or dumbwaiter, provided that location is a publicly conspicuous location and approved by the code offi­

!

!	cial.

I

Elevators. In buildings equipped with passenger eleva­

tors, at least one elevator shall be maintained in operation at

all times when the building is occupied.

I

Exception: Buildings equipped with only one elevator shall be permitted to have the elevator temporarily out of service for testing or servicing.

If a building has more than one passenger elevator, at least one such elevator musr be kept operational during all periods of building occupancy. As indicated in the exception, a building with only one elevator is allowed to have its elevator temporarily out of service only for the purpose of maintenance, repair or testing.

Bibliography

The following resource materials were used in the prep­ aration of the commentary for this chapter of the code:

ASME A17.1/CSA B44-2007, Safety Code For Eleva­ tors and Escalators. New York: American Society of Mechanical Engineers, 2007.

IFGC-2012, International Fuel Gas Code. Washington, D.C.: International Code Council, 2011.

IMC-2012, International Mechanical Code. Washington, D.C.: International Code Council, 2011.

IPC-2012, International Plumbing Code. Washington, D.C.: International Code Council, 2011.

IRC-2012, International Residential Code. Washington, D.C.: International Code Council, 2011.

NFPA 70-11, National Electrical Code. Quincy, MA: National Fire Protection Association, 2011.

SECTION 607 DUCT SYSTEMS

  - General. Duct systems shall be maintained free of obstructions and shall be capable of performing the required function.

Exhaust ducts for toilet rooms, bathrooms, kitchens and clothes dryers require maintenance to prevent blockages and obstructions that can cause appliance/ equipment malfunction, poor performance and poten­ tial fire hazards. Heating, cooling and ventilation ducts also need to be maintained to allow proper air­ flow, to maintain proper HVAC equipment operation and to help eliminate air-borne contaminants that could cause health hazards. Ducts can collect haz­ ardous quantities of grease, lint, dust and debris that could be potential fire hazards. Duct systems of all types are typically ignored by building owners and occupants and thus receive little or no maintenance.

## Chapter 7:

Fire Safety Requirements

General Comments

Chapter 7 establishes minimum requirements for lire safety facilities and fire protection systems.

A critical element that must be investigated during an inspection is the condition of fire safety systems.

These provisions take on even greater importance in those jurisdictions where periodic fire inspections are not conducted in accordance with a comprehensive lire code.

In jurisdictions where fire inspections are regularly performed on existing facilities, all inspections must be coordinated with cooperation between the appropriate officials to alleviate multiple and duplicative notices and, at the worst, conflicting instructions.

A great potential for a fatal lire occurs where people sleep-dwelling units, hotels, motels, nursing homes, etc. The reasons for the increased hazard are obvious: there are often delayed reactions before people notice a fire (occupants waking from sleep are temporarily con-

fused), rooms are darkened and the occupants are dressed in bedclothes. All of these circumstances reduce the reaction time of the occupants and increase the likelihood that they will make a fatal misjudgment.

Purpose

Building codes regulating new construction are intended to verify that prior to occupancy, the building has been constructed in a manner that will provide the occupants a relatively safe and secure environment. Once these new structures are occupied, a variety of hazards inher­ ent in their use may arise. Olten, these hazards are unanticipated and can affect the overall safety of the occupants.

The purpose of Chapter 7 is to address those fire haz­ ards that arise as the result of a building's occupancy. It also provides minimum requirements for lire safety issues that are most likely to arise in older buildings.

SECTION 701 GENERAL

This section establishes the overall goal of the chap­ ter and outlines who is responsible for complying with its provisions.

701.l Scope. The provisions of this chapter shall govern the minimum conditions and standards for fire safety relating to structures and exterior premises, including fire safety facili­ ties and equipment to be provided.

In the International Codes' {I-Codes®), the foremost code to address lire safety in existing buildings is the International Fire Code" (IFC®). Fire safety is also within the scope of the code; however, for correlation with the IFC most of the requirements of Chapter 7 either parallel or directly reference that code. As stated in the preface to this commentary, sections of this chapter with the [FJ designation in front of the section number are controlled initially by the Interna­ tional Fire Code Development Committee during the annual code change process of the International Code Council® {ICC®), thereby preventing conflicts between the code and the IFC.

Fire safety requirements having to do with means of egress, lire-resistance rating of building elements

and fire protection systems, such as sprinklers and smoke detectors, are addressed in this chapter. Fire safety topics such as storage of combustibles, use or storage of hazardous materials and the regulation of certain activities or operations within buildings that

contribute to the lire hazard are covered exclusively in the IFC.

701.2 Responsibility. The owner of the premises shall pro­ vide and maintain such fire safety facilities and equipment in compliance with these requirements. A person shall not occupy as owner-occupant or permit another person to occupy any premises that do not comply with the require­ ments of this chapter.

The owner of the premises should provide and main­ tain such lire safety facilities and equipment in com­ pliance with these requirements. A person should not occupy as owner-occupant or allow another person to occupy any premises that does not comply with the requirements of this chapter.

This section clearly establishes that the owner of the premises is responsible for compliance with these requirements. Whereas occupants who are not own­ ers have some responsibility in regard to clean and safe conditions within individual dwelling units (see Section 301.2), the requirements of this chapter per­ tain to building systems and components that are not typically under the control of the occupants.

SECTION 702 MEANS OF EGRESS

Means of egress in existing buildings is regulated by the IFC. The IFC contains provisions for number of exits, egress width, stairs, guards, handrails, corri-

dors, dead ends, obstructed exits, exit signs and other requirements for evaluating the means of egress in existing buildings. Aisles, locked doors and emergency escape openings are life safety features that are frequently affected by routine operations in existing buildings, and can be inspected by property maintenance inspectors in the course of a typical inspection. These topics, therefore, are included in the subsections of Section 702 of the code,

[Fl 702.1 General. A safe, continuous and unobstructed path of travel shall be provided from any point in a building or structure to the public way. Means of egress shall comply with the International Fire Code.

Even a slight delay in a fire situation can mean the difference between life and death. Dangerous levels of smoke car\ develop in a·deceptively quick manner at the early stages of a fire, and obstruction to means of egress or insufficient means of egress very often leads to tragedy in a fire.

This section prohibits obstruction of corridors, hall­ ways and stairs by miscellaneous storage that could delay egress. It also prohibits dead-end corridors or passageways that could cause confusion or require occupants to retrace their steps to find a way out of the building. Specific requirements for means of egress, such as permissible length of dead-end corri­ dors or required means of egress width, are found in the IFC.

[Fl 702.2 Aisles. The required width of aisles in accordance with the International Fire Code shall be unobstructed.

Assembly occupancies that contain seats, tables, dis­ plays and similar furnishings or equipment present a unique challenge for efficient and orderly exiting in an emergency situation. For this reason, the IFC con­ tains detailed requirements for the configuration, width and availability of aisles in these occupancies. This section requires that aisles be unobstructed so that they will serve their intended (and required) func­ tion.

[Fl 702.3 Locked doors. All means of egress doors shall be readily openable from the side from which egress is to lie made without the need for keys, special knowledge or effort, except where the door hardware conforms to that permitted by the International Building Code.

One of the fundamental principles of means of egress in both new and existing buildings is that doors must be readily operable from the "egress side" (the side occupants approach in order to exit the building). Locks that require key operation from the inside are prohibited except in very limited circumstances involving security at main entrance doors for certain occupancies as prescribed in the International Build­ ing Code® (IBC®). Locks that are operated from the interior, such as thumb turns or flush bolts, are typi­ cally prohibited since they require special knowledge or effort, although this is subject to the judgement of the code official in existing buildings. Doors that are locked from the exterior of the building but are

released by the unlatching mechanism from the inte­ rior, such as panic hardware and security hardware involving doorknobs or lever mechanisms, are the preferred alternative if security is needed.

[Fl 702.4 Emergency escape openings. Required emergency escape openings shall be maintained in accordance with the code in effect at the time of construction, and the following. Required emergency escape and rescue openings shall be operational from the inside of the room without the use of keys or tools. Bars, grilles, grates or similar devices are per­ mitted to be placed over emergency escape and rescue open­ ings provided the minimum net clear opening size complies with the code that was in effect at the time of construction and such devices shall be releasable or removable from the inside without the use of a key, tool or force greater than that which is required for normal operation of the escape and res­ cue opening.

This section of the code takes into account that many changes have occurred over the years in the many editions of the construction codes. The provisions for emergency escape and rescue openings are only subject to the code that is in effect at the time of con­ struction, rather than expecting all structures to retro­ actively meet the requirements of each new code.

"Required emergency escape openings" refers to the escape windows and doors that are required for sleeping rooms and basements in new construction. In the IBC, emergency escape openings are required from all basements as well as all sleeping rooms; however, codes for new construction prior to the development of the IBC did not require emergency escape windows in basements without sleeping rooms.

The intent of this section is that emergency escape openings that were required at the time of a building's construction be maintained unobstructed. It prohibits the installation of security devices on these required openings unless the windows or doors provide a net clear opening of at. least that which is required for new construction in accordance with the IBC. II installed, these devices must be removable (or mov­ able to provide the required net clear opening space) in a manner that facilitates the quick use of the win­ dow in an emergency situation; therefore, security devices that require the unscrewing of screws or bolts, prying with a bar or unlocking with a key in order to be removed or moved are not permitted on these openings. In addition, they must not require excessive force for their removal, since they may need to be operated by children or the elderly.

SECTION 703

FIRE-RESISTANCE RATINGS

Required fire-resistance-rated walls and opening pro­ tectives are those elements that are required to be rated in accordance with the code that was in effect at the time of construction. This section requires that

these be maintained so that they will perform their intended function.

[Fl 703.1 Fire-resistance-rated assemblies. The required fire resistance rating of fire-resistance-rated walls, fire stops, shaft enclosures, partitions and floors shall be maintained.

The "required fire-resistance rating" means the required rating of walls or floors at the time of con­ struction. These required rated assemblies cannot be compromised in terms of construction or they will not perform as intended in a fire emergency. For instance, holes for running pipe or cable cannot be created in rated corridor walls where they extend above the ceiling line if the rated walls were required at the time of construction to extend to the floor deck above. Penetrations of this type would be prohibited unless protected as set forth in the IBC for new con­ struction. Similarly, wall sheathing on rated walls can­ not be removed and replaced unless the new material conforms to the listing for the rated wall.

[Fl 703.2 Opening protectives. Required opening protec­ tives shall be maintained in an operative condition. All fire and smokestop doors shall be maintained in operable condi­ tion. Fire doors and smoke barrier doors shall not be blocked or obstructed or otherwise made inoperable.

Opening protectives are window and door assemblies that have been tested in accordance with the applica­ ble standard and have a fire protection rating. For example, corridor walls that are required to be rated are also required to have rated door assemblies (typi­ cally 20 minutes) protecting the door openings. These doors are required to be self-closing or auto­ matic closing so that they can serve their intended function and limit the spread of smoke and fire in a fire emergency. If a closer is removed or the door is propped open by a doorstop, the door has been made inoperable and would allow the free passage of flame and smoke as if the opening were not pro­ tected. Similarly, if a fire shutter protecting a window opening is removed or propped open such that it will not operate upon detection of heat, it has been made inoperable and violates this section of the code.

SECTION 704

FIRE PROTECTION SYSTEMS

Smoke detectors are an essential life safety feature in residential occupancies, and are the only fire protec­ tion devices that are required in all dwellings; there­ fore, the code contains provisions for them and references the IFC for installation details.

[FJ 704.1 General. All systems, devices and equipment to detect a fire, actuate an alarm, or suppress or control a fire or any combination thereof shall be maintained in an operable condition at all times in accordance with the International Fire Code.

Fire protection systems currently in existing buildings, including sprinklers, standpipes, smoke detectors

and fire alarms, are regulated by the IFC (see Com­ mentary Figure 704.2).

[Fl 704.1.1 Automatic sprinkler systems. Inspection, test­ ing and maintenance of automatic sprinkler systems shall be in accordance with NFPA 25.

This section gives the code official the necessary requirements for the inspection, testing and mainte­ nance of fire sprinklers, fire pumps, standpipes, etc., on existing buildings. This information will be useful in areas where the property maintenance inspector is the individual verifying the requirements.

[Fl 704.2 Smoke alarms. Single- or multiple-station smoke alarms shall be installed and maintained in Group R or I-1 occupancies, regardless of occupant load at all of the follow­ ing locations:

- On the ceiling or wall outside of each separate sleeping

area in the immediate vicinity of bedrooms.

- In each room used for sleeping purposes.

- In each story within a dwelling unit, including base­ ments and cellars but not including crawl spaces and uninhabitable attics. In dwellings or dwelling units with split levels and without an intervening door between the adjacent levels, a smoke alarm installed on the upper level shall suffice for the adjacent lower level provided that the lower level is less than one full story below the upper level.

The greatest danger associated with dwelling units and sleeping rooms (Group R or 1-1) is that occu­ pants may be asleep and unaware of a fire develop­ ing in the room or egress path. Single- or multiple­ station smoke alarms must be provided in the sleep­ ing room and in rooms or spaces between the sleep­ ing room and the exit access door from the room to increase the likelihood of a fire being detected. This improves the ability of sleeping occupants to respond. If the dwelling unit or suite involves more than one level, a smoke alarm must also be provided on every separate level.

Smoke alarms are required in split-level arrange-

- ments, except those that meet the conditions described in Item 3.

[Fl 704.3 Power source. In Group R or I-1 occupancies, sin­ gle-station smoke alarms shall receive their primary power from the building wiring provided that such wiring is served from a commercial source and shall be equipped with a bat­ tery backup. Smoke alanns shall emit a signal when the bat­ teries are low. Wiring shall be permanent and without a disconnecting switch other than as required for overcurrent protection.

Exception: Smoke alarms are permitted to be solely bat­ tery operated in buildings where no construction is taking place, buildings that are not served from a commercial power source and in existing areas of buildings undergo­ ing alterations or repairs that do not result in the removal of interior wall or ceiling finishes exposing the structure, unless there is an attic, crawl space or basement available

which could provide access for building wiring without

the removal of interior finishes.

Smoke alarms are required to utilize alternating cur­ rent (AC) as a primary power source and battery power as a secondary source in order to enhance their reliability. For example, during a power outage, the probability of fire is never decreased; in fact, it is increased somewhat because of the use of candles or lanterns for temporary lighting and the possibility of lightning-related fire. Required backup battery power is intended to provide for continued performance of the smoke alarms. Smoke alarms are commonly designed to emit a recurring signal when batteries are low and need to be replaced.

Certain Group R-1 occupancies may already have an emergency electrical system provided in the build· ing to monitor other building system conditions. The emergency electrical system provides an equivalent level of reliability as compared to battery backup; therefore, backup would be unnecessary as stated in the exception.

It is not the intent of the code to require smoke alarms in all existing buildings to be served from a commercial power source (120 volts AC). Battery­ operated smoke alarms may be the only power source when a commercial power source is not avail­ able or when extensive alteration or repairs are not being conducted in a building. Where permanent building wiring can be installed without the removal of interior finishes, this section recognizes the increased reliability that a "hard-wired" commercial power source can provide; therefore, where feasible, perma­ nent wiring should be provided.

[FJ 704.4 Interconnection. Where more than one smoke alarm is required to be installed within an individual dwelling unit in Group R or I-1 occupancies, the smoke alarms shall be interconnected in such a manner that the activation of one

alarm will activate all of the alarms in the individual unit. Physical interconnection of smoke alarms shall not be required where listed wireless alarms are installed and all alarms sound upon activation of one alarm. The alarm shall be clearly audible in all bedrooms over background noise lev­ els with all intervening doors closed.

Exceptions:

- Interconnection is not required in buildings which are not undergoing alterations, repairs or construc­ tion of any kind.

- Smoke alarms in existing areas are not required to be interconnected where alterations or repairs do not result in the removal of interior wall or ceiling fin­ ishes exposing the structuret unless there is an attic, crawl space or basement available which could pro­ vide access for interconnection without the removal of interior finishes.

The installation of smoke alarms in areas remote from the sleeping area will be of minimal value ii the alarm is not heard by the occupants. Interconnection of multiple smoke alarms within an individual dwelling unit, guestroom or suite is required in order to alert a sleeping occupant of a remote fire within the unit before the products of combustion reach the smoke alarm in the sleeping area, thus providing additional time for evacuation. It should be noted that the term "interconnection" is intended to allow the use of not only hard-wired systems, but also those that use radio signals (wireless systems) (see Section 907.6.1 of the !BC). Underwriters Laboratories Inc. (UL) has listed smoke alarms that use this new technology. These units must be listed for this use. It is presumed that on safely evacuating the unit or room of fire ori­ gin, an occupant will notify other occupants by actuat­ ing the manual fire alarm system or other means available.

-	NEW

BR	HALL	BR

LIVING ROOM

X

RECREATION ROOM

BASEMENT

"X" INDICATES SMOKE ALARM

Q9 INDICATES SMOKE ALARM

IS OPTIONAL IF DOOR IS NOT PROVIDED BETWEEN LIVING AND RECREATION ROOMS (ITEM 3)

Figure 704.2

LOCATION OF SMOKE ALARMS IN A SINGLE•FAMILY DWELLING

7.4	2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTAR1

Exception 1 permits only battery-operated smoke alarms in existing buildings to not be interconnected. The exception recognizes the impracticality of hard wiring and interconnecting smoke alarms in existing buildings that may or may not have a commercial power source available. Exception 2 recognizes that interconnecting smoke alarms is typically not feasible unless the extent of alterations or repairs results in adequate access being made available for such inter­ connection.

Bibliography

The following resource materials were used in the prep­ aration of the commentary for this chapter of the code:

IBC-2012, International Building Code. Washington, D.C.: International Code Council, 2011.

IFC-2012, International Fire Code. Washington, D.C.: International Code Council, 2011.

I

# I

!I	Chapter 8:

I

I	Referenced Standards

I

General Comments

Chapter 8 contains a comprehensive list of all standards that are referenced in the code. It is organized in a man­ ner that makes it easy to locate specific references.

This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the stan­ dard, the standard identification, the effective date and title and the section or sections bf this document that reference the standard. The application of the refer­ enced standards shall be as specified in Section 102.7.

It is important to understand that not every document related to building design and construction is qualified to be a "referenced standard." The ICC has adopted a cri­ terion that standards referenced in the International Codes" and standards intended for adoption into the International Codes must meet in order to qualify as a referenced standard. The policy is summarized as fol­ lows:

- Code references: The scope and application of the standard must be clearly identified in the code text.

- Standard content: The standard must be written in mandatory language and appropriate for the subject covered. The standard shall not have the effect of requiring proprietary materials or prescribing a proprietary testing agency.

- Standard promulgation: The standard must be readily available and developed and maintained in a consensus process such as ASTM or ANSI.

The ICC Code Development Procedures, of which the standards policy is a part, are updated periodically. A copy of the latest version can be obtained from the ICC offices.

Once a standard is incorporated into the code through the code development process, it becomes an enforce­ able part of the code. When the code is adopted by a jurisdiction, the standard also is part of that jurisdiction's adopted code. It is for this reason that the criteria were developed. Compliance with this policy provides that documents incorporated into the code are, among oth­ ers, developed through the use of a consensus process, written in mandatory language and do not mandate the use of proprietary materials or agencies. The require­ ment for a standard to be developed through a consen­ sus process is vital, as it means that the standard will be representative of the most current body of available knowledge on the subject as determined by a broad spectrum of interested or affected parties without domi­ nance by any single interest group. A true consensus process has many attributes, including, but not limited to:

- An open process that has formal (published) procedures that allow for the consideration of all viewpoints;

- A definitive review period that allows for the standard to be updated or revised;

- A process of notification to all interested parties; and

- An appeals process.

Many available documents related to plumbing sys­ tem design, installation and construction, though useful, are not "standards," and are not appropriate for refer­ ence in the code. Often, these documents are devel­ oped or written with the intention of being used for regulatory purposes, and are unsuitable for use as a regulation due to extensive use of recommendations, advisory comments and nonmandatory terms. Typical examples of such documents include installation instructions, guidelines and practices.

The objective of ICC's standards policy is to provide regulations that are clear, concise and enforceable­ thus the requirement for standards to be written in man­ datory language. This requirement is not intended to mean that a standard cannot contain informational or explanatory material that will aid the user of the stan­ dard in its application. When it is the desire of the stan­ dard's promulgating agency for such material to be included, however, the information must appear in a nonmandatory location, such as an annex or appendix, and be clearly identified as not being part of the stan­ dard-

Overall, standards referenced by the code must be

authoritative, relevant, up to date and, most important, reasonable and enforceable. Standards that comply with ICC's standards policy fulfill these expectations.

Purpose

As a performance-oriented code, the code contains numerous references to documents that are used to regulate materials and methods of construction. The ref­ erences to these documents within the code text consist of the promulgating agency's acronym, its publication designation (e.g., !BC) and a further indication that the document being referenced is the one that is listed in Chapter 8. Chapter 8 contains all of the information that is necessary to identify the specific referenced docu­ ment. Included is the following information on a docu­ ment's promulgating agency (see Figure 8):

- The promulgating agency (i.e., the agency's title);

- The promulgating agency's acronym; and

- The promulgating agency's address.

For example, a reference to an ICC standard within the code indicates that the document is promulgated by the International Code Council® (ICC®), which is located in Washington, D.C. Chapter 8 lists the standards agen­ cies alphabetically for ease of identification.

Chapter 8 also includes the following information on the referenced document itself (see Figure 8):

  - The document's publication designation;

  - The document's edition year;

  - The document's title;

  - Any addenda or revisions to the document known at the time of the code's publication; and

  - Every section of the code in which the document is referenced.

The heading designations .are listed in alphabetical order. In this case, there is only one referenced in Fig­ ure 8.

Chapter 8 identifies that ICC, IBC-12 is titled the Inter­ national Building Code®, the applicable edition (i.e., its year of publication) is 2012 and it is referenced in four specific sections of the code.

The key aspect of the manner in which standards are referenced by the code is that a specific edition of a specific standard is clearly identified. In this manner, the requirements necessary for compliance can be readily determined. The basis for code compliance is, there­ fore, established and available on an equal basis to the code official, contractor, designer and owner.

This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the stan­ dard, the standard identification, the effective date and title and the section or sections of this document that reference the standard. The application of the refer­ enced standards shall be as specified in Section 102.7.

PROMULGATING AGENCY'S ACRONYM

\	PROMULGATING

\	AGENCY'S TITLE

\

ICC

Standard reference number

International Code Council 500 New Jersey Avenue, NW 6th Floor

Washington, DC 20001

-	PROMULGATING

AGENCY'S ADDRESS

IBC-12

L

Referenced in code

Title	section number

International Building Code...................... . ... ... .... .. ...	102.3, 201.3, 401.3, 702.3

LEDITION YEAR

LTITLE OF STANDARD

SECTION(S) OF THEJ

PUBLICATION

CODE IN WHICH THE STANDARD IS REFERENCED

DESIGNATION

Figure 8 REFERENCED STANDARDS

REFERENCED STANDARDS

This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section 102.7.

ASME

American Society of Mechanical Engineers Three Park Avenue

New York, NY 10016-5990

Standard reference

number	Title

Referenced

in code section number

A17.l/CSA B44-2007	Safety Code for Elevators and Escalators ...... .	606.1

ASTM

ASTM International 100 Barr Harbor Drive

West Conshohocken, PA 19428 2959

Standard reference

number	Title

F !346-91 (2003)	Performance Specifications for Safety Covers and Labeling Requirements

Referenced

in code section number

for All Covers for Swimming Pools, Spas and Hot Tubs	303.2

ICC

International Code Council 500 New Jersey Avenue, NW 6th Floor

Washington, DC 20001

Standard reference

number	Title

Referenced

in code section number

IBC-12 IEBC-12 IFC-12 IFGC-12 IMC-12 IPC-12 IRC-12 IZC-12

International Building Code®. .	102.3, 201.3, 401.3, 702.3

International Existing Building Code®.............................................. 305. 1.1, 306.1.1

International Fire Code®.......................... 201.3, 604.3.1.1, 604.3.2.1, 702.1, 702.2, 704.1, 704.2 International Fuel Gas Code®	102.3

International Mechanical Code®	102.3, 201.3

International Plumbing Code®........................................	. 201.3, 505.1, 602.2, 602.3

International Residential Code®. . .	201.3

International Zoning Code® ..................................................,	102.3, 201.3

NFPA

National Fire Protection Association I Batterymarch Park

Quincy, MA 02269

Standard reference

number	Title

Referenced

in code section number

25-11

70-ll

Inspection, Testing and Maintenance of Water-Based Fire Protection Systems	704.1.1

National Electrical Code	.................102.4, 201.3, 604.2

### Appendix A: Boarding Standard

Appendix A provides minimum specifications for boarding a structure. This can be utilized by a jurisdiction as a set of minimum requirements in order to result in consistent boarding quality. These requirements also provide a reasonable means to eliminate having to approve numerous methods or materials for the boarding and securing of a structure. It is important to note that the pro­ visions of Appendix A are not mandatory unless specifically referenced in the adopting ordinance of the jurisdiction having authority.

The provisions contained in this appendix are not mandatory unless specifically referenced in the adopting ordinance.

A101 GENERAL

AlOl.1 General. All windows and doors shall be boarded in an approved manner to prevent entry by unauthorized per­ sons and shall be painted to correspond to the color of the existing structure.

A102 MATERIALS

A102.l Boarding sheet material. Boarding sheet material shall be minimum 1/2-inch (12.7 mm) thick wood structural panels complying with the International Building Code.

A102.2 Boarding framing material. Boarding framing material shall be minimum nominal 2-inch by 4-inch (51 mm by 102 mm) solid sawn lumber complying with the Interna­ tional Building Code.

Al02.3 Boarding fasteners. Boarding fasteners shall be minimum 3/8-inch (9.5 mm) diameter carriage bolts of such a length as required to penetrate the assembly and as required

to adequately attach the washers and nuts. Washers and nuts shall comply with the International Building Code.

A103 INSTALLATION

Al03.l Boarding installation. The boarding installation shall be in accordance with Figures Al03.l(l) and Al03.1(2) and Sections Al03.2 through A103.5.

Al03.2 Boarding sheet material. The boarding sheet mate­ rial shall be cut to fit the door or window opening neatly or shall be cut to provide an equal overlap at the perimeter of the door or window.

Al03.3 Windows. The window shall be opened to allow the carriage bolt to pass through or the window sash shall be removed and stored. The 2-inch by 4-inch (51 mm by 102 mm) strong back framing material shall be cut minimum 2 inches (51 mm) wider than the window opening and shall be placed on the inside of the window opening 6 inches mini­ mum above the bottom and below the top of the window

opening. The framing and boarding shall be predrilled. The assembly shall be aligned and the bolts, washers and nuts shall be installed and secured.

Al03.4 Door walls. The door opening shall be framed wilh minimum 2-inch by 4-inch (51 mm by 102 mm) framing material secured at the entire perimeter and vertical members at a maximum of 24 inches (610 mm) on center. Blocking shall also be secured at a maximum of 48 inches (1219 mm) on center vertically. Boarding sheet material shall be secured with screws and nails alternating every 6 inches (152 mm) on center.

Al03.5 Doors. Doors shall be secured by the same method as for windows or door openings. One door to the structure shall be available for authorized entry and shall be secured and locked in an approved manner.

A104 REFERENCED STANDARDS

IBC-12  International Building Code	A102.1, Al02.2,

A102.3

APPENDIXA

6\n

3afcBttisn;cr,'hn,ac\a\nw.seootts.

be \QTJ9 efM!:9h  ertdft6m fuil

e,:tertor through the \pter\()r p

a stfe«;IbaCl<S ar.diastef\(\d fromthe tnteitor

withanut

FIGURE A103.1(1)

eoARDING OF ooOR OR wmooW

,112inch COX µi,wood o< perto<m= roted oasshall P• '""""'d

- to h,.• .,,	pia\O, •"'"·.,,,.,,nd••g• t,1ockloguwng•"""'°

iews e-1\d r1elt'.i¢ a m$)(\mum of6 ;nch OC

2• x4" stile

'Z )( 4" edgebioeK\n9 either nonzontall)' or vertiCf!.lt'f a\on!;I eCge.

of aacti sMet of 9iywood

\2 ll.4•sbJd,S

s-pacs-tl 24• on center

-orOSB

FIGURE A103,1(2) eoARDING Of poOR WALL

##### INDEX

A

ACCESS

Emergency egress	702

From bedrooms	404-4.2

Plumbing fixtures, access for cleaning	504.2

To public way	702.1

Toilet room as passageway	503.1

Water closet	404.4.3

ADJACENT

Privacy (hotel units, rooming units)	404.1

ADMINISTRATION•

Scope	101.2

AGENT (See also OPERATOR, OWNER)

Definition	202

AIR

Combustion air	603.5

AISLES

Minimum width	702.2

ALTERATION

Applicability of other codes	102.3

Inspection	104.2

Prosecution	106.3

Unlawful acts	106.1

ANCHOR

Anchored, definition	202

Architectural trim	304.8

Signs, marquees and awnings	304.9

Unsafe conditions	304.1.1

APPEAL

Application	111.1

Board decision	111.6

Board of appeals	111.2

Court review	111.7

Disqualification	111.2.3

Financial interest	111.2.3

Hearing, emergency orders	109.6

Membership	111.2

Notice of appeal	111.1

Postponed hearing	111.5

Records	104.6

Right to appeal	111.1

Vote	111.6

APPLIANCE

Cooking	403.3, 602.2

Mechanical	603.1

APPLICABILITY

Application of references	102.9

General.	102.1

Other laws	102.10

Referenced codes and standards.	102.7

APPROVAL

Alternatives.	105.2

Authority	104.1, 105.2

Modifications ......................... ,. 105.1

Research reports	105.6

Used material and equipment.	105.4

APPROVED

Alternative materials, methods and

equipment	105.2

Definition	202

Energy conservation devices	603.6

Garbage storage facilities	308.3.1

Modifications.	105.1

Used materials and equipment.	105.4

ARTIFICIAL

Lighting of habitable rooms	401.3

Lighting of other spaces	402.3

AUTOMOBILE

Motor vehicles	302.8

AWNING

Signs, marquees and awnings	304.9

B

BALCONY

Handrails and guardrails	304.12

BASEMENT

Definition	202

Hatchways	304.16

Windows	304.17

BATHROOM

Common bathrooms	502.3, 503.1

Hotels	502.3

Lighting	605.3

Locks	503.1

Outlets required	605.2

Privacy	503.1

Ventilation	403.2

BATHTUB

Dwelling units	502.1

Rooming houses.	502.2

Sewage system	506.1

Water-heating facilities	505.4

Water system	505.1

BOARDING

Boarding standard	Appendix A

BOILER

Unsafe equipment	108.1.2

C

CAPACITY

Heating facilities..............602.2, 602.3, 602.4

CAR (See AUTOMOBILE) CEILING

Basement rooms	404.3

Fire-resistance ratings	703.1

Interior surfaces	305.3

Minimum height ..............•	404.3

Sleeping rooms	404.3

CHANGE, MODIFY

Application of other codes	102.3

CHIMNEY

Exterior structure	304.11

Flue	603.2, 603.3

CLEANING

Access for cleaning	504.2

Disposal of garbage	308.3

Disposal of rubbish	308.2

Interior and exterior sanitation	308.1

Interior surfaces	305.3

Plumbing facilities, maintained	504.1

Required plumbing facilities	502

Responsibility of persons	305.1

Trash containers	308.3.2

Vacant structures and land	301.3

CLEARANCE

Heating facilities	603.3

Plumbing fixtures	504.2

CLOSING

Streets	109.3

Vacant structures	108.2

CLOTHES DRYER

Exhaust	403.5

CODE OFFICIAL

Condemnation	108.1

Demolition	11o

Duties	104

Emergency order	109

Enforcement authority	104.1

Failure to comply with demolition order	110.3

Identification	104.3

Inspections	104.2

Liability, relief of personal	103.4

Membership of board of appeals	111.2

Notice of violation	104.5, 107

Notices and orders.	107

Official records	104.6

Personal liability	103.4

Placarding	108.4

Prosecution	106.3

Removal of placard	108.4.1

R1' 9ht of entry	104.3

Transfer of ownership	107.6

Vacant structures	108.2

Voting of appeals board	111.2, 111.6

COMBUSTION

Combustion air	603.5

COMPONENT SERVICEABILITY

Unsafe conditions	306.1.1

CONDEMNATION

Closing of vacant structures	108.2

Failure to comply	110.3

General	108.1

Notices and orders	108.2, 108.3

Placarding	108.4

Removal of placard	108.4.1

CONFLICT

Conflict of interest	111.2.3

Violations	106.1

CONNECTION

Sewage system	506.1

Water heating	505.4

Water system	505.1

CONSTRUCTION

Existing structures	101.2

CONTAINER

Garbage	308.3.2

Rubbish storage	308.2.1

CONTINUOUS

Unobstructed egress	702.1

.CONTROL

Rodent control	302.5, 304.5

Safety controls	603.4

Weed	302.4

COOLING

Cooling towers	304.11

CORRIDOR

Accumulation of rubbish	308.1

Light ·	402.2

Lighting fixtures	605.3

Obstructions	702.1, 702.2

Ratings maintained	703

D

DAMP, DAMPNESS

Roofs	304.7

INDEX-2	2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY

Window, door frames	304.13

DANGEROUS,HAZARDOUS

Condemnation	108.1

Demolition	110

Electrical hazards	604.3, 604.3.1

Existing remedies	102.4

Imminent danger.	202

Unsafe equipment	108.1.2

Unsafe structures or premises	108.1.5

DECKS

Handrails and guardrails	304.12

Maintenance	304.2, 304.10

DEMOLITION

Existing remedies	102.4

Failure to comply ...........•	110.3

General.	110

Order	110.2

Salvage materials	110.4

DETECTORS

Smoke	704

DETERIORATION

Components of systems	306.1.1

Definition	202

Exterior structure	304.1.1

Exterior walls	304.6

DIRECT

Egress	702.1

DISPOSAL

Disposal of garbage	308.3

Disposal of rubbish	308.2

DOOR

Exit doors	702.3

Fire	703.2

Hardware	304.15

Insect screens	304.14

Interior surfaces	305.3

Locks	304.15, 702.3

Maintenance	304.13, 304.15

Weather tight	304.13

Window and door frames	304.13

DORMITORY (ROOMING HOUSE, HOTEL, MOTEL)

Locked doors	702.3

Privacy	503.1, 503.2

DRAIN, DRAINAGE

Basement hatchways	304.16

Plumbing connections	506

Storm drainage	507

DUCT

Exhaust duct.	304.9

Duct systems	607

DUST

Process ventilation	403.4

DWELLING

Cleanliness	305.1, 308.1

Definition	202

Electrical	604.1

Heating facilities	602

Required facilities	502

E

EGRESS

Aisles	702.2

Emergency escape	702.4

General	702.1

Lighting	402.2

Locked doors	702.3

Obstructions prohibited.	702.1

Stairs, porches and railings	304.10,

305.4, 305.5, 307.1

ELECTRIC, ELECTRICAL EQUIPMENT

Abatement of hazards, fire exposure	604.3.2

Abatement of hazards, water exposure	604.3.1

Condemnation	108.1

Electrical equipment	604.3.1.1

Facilities required . . . . . . ..	604.1

Hazards.	604.3

Installation	605.1

Lighting fixtures	605.3

Receptacles	604.3, 605.2

Responsibility	601.2

Service	604.2

ELEVATOR, ESCALATORS, DUMBWAITERS

Condemnation.	108.1

General.	606.1

Maintenance	606.1, 606.2

EMERGENCY

Emergency escape openings	702.4

Emergency measures	109

Emergency orders.	109.1

ENFORCEMENT

Duties and powers	104

Scope	101.2

EQUIPMENT

Alternative.	105.2

Combustion air	603.5

Condemnation................... 108. 1.2, 108.3

Electrical installation	605.1

Emergency order	109.1

Energy conservation devices	603.6

Installation	603.1

Interior structure	305.1

Placarding	108.4, 108.5

Prohibited use	108.5

Responsibility.	601.2

Safety controls	603.4

Scope	101.2

Scope, mechanical and electrical	601.1

Support, definition	202

Unsafe	108.1.2

Used	105.4

EXHAUST

Clothes dryer	403.5

Exhaust ducts	304.9

Process ventilation........ ,	403.4

EXISTING

Remedies	102.4

Scope	101.2

Structural members ...............304. 1.1, 304.4

Structures	101.3

EXTERIOR

Decorative features	304.8

Exterior structure	304

Exterior walls	304.6

Painting	304.2, 304.6

Rodent harborage	302.5, 304.5

Sanitation	304.1

Scope	301.1

Stair	304.1o

Street numbers	304.3

Unsafe conditions	304.1.1

Weather tight	304.13

F

FAN

Exhaust vents	302.6

FEES,EXPENSES,COST

Closing vacant structures	108.2

Demolition .................. 110.1, 110.3, 110.4

Extermination .......... 309.2, 309.3, 309.4, 309.5

General	103.5

Relief from personal liability	103.4

FENCE

Accessory	302.7

Maintenance	304.2

FIRE

Automatic sprinkler systems	704.1.1

Fire-resistance-rated assemblies	703.1

Fire protection systems	704

Responsibility, fire safety	701.2

Scope	101.2

Scope, fire safety	701.1

Smoke alarms	704.2

FLAMMABLE LIQUID

Containers	108.1.2

FLOOR, FLOORING

Area for sleeping purposes	404.4.1

Fire-resistance ratings	703.1

Interior surfaces	305.1, 305.3

Space requirements ...............404. 4.1, 404.6

FOOD PREPARATION

Cooking equipment	403.3

Sanitary condition	305.1, 404.7

Ventilation	403.4

FOUNDATION

Condemnation	108.1.1

Foundation walls	304.5

Unsafe conditions......... .-..... 304. 1.1, 305.1.1

FRAME

Window and door frames	304.13

G

GAS

Energy conservation devices	603.6

Exhaust vents	302.6

GLAZING

Materials	304.13.1

GRADE

Drainage	302.2, 507

GUARD

Anchorage and maintenance	304.12

Basement windows	304.18.2

Definition	202

H

HABITABLE

Definition	202

Light	402

Minimum ceiling height	404.3

Minimum room width	404.2

Required plumbing facilities	502

Residential heating facilities	602.2, 602.3

Space requirements	404.4.1

Ventilation	403

HANDRAILS AND GUARDRAILS

Handrails ..................304.12, 305.5, 307.1

Stairs and porches	304.1O

HARDWARE

Door hardware	304.15, 702.3

Openable windows	304.13.2

INDEX-4	2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY

HAZARDOUS (See DANGEROUS, HAZARDOUS) HEAT, HEATING

Energy conservation devices	603.6

Fireplaces	603.1

Heating	603.1

Mechanical equipment	603.1

Required capabilities	602

Residential heating	602.2, 602.3

Supply	602.3

Water heating facilities	505.4

Water system	505

HEIGHT

Minimum ceiling height	404.3

HOT (See HEAT, HEATING)

HOTELS, ROOMING HOUSES AND DORMITORY UNITS, MOTELS

Definition	202

Locked doors	702.3

Required facilities	502

Toilet rooms	503

HOUSEKEEPING UNIT

Definition	202

IDENTIFICATION

Code official	104.4

INFESTATION

Condemnation	108.1.3

Definition	202

Insect and rodent ............302.5, 304.14, 309.1

INSECTS

Infestation	309.1

Insect screens	304.14

Pest elimination	309

INSPECTIONS

General.	104.2

Right of entry	104.3

INSPECTOR

Identification	104.4

Inspections	104.2

Records	104.6

INTENT

.	1013

INTERIOR

Interior structure	305

Interior surfaces	305.3

Means of egress	702

Sanitation	305.1

Unsafe conditions	305.1.1

J

JURISDICTION

Title ............................	101.1

###### K

KITCHEN

Electrical outlets required	605.2

Minimum width	404.2

Prohibited use	404.4.4

Room lighting	605.3

Water heating facilities	505.4

L

LANDING

Handrails and guards	304.12,

305.5, 306.1

Maintenance .....................304.1o. 305.4

LAUNDRY

Room lighting	605.3

Water-heating facilities	505.4

LAVATORY

Hotels	502.3

Required facilities	502

Rooming houses	502.2

Sanitary drainage system	506

Water-heating facilities	505.4

Water system	505

LEASE (SELL, RENT)

Heat supplied	602.3

Salvage materials	110.4

Transfer of ownership	107.6

LIEN

Closing of vacant structures	108.2

Demolition	110.3

Failure to comply	110.3

LIGHT, LIGHTING

Common halls and stairways	402.2, 605.3

General	402

Habitable rooms . . . . . . . ..	402.1

Kitchen	605.3

Laundry rooms	605.3

Luminaires	605.3

Other spaces	402.3

Responsibility	401.2

Scope	101.2

Toilet rooms	605.3

LIVING ROOM

Room area	404.4.1

2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY	INDEX-5

LOAD, LOADING

Elevators, escalators and dumbwaiters	606.1

Handrails and guardrails	304.12, 305.5

Live load	304.4, 305.2

Stairs and porches	304.10, 305.2

Structural members	304.4, 305.2

M

MAINTENANCE

Required	102.2

MATERIAL

Alternative	105.2

Salvage	110.4

Used ....................•	105.4

MEANS OF EGRESS (See EGRESS) MECHANICAL

Installation	603.1

Responsibility	601.2

Scope	601.1

Ventilation, general	403

Ventilation, toilet rooms	403.2

MINIMUM

Ceiling height.	404.3

Room area	404.4.1

Room width	404.2

MODIFICATION

Approval.	105.1

MOTEL (See HOTELS) MOTOR VEHICLES

Inoperative	302.8

Painting	302.8

N

NATURAL

Lighting	401.3, 402

Ventilation	401.3, 403

NOTICES AND ORDERS

Appeal	111.1

Form	107.2

Method of service	107.3

Orders	107

Owner, responsible person	107.1

Penalties	107.5

Placarding of structure	108.4

Transfer of ownership	107.6

Unauthorized tampering	107.4

Vacating structure	108.2

NOXIOUS

Process ventilation	403.4

Weeds	302.4

NUISANCE

Closing of vacant structures	108.2

0

OBSTRUCTION

Light.	402.1

Right of entry	104.3

OCCUPANCY (See USE) OPENABLE

Locked doors	702.3

Windows.......................304. 13.2, 403.1

OPERATOR

Definition	202

ORDER (See NOTICE) ORDINANCE, RULE

Applicability	102

Application for appeal.	111.1

OUTLET

Electrical.	605.2

OWNER

Closing of vacant structures	108.2

Definition	202

Demolition	110

Failure to comply ........... :	110.3

Insect and rat control ..........302.5, 309.2, 309.4

Notice	107.1, 108.3

Pest elimination	309.2

Placarding of structure	108.4

Responsibility	301.2

Responsibility, fire safety	701.2

Responsibility, light, ventilation	401.2

Responsibility, mechanical and electrical.	601.2

Responsibility, plumbing facilities	501.2

Right of entry	104.3

Rubbish storage	308.2.1

Soo	101.2

Transfer of ownership	107.6

###### p

PASSAGEWAY

Common hall and stairway	402.2

Interior surfaces	305.3

Toilet rooms, direct access	503.1

PENALTY

Notices and orders	107.5

Placarding of structure	108.4

Prohibited occupancy	108.5

Removal of placard	108.4.1

Soo	101.2

Violations	106.4

INDEX-6

2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY

PEST ELIMINATION

Condemnation	108.1

Definition	202

Insect and rodent control 302.5, 304.5, 304.14, 309.1

Failure to comply....................,... 11o.3

Grading and drainage	302.2

Pest elimination, multiple occupancy	302.5, 309.4

Pest elimination, single occupancy	302.5, 309.3

Pest elimination	309.1

Responsibility	,.

301,2

Responsibility of owner	301.2, 309.2

Responsibility of tenant-occupant.309.3, 309.4, 309.5

PLACARD, POST

Closing	108.2

Condemnation	108.1

Demolition	11O

Emergency, notice	109.1

Notice to owner	107.1, 108.3

Placarding of structure	108.4

Prohibited use	108.5

Removal	108.4.1

PLUMBING

Clean and sanitary	504.1

Clearance	504.2

Connections	505.1

Contamination	505.2

Employee's facilities	503.3

Fixtures	504.1

Required facilities	502

Responsibility	501.2

Sanitary drainage system	506

Scope	501.1

Storm drainage	507

Supply	505.3

Water heating facilities	505.4

PORCH

Handrails	304.12

Structurally sound	304.10

PORTABLE (TEMPORARY)

Cooking equipment.	603.1

PRESSURE

Water supply	505.3

PRIVATE, PRIVACY

Bathtub or shower	503.1

Occupancy limitations	404.1

Required plumbing facilities	502

Sewage system	506.1

Water closet and lavatory	503.1

Water system	505.1

PROPERTY, PREMISES

Cleanliness	304.1, 308.1

Condemnation	108

Definition	202

Demolition	11O

Emergency measures	109

Exterior areas	302

Scope ................... •	301.1

Storm drainage	507

Vacant structures and land	301.3

PROTECTION

Basement windows.	304.17

Fire protection systems	704

Signs, marquees and awnings	304.9

PUBLIC

Cleanliness	304.1, 305.1

Egress	702.1

Hallway	502.3

Sewage system	506.1

Toilet facilities	502.5, 503

Vacant structures and land	301.3

Water system	505

PUBLIC WAY

Definition ........................,	202

R

RAIN (PREVENTION OF ENTRY INTO BUILDING EXTERIOR ENVELOPE)

Basement hatchways	304.16

Exterior walls	304.6

Grading and drainage	302.2

Roofs	304.7

Window and door frames	304.13

RECORD

Official records	104.6

REPAIR

Application of other codes	102.3

- Chimneys	304.11

Demolition	110.1

Exterior surfaces	304.1

Intent.	101.3

Maintenance	102.2

Signs, marquees and awnings	304.9

Stairs and porches	304.10

Weather tight.	304.13

Workmanship	102.5

REPORTS

Test reports	105.3.2

RESIDENTIAL

Pest elimination	309

Residential heating	602.2

Scope	101.2

2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY	INDEX-7

RESPONSIBILITY

Pest elimination	309

Fire safety	701.2

Garbage disposal.	308.3

General	301.2

Mechanical and electrical	601.2

Persons	301.1

Placarding of structure	108.4

Plumbing facilities	501.2

Rubbish storage	308.2.1

Scope	101.2, 301.1

REVOKE, REMOVE

Demolition	110

Existing remedies	102.4

Removal of placard	108.4.1

Rubbish removal	308.2.1

RIGHT OF ENTRY

Duties and powers of code official	104.3

Inspections	104.2

RODENTS

Basement hatchways	304.16

Condemnation	108

Foundations	304.5

Guards for basement windows	304.17

Harborage	302.5

Insect and rodent control	309.1

Pest elimination	302.5, 309

ROOF

Exterior structure	304.1

Roofs	304.7

Storm drainage	507

ROOM

Bedroom and living room	404.4

Cooking facilities	403.3

Direct access	503.2

Habitable	402.1

Heating facilities. .. . . . . . . . . . . .. . . .. . ..	602

Light	402

Minimum ceiling heights	404.3

Minimum width	404.2

Overcrowding	404.5

Prohibited use	404.4.4

Temperature	602.5

Toilet	503

Ventilation	403

ROOMING HOUSES (See DORMITORY) RUBBISH

Accumulation	308.1

Definition	202

Disposal	308.2

Garbage facilities	308.3.1

Rubbish storage	308.2.1

s

SAFETY, SAFE

Fire safety requirements	701, 702, 703, 704

Safety controls	603.4

SANITARY

Cleanliness	304.1, 305.1

Disposal of garbage	308.3

Disposal of rubbish	308.2

Exterior property areas	302.1

Exterior structure	304.1

Food preparation	404.7

Furnished by occupant.	302.1

Grease interceptors	506.3

Interior surfaces	305.3

Plumbing fixtures	504.1

Required plumbing facilities	502

Scope	101.2

SCREENS

Insect screens .......... ,	304.14

SECURITY

Basement hatchways	304.18.3

Building	304.18

Doors	304.18.1

Vacant structures and land	301.3

Windows	304.18.2

SELF-CLOSING SCREEN DOORS

Insect screens	304.14

SEPARATION

Fire-resistance ratings	703

Privacy	404.1

Separation of units	404.1

SERVICE

Electrical.	604.2

Method	107.3

Notices and orders.	107.1, 108.3

Service on occupant.	108.3

SEWER

General	506.1

Maintenance	506.2

SHOWER

Bathtub or shower	502.1

Rooming houses	502.2

Water-heating facilities	505.4

Water system	505

SIGN

Signs, marquees and awnings	304.9

Unauthorized tampering	107.4

SINGLE-FAMILY DWELLING

Extermination	309

SINK

Kitchen sink	502.1

Sewage system	506

Water supply	505.3

SIZE

Efficiency unit	404.6

Habitable room, light.	402

Habitable room, ventilation	403

Room area	404.4.1

SMOKE

Alarms	704.2

Interconnection	704.4

Power source	704.3

SPACE

General, light	402

General, ventilation	403

Occupancy limitations	404

Privacy	404.1

Scope	401.1

STACK

Smoke	304.11

STAIRS

Common halls and stairways, light	402.2

Exit facilities	305.4

Exterior property areas	302.3

Handrails	304.12, 305.5

Lighting	605.3

Stairs and porches	304.10

STANDARD

Referenced	102.7

STOP WORK ORDER

Authority	112.1

Emergencies	112.3

Failure to comply	112.4

Issuance	112.2

STORAGE

Food preparation	404.7

Garbage storage facilities	308.3

Rubbish storage facilities	308.2.1

Sanitation	308.1

STRUCTURE

Accessory structures	302.7

Closing of vacant structures	108.2

Definition	202

Emergency measures	109

General, condemnation	110

General, exterior	304.1

General, interior structure	305.1

Placarding of structure	108.4

Scope	301.1

Structural members	304.4, 305.2

Vacant structures and land	301.3

SUPPLY

Combustion air	603.5

Public water system	505.1

Water-heating facilities	505.4

Water supply.. . .. . . . .. . . . . . . . . .. ..	505.3

Water system	505

SURFACE

Exterior surfaces	304.2, 304.6

Interior surfaces	305.3

SWIMMING

Enclosure	303.2

Safety covers	303.2

Swimming pools	303.1

T

TEMPERATURE

Nonresidential structures	602.4

Residential buildings	602.2

Water-heating facilities	505.4

TENANT

Scope	101.2

TEST, TESTING

Agency	105.3.1

Methods	105.3.1

Reports	105.3.2

Required	105.3

TOXIC

Process ventilation	403.4

. TRASH

Rubbish and garbage	308

#### u

UNOBSTRUCTED

Access to public way.	702.1

General, egress	702.1

UNSAFE STRUCTURES AND EQUIPMENT

Abatement methods	108.6

Dangerous structure or premises	108.1.5

Equipment.	108.1.2

Existing remedies	102.4

General, condemnation	108,110

General, demolition... . . . . . . . . . . . . . . . . .	110

Notices and orders	107, 108.3

Record	108.7

2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY	INDEX-9

Structures	108.1.1

USE

Application of other codes	102.3

General, demolition	110

UTILITIES

Authority to disconnect	108.2.1

###### V

VACANT

Abatement methods	108.6

Authority to disconnect service utilities	108.2.1

Closing of vacant structures	108.2

Emergency measure	109

Method of service	107.3, 108.3

Notice to owner or to

person responsible	107, 108.3

Placarding of structure	108.4

Record	108.7

Vacant structures and land	301.3

VAPOR

Exhaust vents	302.6

VEHICLES

Inoperative	302.8

Painting	,302.8

VENT

Plumbing hazard	504.3

Exhaust vents	302.6

Flue	603.2

VENTILATION

Clothes dryer exhaust	403.5

Combustion air	603.5

Definition	202

General, ventilation	403

Habitable rooms	403.1

Process ventilation	403.4

Recirculation	403.2, 403.4

Toilet rooms	403.2

VERMIN

Condemnation	108

Insect and rodent control	302.5, 309

VIOLATION

Condemnation	108

General	106

Notice	107, 108.3

Penalty	106.4

Placarding of structure	108.4

Prosecution	106.3

Strict liability offense	106.3, 202

Transfer of ownership	107.6

w

WALK

Sidewalks	302

WALL

Accessory structures	302

Exterior surfaces	304.2, 304

Exterior walls	304

Foundation walls	304

General, fire-resistance rating	703

Interior surfaces	305

Outlets required	605

Temperature measurement	602

WASTE

Disposal of garbage	308

Disposal of rubbish	308

Garbage storage facilities	308.3

WATER

Basement hatchways	304:

Connections	506

Contamination	505

General, sewage	5(

General, storm drainage	5(

General, water system	5(

Heatin!'.j	505

Hotels	502

Kitchen sink	502

Required facilities	5(

Rooming houses	502

Supply	505

System	5(

Toilet rooms	5(

Water-heating facilities	505

WEATHER, CLIMATE

Heating facilities	6(

WEEDS

Noxious weeds	302

WIDTH

Minimum room width	404

WINDOW

Emergency escape	702

Glazing	304.13

Guards for basement windows	304.•

Habitable rooms	402

Insect screens	304.•

Interior surface	305

Light	4(

Openable windows	304.13

Toilet rooms	403

Ventilation	41

Weather tight	304.13

Window and door frames	304.13

WORKMANSHIP

General	102.5

2012 INTERNATIONAL PROPERTY MAINTENANCE CODE® COMMENTARY	INDEX-11

INDEX-12	2012 INTERNATIONAL PROPERTY MAINTENANCE CODE" COMMENTARY